## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase\paper_data\240927_A1_H130A_FINAL_kinetics_500nM___phenylacetate_subst_25C_5min_40x_zn_144uMsubstLadder.xpt
Protocol File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase\paper_data\240830_kinetics_4mu_PA_MIDDLE_starting_a5.prt
Plate Number | Plate 1
Date | 2024-09-27
Time | 20:50
Reader Type: | Synergy Neo2
Reader Serial Number: | 23062123
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A5..H8
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A5: 12748; A6: 12906; A7: 12692; A8: 12802; B5: 9784; B6: 9884; B7: 9696; B8: 9645; C5: 5329; C6: 5270; C7: 5161; C8: 5071; D5: 2832; D6: 2765; D7: 2656; D8: 2631; E5: 1455; E6: 1454; E7: 1347; E8: 1357; F5: 765; F6: 750; F7: 709; F8: 700; G5: 418; G6: 416; G7: 401; G8: 391; H5: 223; H6: 217; H7: 213; H8: 201
| 0:00 | 25 | A5: 12832; A6: 13040; A7: 12794; A8: 12836; B5: 9854; B6: 9946; B7: 9791; B8: 9647; C5: 5382; C6: 5329; C7: 5221; C8: 5051; D5: 2846; D6: 2798; D7: 2725; D8: 2635; E5: 1496; E6: 1480; E7: 1374; E8: 1350; F5: 782; F6: 766; F7: 726; F8: 696; G5: 425; G6: 425; G7: 416; G8: 393; H5: 228; H6: 221; H7: 221; H8: 201
| 0:00 | 25 | A5: 12959; A6: 13137; A7: 12922; A8: 12881; B5: 9904; B6: 10032; B7: 9871; B8: 9646; C5: 5431; C6: 5382; C7: 5293; C8: 5082; D5: 2891; D6: 2856; D7: 2772; D8: 2632; E5: 1519; E6: 1508; E7: 1416; E8: 1360; F5: 803; F6: 782; F7: 742; F8: 697; G5: 437; G6: 438; G7: 428; G8: 394; H5: 233; H6: 227; H7: 225; H8: 203
| 0:00 | 25 | A5: 13039; A6: 13256; A7: 13003; A8: 12890; B5: 9969; B6: 10098; B7: 9934; B8: 9647; C5: 5517; C6: 5460; C7: 5379; C8: 5079; D5: 2935; D6: 2900; D7: 2831; D8: 2628; E5: 1552; E6: 1549; E7: 1446; E8: 1356; F5: 820; F6: 803; F7: 759; F8: 694; G5: 449; G6: 445; G7: 442; G8: 391; H5: 237; H6: 232; H7: 229; H8: 203
| 0:01 | 25.1 | A5: 13131; A6: 13365; A7: 13176; A8: 12939; B5: 10068; B6: 10202; B7: 10033; B8: 9678; C5: 5583; C6: 5531; C7: 5443; C8: 5100; D5: 2990; D6: 2969; D7: 2888; D8: 2627; E5: 1588; E6: 1578; E7: 1474; E8: 1357; F5: 838; F6: 823; F7: 779; F8: 698; G5: 460; G6: 458; G7: 453; G8: 394; H5: 245; H6: 237; H7: 236; H8: 203
| 0:01 | 25 | A5: 13231; A6: 13493; A7: 13266; A8: 12967; B5: 10158; B6: 10290; B7: 10158; B8: 9707; C5: 5646; C6: 5610; C7: 5535; C8: 5100; D5: 3039; D6: 3018; D7: 2936; D8: 2641; E5: 1613; E6: 1613; E7: 1507; E8: 1364; F5: 859; F6: 844; F7: 799; F8: 702; G5: 471; G6: 469; G7: 462; G8: 394; H5: 249; H6: 242; H7: 240; H8: 201
| 0:01 | 25 | A5: 13364; A6: 13615; A7: 13358; A8: 13017; B5: 10223; B6: 10367; B7: 10238; B8: 9704; C5: 5707; C6: 5669; C7: 5590; C8: 5110; D5: 3076; D6: 3072; D7: 2993; D8: 2657; E5: 1649; E6: 1652; E7: 1543; E8: 1363; F5: 876; F6: 863; F7: 814; F8: 700; G5: 481; G6: 477; G7: 471; G8: 396; H5: 256; H6: 248; H7: 247; H8: 201
| 0:01 | 25 | A5: 13468; A6: 13710; A7: 13490; A8: 13018; B5: 10297; B6: 10486; B7: 10346; B8: 9736; C5: 5789; C6: 5745; C7: 5664; C8: 5114; D5: 3130; D6: 3118; D7: 3054; D8: 2653; E5: 1678; E6: 1680; E7: 1572; E8: 1364; F5: 894; F6: 882; F7: 834; F8: 702; G5: 493; G6: 488; G7: 482; G8: 396; H5: 263; H6: 253; H7: 252; H8: 201
| 0:01 | 25 | A5: 13590; A6: 13822; A7: 13575; A8: 13046; B5: 10411; B6: 10566; B7: 10447; B8: 9755; C5: 5849; C6: 5830; C7: 5742; C8: 5136; D5: 3175; D6: 3177; D7: 3103; D8: 2660; E5: 1711; E6: 1718; E7: 1606; E8: 1368; F5: 915; F6: 900; F7: 852; F8: 705; G5: 502; G6: 496; G7: 495; G8: 397; H5: 267; H6: 261; H7: 257; H8: 204
| 0:01 | 25 | A5: 13655; A6: 13946; A7: 13683; A8: 13083; B5: 10490; B6: 10669; B7: 10558; B8: 9749; C5: 5923; C6: 5898; C7: 5811; C8: 5134; D5: 3228; D6: 3227; D7: 3165; D8: 2655; E5: 1744; E6: 1742; E7: 1637; E8: 1368; F5: 934; F6: 917; F7: 876; F8: 703; G5: 514; G6: 508; G7: 503; G8: 399; H5: 274; H6: 264; H7: 264; H8: 204
| 0:01 | 25 | A5: 13798; A6: 14053; A7: 13819; A8: 13103; B5: 10577; B6: 10740; B7: 10625; B8: 9744; C5: 5995; C6: 5968; C7: 5885; C8: 5133; D5: 3279; D6: 3278; D7: 3205; D8: 2678; E5: 1780; E6: 1781; E7: 1676; E8: 1368; F5: 954; F6: 939; F7: 889; F8: 706; G5: 526; G6: 520; G7: 517; G8: 400; H5: 278; H6: 272; H7: 269; H8: 202
| 0:02 | 25 | A5: 13880; A6: 14169; A7: 13913; A8: 13085; B5: 10684; B6: 10835; B7: 10724; B8: 9765; C5: 6066; C6: 6049; C7: 5984; C8: 5148; D5: 3333; D6: 3331; D7: 3250; D8: 2673; E5: 1811; E6: 1817; E7: 1709; E8: 1375; F5: 972; F6: 959; F7: 906; F8: 704; G5: 534; G6: 530; G7: 525; G8: 399; H5: 284; H6: 274; H7: 276; H8: 202
| 0:02 | 25 | A5: 14002; A6: 14273; A7: 14006; A8: 13110; B5: 10776; B6: 10944; B7: 10845; B8: 9784; C5: 6151; C6: 6117; C7: 6042; C8: 5157; D5: 3384; D6: 3383; D7: 3307; D8: 2676; E5: 1845; E6: 1848; E7: 1732; E8: 1372; F5: 993; F6: 976; F7: 923; F8: 704; G5: 546; G6: 538; G7: 538; G8: 399; H5: 290; H6: 281; H7: 279; H8: 205
| 0:02 | 25 | A5: 14094; A6: 14391; A7: 14108; A8: 13158; B5: 10836; B6: 11038; B7: 10964; B8: 9791; C5: 6214; C6: 6193; C7: 6097; C8: 5168; D5: 3431; D6: 3430; D7: 3352; D8: 2673; E5: 1885; E6: 1883; E7: 1770; E8: 1377; F5: 1010; F6: 992; F7: 945; F8: 707; G5: 559; G6: 550; G7: 550; G8: 401; H5: 296; H6: 287; H7: 286; H8: 204
| 0:02 | 25 | A5: 14193; A6: 14533; A7: 14275; A8: 13206; B5: 10918; B6: 11110; B7: 11008; B8: 9824; C5: 6284; C6: 6262; C7: 6193; C8: 5180; D5: 3472; D6: 3496; D7: 3407; D8: 2684; E5: 1910; E6: 1921; E7: 1802; E8: 1380; F5: 1027; F6: 1013; F7: 961; F8: 705; G5: 567; G6: 562; G7: 562; G8: 403; H5: 301; H6: 293; H7: 290; H8: 204
| 0:02 | 25 | A5: 14264; A6: 14652; A7: 14363; A8: 13221; B5: 11014; B6: 11200; B7: 11128; B8: 9824; C5: 6351; C6: 6346; C7: 6278; C8: 5199; D5: 3528; D6: 3543; D7: 3459; D8: 2693; E5: 1938; E6: 1950; E7: 1839; E8: 1379; F5: 1045; F6: 1031; F7: 983; F8: 714; G5: 576; G6: 569; G7: 569; G8: 401; H5: 308; H6: 299; H7: 296; H8: 206
| 0:02 | 25 | A5: 14391; A6: 14726; A7: 14444; A8: 13251; B5: 11117; B6: 11304; B7: 11254; B8: 9856; C5: 6425; C6: 6399; C7: 6330; C8: 5189; D5: 3578; D6: 3615; D7: 3520; D8: 2690; E5: 1976; E6: 1983; E7: 1863; E8: 1381; F5: 1066; F6: 1052; F7: 1001; F8: 712; G5: 587; G6: 579; G7: 582; G8: 405; H5: 314; H6: 304; H7: 302; H8: 206
| 0:02 | 25 | A5: 14493; A6: 14885; A7: 14568; A8: 13274; B5: 11189; B6: 11370; B7: 11341; B8: 9857; C5: 6513; C6: 6511; C7: 6435; C8: 5210; D5: 3626; D6: 3646; D7: 3573; D8: 2696; E5: 2007; E6: 2023; E7: 1905; E8: 1388; F5: 1087; F6: 1069; F7: 1020; F8: 713; G5: 601; G6: 589; G7: 592; G8: 401; H5: 317; H6: 310; H7: 308; H8: 206
| 0:02 | 25 | A5: 14606; A6: 14981; A7: 14686; A8: 13277; B5: 11311; B6: 11506; B7: 11442; B8: 9876; C5: 6582; C6: 6564; C7: 6497; C8: 5203; D5: 3683; D6: 3708; D7: 3636; D8: 2699; E5: 2047; E6: 2052; E7: 1936; E8: 1384; F5: 1106; F6: 1096; F7: 1039; F8: 715; G5: 609; G6: 598; G7: 605; G8: 404; H5: 324; H6: 315; H7: 313; H8: 207
| 0:03 | 25 | A5: 14699; A6: 15076; A7: 14813; A8: 13350; B5: 11369; B6: 11573; B7: 11551; B8: 9888; C5: 6663; C6: 6639; C7: 6591; C8: 5226; D5: 3729; D6: 3760; D7: 3681; D8: 2703; E5: 2076; E6: 2083; E7: 1971; E8: 1389; F5: 1127; F6: 1109; F7: 1061; F8: 715; G5: 622; G6: 608; G7: 616; G8: 405; H5: 331; H6: 320; H7: 322; H8: 206
| 0:03 | 25 | A5: 14829; A6: 15242; A7: 14906; A8: 13376; B5: 11459; B6: 11682; B7: 11661; B8: 9905; C5: 6717; C6: 6733; C7: 6654; C8: 5233; D5: 3777; D6: 3810; D7: 3735; D8: 2716; E5: 2106; E6: 2123; E7: 2007; E8: 1391; F5: 1143; F6: 1123; F7: 1082; F8: 716; G5: 634; G6: 622; G7: 627; G8: 407; H5: 335; H6: 324; H7: 325; H8: 207
| 0:03 | 25 | A5: 14953; A6: 15326; A7: 15042; A8: 13336; B5: 11596; B6: 11784; B7: 11734; B8: 9909; C5: 6780; C6: 6810; C7: 6756; C8: 5235; D5: 3827; D6: 3866; D7: 3785; D8: 2717; E5: 2147; E6: 2156; E7: 2041; E8: 1391; F5: 1167; F6: 1147; F7: 1096; F8: 717; G5: 644; G6: 628; G7: 640; G8: 408; H5: 341; H6: 331; H7: 330; H8: 208
| 0:03 | 25 | A5: 15044; A6: 15477; A7: 15143; A8: 13380; B5: 11646; B6: 11902; B7: 11859; B8: 9914; C5: 6901; C6: 6881; C7: 6836; C8: 5249; D5: 3878; D6: 3922; D7: 3844; D8: 2721; E5: 2177; E6: 2184; E7: 2071; E8: 1400; F5: 1183; F6: 1167; F7: 1114; F8: 719; G5: 652; G6: 641; G7: 649; G8: 406; H5: 344; H6: 338; H7: 335; H8: 207
| 0:03 | 25 | A5: 15147; A6: 15559; A7: 15207; A8: 13410; B5: 11761; B6: 11956; B7: 11919; B8: 9928; C5: 6941; C6: 6957; C7: 6920; C8: 5245; D5: 3945; D6: 3974; D7: 3894; D8: 2724; E5: 2216; E6: 2226; E7: 2106; E8: 1398; F5: 1204; F6: 1184; F7: 1136; F8: 720; G5: 665; G6: 650; G7: 658; G8: 411; H5: 353; H6: 342; H7: 339; H8: 205
| 0:03 | 25 | A5: 15264; A6: 15698; A7: 15319; A8: 13440; B5: 11832; B6: 12076; B7: 12100; B8: 9955; C5: 7043; C6: 7032; C7: 6966; C8: 5260; D5: 3980; D6: 4034; D7: 3958; D8: 2725; E5: 2249; E6: 2262; E7: 2144; E8: 1399; F5: 1216; F6: 1204; F7: 1151; F8: 722; G5: 674; G6: 658; G7: 669; G8: 408; H5: 359; H6: 348; H7: 346; H8: 208
| 0:03 | 25 | A5: 15348; A6: 15811; A7: 15457; A8: 13454; B5: 11950; B6: 12187; B7: 12182; B8: 9978; C5: 7095; C6: 7104; C7: 7082; C8: 5270; D5: 4032; D6: 4090; D7: 4003; D8: 2740; E5: 2291; E6: 2293; E7: 2174; E8: 1400; F5: 1239; F6: 1224; F7: 1175; F8: 723; G5: 682; G6: 671; G7: 678; G8: 407; H5: 364; H6: 353; H7: 353; H8: 207
| 0:04 | 25 | A5: 15414; A6: 15923; A7: 15575; A8: 13488; B5: 12012; B6: 12272; B7: 12273; B8: 9990; C5: 7171; C6: 7194; C7: 7119; C8: 5287; D5: 4077; D6: 4140; D7: 4070; D8: 2731; E5: 2323; E6: 2329; E7: 2204; E8: 1407; F5: 1255; F6: 1245; F7: 1191; F8: 724; G5: 695; G6: 682; G7: 693; G8: 411; H5: 369; H6: 361; H7: 358; H8: 208
| 0:04 | 25 | A5: 15553; A6: 16043; A7: 15688; A8: 13541; B5: 12099; B6: 12363; B7: 12359; B8: 10020; C5: 7239; C6: 7266; C7: 7235; C8: 5291; D5: 4147; D6: 4197; D7: 4105; D8: 2740; E5: 2347; E6: 2359; E7: 2240; E8: 1406; F5: 1274; F6: 1263; F7: 1212; F8: 721; G5: 702; G6: 691; G7: 703; G8: 411; H5: 374; H6: 363; H7: 364; H8: 209
| 0:04 | 25 | A5: 15660; A6: 16174; A7: 15802; A8: 13544; B5: 12207; B6: 12452; B7: 12447; B8: 10039; C5: 7312; C6: 7372; C7: 7277; C8: 5298; D5: 4203; D6: 4248; D7: 4177; D8: 2741; E5: 2387; E6: 2396; E7: 2269; E8: 1405; F5: 1291; F6: 1283; F7: 1225; F8: 725; G5: 716; G6: 705; G7: 714; G8: 413; H5: 380; H6: 370; H7: 369; H8: 208
| 0:04 | 25 | A5: 15781; A6: 16260; A7: 15898; A8: 13585; B5: 12270; B6: 12558; B7: 12577; B8: 10035; C5: 7386; C6: 7403; C7: 7372; C8: 5305; D5: 4239; D6: 4304; D7: 4215; D8: 2746; E5: 2410; E6: 2428; E7: 2304; E8: 1414; F5: 1321; F6: 1304; F7: 1244; F8: 727; G5: 725; G6: 711; G7: 724; G8: 412; H5: 384; H6: 376; H7: 376; H8: 210
| 0:04 | 25 | A5: 15873; A6: 16358; A7: 16072; A8: 13631; B5: 12384; B6: 12674; B7: 12636; B8: 10069; C5: 7454; C6: 7496; C7: 7441; C8: 5325; D5: 4284; D6: 4359; D7: 4275; D8: 2750; E5: 2454; E6: 2465; E7: 2342; E8: 1417; F5: 1332; F6: 1320; F7: 1263; F8: 727; G5: 738; G6: 718; G7: 735; G8: 411; H5: 391; H6: 382; H7: 380; H8: 210
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | 866250 | 931500 | 913500 | 276000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.998 | 0.991 | 0.999 | 0.975 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:03 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | 728250 | 757500 | 852750 | 164250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.986 | 0.995 | 0.981 | 0.986 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:03 | 0:03 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | 609750 | 631500 | 632250 | 93750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.983 | 0.996 | 0.996 | 0.978 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:04 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | 420750 | 432750 | 429000 | 60000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.995 | 0.995 | 0.999 | 0.837 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:04 | 0:02 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | 275250 | 267750 | 265500 | 25500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.997 | 0.998 | 0.863 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:03 | 0:02 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | 153000 | 153000 | 152250 | 17250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 1 | 0.994 | 0.999 | 0.685 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:02 | 0:02 | 0:02 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | 86250 | 85500 | 97500 | 12750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.996 | 0.998 | 0.963 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:04 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | 47250 | 46500 | 47250 | 6750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.992 | 0.999 | 0.99 | 0.75 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:02 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]