## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\250318_B10_1xZn_kinetics_100nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\240830_kinetics_4mu_PA_MIDDLE_starting_a5.prt
Plate Number | Plate 1
Date | 2025-03-18
Time | 21:54
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A5..H8
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A5: 14932; A6: 14849; A7: 14301; A8: 15123; B5: 9816; B6: 10012; B7: 10030; B8: 9711; C5: 5463; C6: 5621; C7: 5613; C8: 5178; D5: 2883; D6: 2980; D7: 3053; D8: 2718; E5: 1509; E6: 1543; E7: 1668; E8: 1394; F5: 797; F6: 833; F7: 959; F8: 726; G5: 420; G6: 438; G7: 454; G8: 372; H5: 218; H6: 219; H7: 243; H8: 190
| 0:00 | 25 | A5: 14949; A6: 14975; A7: 14454; A8: 15084; B5: 9873; B6: 10103; B7: 10118; B8: 9741; C5: 5533; C6: 5704; C7: 5695; C8: 5190; D5: 2968; D6: 3048; D7: 3136; D8: 2745; E5: 1564; E6: 1592; E7: 1730; E8: 1390; F5: 836; F6: 864; F7: 1007; F8: 727; G5: 439; G6: 459; G7: 480; G8: 370; H5: 231; H6: 231; H7: 257; H8: 190
| 0:00 | 25 | A5: 15020; A6: 14930; A7: 14439; A8: 15084; B5: 10014; B6: 10210; B7: 10230; B8: 9767; C5: 5661; C6: 5818; C7: 5825; C8: 5198; D5: 3053; D6: 3130; D7: 3248; D8: 2742; E5: 1629; E6: 1650; E7: 1794; E8: 1402; F5: 864; F6: 900; F7: 1054; F8: 733; G5: 459; G6: 483; G7: 505; G8: 370; H5: 245; H6: 243; H7: 270; H8: 190
| 0:00 | 25 | A5: 15101; A6: 15020; A7: 14528; A8: 15099; B5: 10092; B6: 10257; B7: 10371; B8: 9772; C5: 5776; C6: 5878; C7: 5917; C8: 5227; D5: 3135; D6: 3181; D7: 3341; D8: 2718; E5: 1686; E6: 1715; E7: 1866; E8: 1384; F5: 904; F6: 944; F7: 1099; F8: 736; G5: 486; G6: 503; G7: 525; G8: 369; H5: 255; H6: 252; H7: 281; H8: 191
| 0:01 | 25 | A5: 15146; A6: 15138; A7: 14614; A8: 15198; B5: 10196; B6: 10348; B7: 10477; B8: 9761; C5: 5866; C6: 5998; C7: 6039; C8: 5194; D5: 3243; D6: 3289; D7: 3442; D8: 2717; E5: 1738; E6: 1750; E7: 1918; E8: 1401; F5: 948; F6: 972; F7: 1135; F8: 739; G5: 504; G6: 526; G7: 542; G8: 372; H5: 266; H6: 265; H7: 293; H8: 188
| 0:01 | 25 | A5: 15245; A6: 15161; A7: 14583; A8: 15134; B5: 10260; B6: 10502; B7: 10638; B8: 9791; C5: 5980; C6: 6086; C7: 6175; C8: 5201; D5: 3331; D6: 3360; D7: 3528; D8: 2728; E5: 1796; E6: 1820; E7: 1975; E8: 1397; F5: 978; F6: 1008; F7: 1181; F8: 738; G5: 525; G6: 546; G7: 565; G8: 370; H5: 276; H6: 279; H7: 306; H8: 189
| 0:01 | 25 | A5: 15414; A6: 15185; A7: 14710; A8: 15088; B5: 10385; B6: 10614; B7: 10690; B8: 9808; C5: 6070; C6: 6208; C7: 6249; C8: 5224; D5: 3413; D6: 3420; D7: 3635; D8: 2727; E5: 1859; E6: 1855; E7: 2049; E8: 1402; F5: 1019; F6: 1050; F7: 1216; F8: 739; G5: 543; G6: 567; G7: 589; G8: 370; H5: 289; H6: 290; H7: 320; H8: 193
| 0:01 | 25 | A5: 15365; A6: 15262; A7: 14764; A8: 15143; B5: 10513; B6: 10728; B7: 10821; B8: 9826; C5: 6190; C6: 6323; C7: 6377; C8: 5219; D5: 3485; D6: 3508; D7: 3710; D8: 2745; E5: 1906; E6: 1912; E7: 2106; E8: 1406; F5: 1046; F6: 1083; F7: 1257; F8: 743; G5: 569; G6: 590; G7: 609; G8: 371; H5: 298; H6: 300; H7: 330; H8: 191
| 0:01 | 25 | A5: 15461; A6: 15278; A7: 14825; A8: 15120; B5: 10605; B6: 10824; B7: 10936; B8: 9831; C5: 6301; C6: 6421; C7: 6502; C8: 5216; D5: 3601; D6: 3594; D7: 3802; D8: 2738; E5: 1964; E6: 1969; E7: 2165; E8: 1410; F5: 1087; F6: 1118; F7: 1294; F8: 743; G5: 592; G6: 608; G7: 629; G8: 371; H5: 310; H6: 309; H7: 341; H8: 194
| 0:01 | 25 | A5: 15482; A6: 15466; A7: 14940; A8: 15136; B5: 10713; B6: 10976; B7: 11132; B8: 9833; C5: 6410; C6: 6529; C7: 6614; C8: 5254; D5: 3670; D6: 3677; D7: 3882; D8: 2743; E5: 2032; E6: 2025; E7: 2212; E8: 1405; F5: 1122; F6: 1151; F7: 1328; F8: 740; G5: 613; G6: 627; G7: 649; G8: 372; H5: 321; H6: 319; H7: 352; H8: 192
| 0:01 | 25 | A5: 15596; A6: 15492; A7: 14915; A8: 15223; B5: 10805; B6: 11071; B7: 11228; B8: 9858; C5: 6509; C6: 6620; C7: 6721; C8: 5245; D5: 3742; D6: 3738; D7: 3963; D8: 2734; E5: 2077; E6: 2071; E7: 2263; E8: 1414; F5: 1157; F6: 1185; F7: 1369; F8: 743; G5: 626; G6: 651; G7: 670; G8: 374; H5: 335; H6: 328; H7: 362; H8: 192
| 0:02 | 25 | A5: 15610; A6: 15573; A7: 15061; A8: 15097; B5: 10935; B6: 11202; B7: 11426; B8: 9812; C5: 6658; C6: 6736; C7: 6864; C8: 5253; D5: 3829; D6: 3819; D7: 4063; D8: 2747; E5: 2129; E6: 2126; E7: 2336; E8: 1428; F5: 1183; F6: 1214; F7: 1399; F8: 746; G5: 647; G6: 671; G7: 688; G8: 375; H5: 340; H6: 338; H7: 375; H8: 192
| 0:02 | 25 | A5: 15681; A6: 15569; A7: 15059; A8: 15131; B5: 11032; B6: 11352; B7: 11489; B8: 9876; C5: 6752; C6: 6878; C7: 6970; C8: 5274; D5: 3911; D6: 3901; D7: 4173; D8: 2755; E5: 2179; E6: 2168; E7: 2381; E8: 1414; F5: 1224; F6: 1257; F7: 1435; F8: 748; G5: 666; G6: 688; G7: 708; G8: 376; H5: 354; H6: 349; H7: 386; H8: 193
| 0:02 | 25 | A5: 15687; A6: 15692; A7: 15199; A8: 15117; B5: 11168; B6: 11447; B7: 11686; B8: 9878; C5: 6842; C6: 6983; C7: 7071; C8: 5255; D5: 4015; D6: 3986; D7: 4235; D8: 2752; E5: 2247; E6: 2228; E7: 2452; E8: 1421; F5: 1255; F6: 1287; F7: 1475; F8: 751; G5: 686; G6: 709; G7: 727; G8: 373; H5: 365; H6: 356; H7: 398; H8: 191
| 0:02 | 25 | A5: 15871; A6: 15652; A7: 15280; A8: 15235; B5: 11235; B6: 11578; B7: 11793; B8: 9888; C5: 6946; C6: 7037; C7: 7211; C8: 5259; D5: 4072; D6: 4052; D7: 4332; D8: 2761; E5: 2294; E6: 2281; E7: 2491; E8: 1415; F5: 1284; F6: 1313; F7: 1512; F8: 757; G5: 700; G6: 728; G7: 746; G8: 374; H5: 375; H6: 372; H7: 405; H8: 191
| 0:02 | 25 | A5: 15908; A6: 15833; A7: 15344; A8: 15262; B5: 11382; B6: 11690; B7: 11921; B8: 9905; C5: 7052; C6: 7160; C7: 7347; C8: 5286; D5: 4188; D6: 4128; D7: 4414; D8: 2761; E5: 2349; E6: 2336; E7: 2564; E8: 1417; F5: 1326; F6: 1348; F7: 1540; F8: 749; G5: 717; G6: 746; G7: 768; G8: 376; H5: 383; H6: 378; H7: 415; H8: 193
| 0:02 | 25 | A5: 15907; A6: 15852; A7: 15392; A8: 15195; B5: 11477; B6: 11818; B7: 12068; B8: 9862; C5: 7210; C6: 7281; C7: 7455; C8: 5286; D5: 4260; D6: 4228; D7: 4530; D8: 2769; E5: 2409; E6: 2381; E7: 2601; E8: 1425; F5: 1350; F6: 1383; F7: 1572; F8: 755; G5: 743; G6: 765; G7: 784; G8: 376; H5: 393; H6: 389; H7: 429; H8: 192
| 0:02 | 25 | A5: 16112; A6: 15962; A7: 15368; A8: 15210; B5: 11626; B6: 11958; B7: 12240; B8: 9929; C5: 7317; C6: 7396; C7: 7581; C8: 5256; D5: 4341; D6: 4299; D7: 4603; D8: 2757; E5: 2453; E6: 2424; E7: 2653; E8: 1427; F5: 1375; F6: 1417; F7: 1609; F8: 749; G5: 755; G6: 786; G7: 800; G8: 377; H5: 406; H6: 399; H7: 439; H8: 193
| 0:02 | 25 | A5: 16053; A6: 16028; A7: 15514; A8: 15282; B5: 11755; B6: 12127; B7: 12328; B8: 9913; C5: 7420; C6: 7488; C7: 7688; C8: 5294; D5: 4437; D6: 4391; D7: 4673; D8: 2760; E5: 2519; E6: 2483; E7: 2708; E8: 1430; F5: 1413; F6: 1440; F7: 1643; F8: 759; G5: 772; G6: 808; G7: 818; G8: 379; H5: 420; H6: 405; H7: 452; H8: 193
| 0:03 | 25 | A5: 16101; A6: 16057; A7: 15545; A8: 15319; B5: 11923; B6: 12189; B7: 12494; B8: 9926; C5: 7551; C6: 7602; C7: 7808; C8: 5329; D5: 4523; D6: 4459; D7: 4784; D8: 2774; E5: 2565; E6: 2540; E7: 2750; E8: 1430; F5: 1446; F6: 1481; F7: 1669; F8: 757; G5: 796; G6: 826; G7: 836; G8: 378; H5: 426; H6: 419; H7: 458; H8: 193
| 0:03 | 25 | A5: 16252; A6: 16136; A7: 15638; A8: 15232; B5: 12009; B6: 12317; B7: 12620; B8: 9961; C5: 7625; C6: 7712; C7: 7922; C8: 5287; D5: 4613; D6: 4547; D7: 4877; D8: 2791; E5: 2625; E6: 2588; E7: 2805; E8: 1432; F5: 1483; F6: 1509; F7: 1701; F8: 753; G5: 807; G6: 851; G7: 860; G8: 378; H5: 437; H6: 428; H7: 474; H8: 193
| 0:03 | 25 | A5: 16306; A6: 16299; A7: 15862; A8: 15321; B5: 12136; B6: 12470; B7: 12800; B8: 9986; C5: 7734; C6: 7842; C7: 8032; C8: 5324; D5: 4724; D6: 4603; D7: 4955; D8: 2777; E5: 2665; E6: 2632; E7: 2863; E8: 1428; F5: 1515; F6: 1544; F7: 1738; F8: 757; G5: 829; G6: 861; G7: 869; G8: 378; H5: 442; H6: 437; H7: 481; H8: 193
| 0:03 | 25 | A5: 16366; A6: 16371; A7: 15879; A8: 15281; B5: 12300; B6: 12657; B7: 12902; B8: 10001; C5: 7884; C6: 7929; C7: 8161; C8: 5322; D5: 4776; D6: 4714; D7: 5065; D8: 2791; E5: 2716; E6: 2697; E7: 2907; E8: 1430; F5: 1539; F6: 1563; F7: 1767; F8: 756; G5: 839; G6: 877; G7: 890; G8: 380; H5: 455; H6: 447; H7: 491; H8: 194
| 0:03 | 25 | A5: 16475; A6: 16357; A7: 15969; A8: 15336; B5: 12372; B6: 12743; B7: 12995; B8: 9994; C5: 8005; C6: 8066; C7: 8263; C8: 5321; D5: 4872; D6: 4784; D7: 5144; D8: 2788; E5: 2767; E6: 2743; E7: 2968; E8: 1436; F5: 1574; F6: 1607; F7: 1798; F8: 757; G5: 857; G6: 894; G7: 909; G8: 378; H5: 462; H6: 458; H7: 502; H8: 194
| 0:03 | 25 | A5: 16583; A6: 16468; A7: 16015; A8: 15373; B5: 12474; B6: 12892; B7: 13178; B8: 10016; C5: 8059; C6: 8175; C7: 8444; C8: 5316; D5: 4963; D6: 4849; D7: 5226; D8: 2785; E5: 2832; E6: 2794; E7: 3002; E8: 1444; F5: 1591; F6: 1636; F7: 1826; F8: 760; G5: 875; G6: 913; G7: 926; G8: 380; H5: 478; H6: 467; H7: 508; H8: 197
| 0:03 | 25 | A5: 16635; A6: 16515; A7: 15999; A8: 15372; B5: 12667; B6: 13018; B7: 13329; B8: 10004; C5: 8217; C6: 8227; C7: 8557; C8: 5336; D5: 5040; D6: 4938; D7: 5310; D8: 2798; E5: 2884; E6: 2833; E7: 3069; E8: 1436; F5: 1632; F6: 1672; F7: 1858; F8: 762; G5: 892; G6: 928; G7: 942; G8: 379; H5: 486; H6: 475; H7: 519; H8: 197
| 0:04 | 25 | A5: 16698; A6: 16660; A7: 16104; A8: 15259; B5: 12766; B6: 13177; B7: 13485; B8: 10009; C5: 8317; C6: 8395; C7: 8650; C8: 5333; D5: 5150; D6: 5037; D7: 5419; D8: 2807; E5: 2940; E6: 2880; E7: 3111; E8: 1445; F5: 1662; F6: 1694; F7: 1899; F8: 765; G5: 909; G6: 950; G7: 964; G8: 382; H5: 495; H6: 485; H7: 531; H8: 196
| 0:04 | 25 | A5: 16779; A6: 16733; A7: 16153; A8: 15353; B5: 12841; B6: 13349; B7: 13630; B8: 10078; C5: 8454; C6: 8500; C7: 8805; C8: 5345; D5: 5191; D6: 5098; D7: 5516; D8: 2793; E5: 2999; E6: 2942; E7: 3169; E8: 1442; F5: 1693; F6: 1724; F7: 1931; F8: 769; G5: 927; G6: 966; G7: 973; G8: 382; H5: 504; H6: 496; H7: 538; H8: 196
| 0:04 | 25 | A5: 16817; A6: 16682; A7: 16288; A8: 15362; B5: 12992; B6: 13402; B7: 13804; B8: 10034; C5: 8530; C6: 8638; C7: 8918; C8: 5323; D5: 5288; D6: 5177; D7: 5588; D8: 2793; E5: 3029; E6: 3007; E7: 3215; E8: 1440; F5: 1727; F6: 1768; F7: 1952; F8: 762; G5: 938; G6: 983; G7: 992; G8: 381; H5: 514; H6: 502; H7: 551; H8: 195
| 0:04 | 25 | A5: 16935; A6: 16747; A7: 16399; A8: 15309; B5: 13166; B6: 13636; B7: 13978; B8: 10062; C5: 8717; C6: 8720; C7: 9028; C8: 5384; D5: 5363; D6: 5245; D7: 5662; D8: 2816; E5: 3099; E6: 3063; E7: 3251; E8: 1459; F5: 1753; F6: 1796; F7: 1976; F8: 764; G5: 958; G6: 995; G7: 1009; G8: 384; H5: 523; H6: 510; H7: 567; H8: 195
| 0:04 | 25 | A5: 16922; A6: 16969; A7: 16424; A8: 15378; B5: 13259; B6: 13725; B7: 14211; B8: 10051; C5: 8808; C6: 8823; C7: 9152; C8: 5366; D5: 5454; D6: 5354; D7: 5756; D8: 2812; E5: 3151; E6: 3085; E7: 3310; E8: 1454; F5: 1776; F6: 1823; F7: 2021; F8: 770; G5: 974; G6: 1016; G7: 1028; G8: 383; H5: 530; H6: 518; H7: 570; H8: 196
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | 699000 | 708000 | 834000 | 325500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.946 | 0.982 | 0.928 | 0.843 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:03 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | 1020750 | 1122750 | 1350000 | 177000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.993 | 0.997 | 0.993 | 0.979 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:02 | 0:03 | 0:04 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:01 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | 933750 | 921750 | 999750 | 96750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.986 | 0.988 | 0.993 | 0.47 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:04 | 0:04 | 0:03 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | 706500 | 636750 | 737250 | 53250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.998 | 0.998 | 0.999 | 0.664 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:02 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | 435000 | 440250 | 477000 | 36000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.997 | 0.998 | 0.664 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:04 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | 288000 | 275250 | 333000 | 26250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.997 | 0.999 | 0.997 | 0.966 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:00 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | 168750 | 165000 | 165750 | 9750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.997 | 0.999 | 0.992 | 0.983 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | 90000 | 90750 | 93750 | 10500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.996 | 0.995 | 0.998 | 0.754 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]