## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\250325_H10_1xZn_kinetics_100nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\240830_kinetics_4mu_PA_LEFT_HALF_starting_a1.prt
Plate Number | Plate 1
Date | 2025-03-25
Time | 18:42
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A1..H4
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 26.8
Max Temperature: | 27.2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 27.2 | A1: 15260; A2: 16111; A3: 15847; A4: 12926; B1: 9126; B2: 10176; B3: 10577; B4: 7255; C1: 4970; C2: 6271; C3: 6534; C4: 3873; D1: 3219; D2: 3421; D3: 3662; D4: 2016; E1: 1671; E2: 1847; E3: 2079; E4: 1026; F1: 903; F2: 993; F3: 1099; F4: 519; G1: 463; G2: 507; G3: 561; G4: 255; H1: 229; H2: 257; H3: 289; H4: 124
| 0:00 | 27.2 | A1: 16210; A2: 17020; A3: 16770; A4: 12937; B1: 10032; B2: 11182; B3: 11469; B4: 7305; C1: 5704; C2: 7150; C3: 7309; C4: 3876; D1: 3813; D2: 3946; D3: 4191; D4: 2015; E1: 2018; E2: 2095; E3: 2360; E4: 1025; F1: 1094; F2: 1162; F3: 1256; F4: 520; G1: 559; G2: 590; G3: 644; G4: 257; H1: 272; H2: 303; H3: 329; H4: 123
| 0:00 | 27.2 | A1: 17177; A2: 18197; A3: 17843; A4: 12989; B1: 10950; B2: 12111; B3: 12408; B4: 7294; C1: 6459; C2: 7971; C3: 8045; C4: 3886; D1: 4396; D2: 4452; D3: 4671; D4: 2015; E1: 2310; E2: 2386; E3: 2644; E4: 1030; F1: 1275; F2: 1319; F3: 1394; F4: 519; G1: 650; G2: 674; G3: 716; G4: 256; H1: 319; H2: 348; H3: 368; H4: 125
| 0:00 | 27.2 | A1: 18116; A2: 19108; A3: 18784; A4: 13047; B1: 11872; B2: 13060; B3: 13368; B4: 7327; C1: 7214; C2: 8747; C3: 8713; C4: 3898; D1: 4936; D2: 4936; D3: 5117; D4: 2028; E1: 2619; E2: 2655; E3: 2912; E4: 1036; F1: 1452; F2: 1470; F3: 1546; F4: 518; G1: 739; G2: 759; G3: 789; G4: 261; H1: 366; H2: 391; H3: 406; H4: 126
| 0:01 | 27.1 | A1: 19185; A2: 20099; A3: 19688; A4: 13008; B1: 12785; B2: 13993; B3: 14166; B4: 7331; C1: 8006; C2: 9509; C3: 9409; C4: 3879; D1: 5476; D2: 5362; D3: 5568; D4: 2032; E1: 2913; E2: 2918; E3: 3160; E4: 1035; F1: 1611; F2: 1623; F3: 1676; F4: 519; G1: 827; G2: 834; G3: 859; G4: 262; H1: 407; H2: 432; H3: 440; H4: 124
| 0:01 | 27.1 | A1: 20061; A2: 21092; A3: 20421; A4: 13073; B1: 13614; B2: 14839; B3: 15037; B4: 7333; C1: 8726; C2: 10313; C3: 10107; C4: 3901; D1: 5961; D2: 5822; D3: 5977; D4: 2052; E1: 3162; E2: 3167; E3: 3395; E4: 1032; F1: 1768; F2: 1754; F3: 1805; F4: 520; G1: 910; G2: 915; G3: 926; G4: 260; H1: 446; H2: 472; H3: 474; H4: 126
| 0:01 | 27.1 | A1: 21024; A2: 22017; A3: 21280; A4: 13085; B1: 14506; B2: 15739; B3: 15833; B4: 7348; C1: 9387; C2: 10979; C3: 10742; C4: 3920; D1: 6464; D2: 6243; D3: 6363; D4: 2063; E1: 3429; E2: 3395; E3: 3660; E4: 1044; F1: 1930; F2: 1902; F3: 1943; F4: 521; G1: 984; G2: 987; G3: 992; G4: 264; H1: 486; H2: 505; H3: 507; H4: 124
| 0:01 | 27.1 | A1: 21908; A2: 22908; A3: 22210; A4: 13135; B1: 15325; B2: 16531; B3: 16701; B4: 7396; C1: 10063; C2: 11663; C3: 11347; C4: 3938; D1: 6925; D2: 6675; D3: 6757; D4: 2057; E1: 3677; E2: 3630; E3: 3898; E4: 1046; F1: 2071; F2: 2037; F3: 2071; F4: 519; G1: 1063; G2: 1056; G3: 1061; G4: 259; H1: 529; H2: 544; H3: 540; H4: 126
| 0:01 | 27.1 | A1: 22771; A2: 23815; A3: 22991; A4: 13166; B1: 16147; B2: 17394; B3: 17557; B4: 7354; C1: 10723; C2: 12357; C3: 11976; C4: 3922; D1: 7358; D2: 7075; D3: 7122; D4: 2062; E1: 3909; E2: 3864; E3: 4125; E4: 1049; F1: 2204; F2: 2158; F3: 2194; F4: 519; G1: 1135; G2: 1126; G3: 1122; G4: 262; H1: 557; H2: 579; H3: 571; H4: 125
| 0:01 | 27.1 | A1: 23597; A2: 24847; A3: 23888; A4: 13229; B1: 16987; B2: 18127; B3: 18311; B4: 7392; C1: 11355; C2: 12985; C3: 12568; C4: 3946; D1: 7769; D2: 7483; D3: 7495; D4: 2074; E1: 4177; E2: 4078; E3: 4371; E4: 1044; F1: 2342; F2: 2288; F3: 2324; F4: 518; G1: 1203; G2: 1190; G3: 1181; G4: 263; H1: 598; H2: 612; H3: 597; H4: 126
| 0:01 | 27.1 | A1: 24541; A2: 25705; A3: 24657; A4: 13241; B1: 17642; B2: 18931; B3: 18974; B4: 7406; C1: 12009; C2: 13642; C3: 13151; C4: 3932; D1: 8216; D2: 7885; D3: 7859; D4: 2079; E1: 4385; E2: 4291; E3: 4580; E4: 1043; F1: 2459; F2: 2406; F3: 2430; F4: 522; G1: 1267; G2: 1251; G3: 1232; G4: 264; H1: 632; H2: 644; H3: 626; H4: 126
| 0:02 | 27 | A1: 25359; A2: 26604; A3: 25469; A4: 13241; B1: 18484; B2: 19750; B3: 19833; B4: 7374; C1: 12655; C2: 14212; C3: 13720; C4: 3959; D1: 8625; D2: 8236; D3: 8182; D4: 2090; E1: 4622; E2: 4528; E3: 4771; E4: 1050; F1: 2606; F2: 2539; F3: 2543; F4: 522; G1: 1334; G2: 1318; G3: 1285; G4: 264; H1: 661; H2: 674; H3: 652; H4: 125
| 0:02 | 27 | A1: 26035; A2: 27382; A3: 26293; A4: 13308; B1: 19228; B2: 20468; B3: 20524; B4: 7440; C1: 13206; C2: 14850; C3: 14339; C4: 3962; D1: 9049; D2: 8634; D3: 8553; D4: 2097; E1: 4839; E2: 4728; E3: 5026; E4: 1052; F1: 2721; F2: 2645; F3: 2649; F4: 525; G1: 1404; G2: 1369; G3: 1348; G4: 264; H1: 694; H2: 700; H3: 686; H4: 127
| 0:02 | 27 | A1: 26877; A2: 28302; A3: 26970; A4: 13360; B1: 19966; B2: 21210; B3: 21189; B4: 7395; C1: 13814; C2: 15489; C3: 14861; C4: 3973; D1: 9379; D2: 8982; D3: 8860; D4: 2103; E1: 5043; E2: 4907; E3: 5201; E4: 1055; F1: 2821; F2: 2755; F3: 2752; F4: 527; G1: 1459; G2: 1430; G3: 1395; G4: 268; H1: 724; H2: 739; H3: 707; H4: 126
| 0:02 | 27 | A1: 27790; A2: 29185; A3: 27677; A4: 13357; B1: 20740; B2: 21999; B3: 21939; B4: 7429; C1: 14332; C2: 16003; C3: 15370; C4: 4000; D1: 9805; D2: 9311; D3: 9205; D4: 2113; E1: 5216; E2: 5106; E3: 5413; E4: 1052; F1: 2943; F2: 2853; F3: 2852; F4: 525; G1: 1527; G2: 1495; G3: 1450; G4: 268; H1: 755; H2: 763; H3: 736; H4: 125
| 0:02 | 27 | A1: 28535; A2: 29972; A3: 28464; A4: 13375; B1: 21408; B2: 22580; B3: 22693; B4: 7467; C1: 14891; C2: 16547; C3: 15867; C4: 3978; D1: 10134; D2: 9658; D3: 9503; D4: 2106; E1: 5412; E2: 5260; E3: 5563; E4: 1059; F1: 3044; F2: 2960; F3: 2965; F4: 526; G1: 1578; G2: 1535; G3: 1494; G4: 268; H1: 783; H2: 792; H3: 759; H4: 126
| 0:02 | 27 | A1: 29206; A2: 30682; A3: 29389; A4: 13468; B1: 22252; B2: 23319; B3: 23291; B4: 7500; C1: 15499; C2: 17164; C3: 16436; C4: 3997; D1: 10477; D2: 10008; D3: 9839; D4: 2121; E1: 5609; E2: 5428; E3: 5772; E4: 1062; F1: 3161; F2: 3052; F3: 3062; F4: 528; G1: 1635; G2: 1592; G3: 1554; G4: 266; H1: 802; H2: 812; H3: 782; H4: 127
| 0:02 | 27 | A1: 29972; A2: 31499; A3: 30109; A4: 13427; B1: 22778; B2: 24025; B3: 24065; B4: 7477; C1: 16052; C2: 17692; C3: 16882; C4: 4008; D1: 10800; D2: 10323; D3: 10136; D4: 2124; E1: 5804; E2: 5640; E3: 5928; E4: 1063; F1: 3273; F2: 3145; F3: 3132; F4: 530; G1: 1682; G2: 1644; G3: 1591; G4: 269; H1: 835; H2: 838; H3: 808; H4: 128
| 0:02 | 26.9 | A1: 30683; A2: 32238; A3: 30741; A4: 13480; B1: 23502; B2: 24731; B3: 24628; B4: 7482; C1: 16517; C2: 18186; C3: 17412; C4: 4009; D1: 11128; D2: 10617; D3: 10408; D4: 2124; E1: 5970; E2: 5803; E3: 6086; E4: 1062; F1: 3353; F2: 3240; F3: 3235; F4: 531; G1: 1733; G2: 1687; G3: 1631; G4: 266; H1: 865; H2: 859; H3: 826; H4: 129
| 0:03 | 26.9 | A1: 31513; A2: 32994; A3: 31407; A4: 13464; B1: 24144; B2: 25435; B3: 25382; B4: 7494; C1: 17052; C2: 18692; C3: 17855; C4: 4015; D1: 11463; D2: 10946; D3: 10737; D4: 2125; E1: 6130; E2: 5932; E3: 6300; E4: 1068; F1: 3449; F2: 3328; F3: 3298; F4: 532; G1: 1781; G2: 1734; G3: 1674; G4: 267; H1: 882; H2: 889; H3: 846; H4: 130
| 0:03 | 26.9 | A1: 32125; A2: 33871; A3: 32280; A4: 13498; B1: 24866; B2: 26025; B3: 25920; B4: 7522; C1: 17512; C2: 19123; C3: 18377; C4: 4033; D1: 11789; D2: 11179; D3: 10997; D4: 2129; E1: 6315; E2: 6113; E3: 6443; E4: 1071; F1: 3538; F2: 3411; F3: 3411; F4: 529; G1: 1826; G2: 1774; G3: 1712; G4: 273; H1: 911; H2: 913; H3: 868; H4: 131
| 0:03 | 26.9 | A1: 32976; A2: 34422; A3: 32860; A4: 13547; B1: 25639; B2: 26690; B3: 26593; B4: 7567; C1: 18015; C2: 19604; C3: 18836; C4: 4038; D1: 12072; D2: 11554; D3: 11255; D4: 2137; E1: 6456; E2: 6295; E3: 6622; E4: 1074; F1: 3630; F2: 3490; F3: 3496; F4: 534; G1: 1872; G2: 1831; G3: 1753; G4: 270; H1: 936; H2: 931; H3: 887; H4: 130
| 0:03 | 26.9 | A1: 33708; A2: 35203; A3: 33679; A4: 13568; B1: 26142; B2: 27196; B3: 27099; B4: 7558; C1: 18489; C2: 20161; C3: 19294; C4: 4050; D1: 12389; D2: 11816; D3: 11510; D4: 2140; E1: 6597; E2: 6429; E3: 6757; E4: 1066; F1: 3734; F2: 3592; F3: 3571; F4: 535; G1: 1919; G2: 1868; G3: 1792; G4: 273; H1: 961; H2: 954; H3: 901; H4: 130
| 0:03 | 26.9 | A1: 34373; A2: 36002; A3: 34194; A4: 13617; B1: 26823; B2: 27804; B3: 27751; B4: 7584; C1: 18852; C2: 20568; C3: 19658; C4: 4058; D1: 12656; D2: 12070; D3: 11757; D4: 2149; E1: 6737; E2: 6560; E3: 6889; E4: 1084; F1: 3790; F2: 3677; F3: 3625; F4: 534; G1: 1962; G2: 1899; G3: 1843; G4: 270; H1: 977; H2: 974; H3: 921; H4: 131
| 0:03 | 26.9 | A1: 34948; A2: 36752; A3: 34889; A4: 13652; B1: 27494; B2: 28506; B3: 28339; B4: 7598; C1: 19351; C2: 21022; C3: 20079; C4: 4074; D1: 12901; D2: 12321; D3: 12029; D4: 2159; E1: 6893; E2: 6712; E3: 7011; E4: 1076; F1: 3895; F2: 3742; F3: 3715; F4: 535; G1: 1993; G2: 1936; G3: 1870; G4: 274; H1: 1002; H2: 990; H3: 941; H4: 130
| 0:03 | 26.9 | A1: 35785; A2: 37433; A3: 35522; A4: 13646; B1: 28050; B2: 29060; B3: 28933; B4: 7609; C1: 19773; C2: 21427; C3: 20462; C4: 4074; D1: 13186; D2: 12574; D3: 12286; D4: 2154; E1: 7088; E2: 6839; E3: 7156; E4: 1083; F1: 3971; F2: 3815; F3: 3771; F4: 533; G1: 2054; G2: 1982; G3: 1914; G4: 274; H1: 1018; H2: 1008; H3: 955; H4: 131
| 0:04 | 26.8 | A1: 36291; A2: 38104; A3: 36273; A4: 13693; B1: 28661; B2: 29675; B3: 29494; B4: 7603; C1: 20140; C2: 21850; C3: 20837; C4: 4071; D1: 13459; D2: 12837; D3: 12522; D4: 2145; E1: 7230; E2: 6999; E3: 7286; E4: 1090; F1: 4031; F2: 3897; F3: 3861; F4: 536; G1: 2091; G2: 2022; G3: 1931; G4: 273; H1: 1041; H2: 1027; H3: 974; H4: 132
| 0:04 | 26.8 | A1: 36940; A2: 38846; A3: 36865; A4: 13707; B1: 29260; B2: 30242; B3: 30062; B4: 7629; C1: 20517; C2: 22292; C3: 21285; C4: 4098; D1: 13740; D2: 13108; D3: 12730; D4: 2159; E1: 7347; E2: 7111; E3: 7426; E4: 1086; F1: 4110; F2: 3936; F3: 3918; F4: 537; G1: 2123; G2: 2056; G3: 1988; G4: 274; H1: 1057; H2: 1041; H3: 996; H4: 134
| 0:04 | 26.8 | A1: 37657; A2: 39448; A3: 37499; A4: 13766; B1: 29869; B2: 30719; B3: 30485; B4: 7685; C1: 20918; C2: 22744; C3: 21625; C4: 4089; D1: 13964; D2: 13310; D3: 12943; D4: 2164; E1: 7450; E2: 7219; E3: 7560; E4: 1088; F1: 4163; F2: 4010; F3: 3967; F4: 538; G1: 2160; G2: 2083; G3: 2014; G4: 275; H1: 1075; H2: 1058; H3: 1010; H4: 132
| 0:04 | 26.8 | A1: 38180; A2: 40152; A3: 38383; A4: 13837; B1: 30290; B2: 31415; B3: 31138; B4: 7641; C1: 21332; C2: 23021; C3: 22012; C4: 4103; D1: 14161; D2: 13602; D3: 13147; D4: 2178; E1: 7578; E2: 7333; E3: 7654; E4: 1091; F1: 4250; F2: 4080; F3: 4049; F4: 541; G1: 2194; G2: 2109; G3: 2025; G4: 275; H1: 1094; H2: 1076; H3: 1025; H4: 132
| 0:04 | 26.8 | A1: 38820; A2: 40553; A3: 38796; A4: 13860; B1: 30983; B2: 31847; B3: 31660; B4: 7698; C1: 21710; C2: 23561; C3: 22398; C4: 4083; D1: 14397; D2: 13805; D3: 13366; D4: 2186; E1: 7712; E2: 7476; E3: 7770; E4: 1087; F1: 4299; F2: 4153; F3: 4115; F4: 542; G1: 2221; G2: 2149; G3: 2058; G4: 278; H1: 1108; H2: 1090; H3: 1036; H4: 135
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 7317000 | 7548000 | 7272000 | 348000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 0.998 | 0.999 | 0.958 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:04 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | 6868500 | 7134000 | 6807750 | 176250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 0.999 | 0.798 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | ????? | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | 5693250 | 6054750 | 5365500 | 112500 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 0.999 | 0.999 | 0.929 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | ????? | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | 4227750 | 3654000 | 3553500 | 90000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 0.998 | 0.999 | 0.969 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | 0:00 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | 2313750 | 2026500 | 2035500 | 35250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 1 | 0.999 | 0.656 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | 0:00 | ????? | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | 1330500 | 1176000 | 1083000 | 15750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 1 | 0.999 | 0.942 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | 681000 | 617250 | 555750 | 13500 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 0.999 | 0.835 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | 0:00 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | 337500 | 328500 | 284250 | 7500 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 0.999 | 0.999 | 1 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | ????? | ????? | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]