## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\250327_D9_1xZn_kinetics_500nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | Z:\Users\Baker_Lab\woodbuse\neo2_platereader\zinc_hydrolase_ULTRAop\single_zinc_esterase\240830_kinetics_4mu_PA_RIGHT_HALF_starting_a9.prt
Plate Number | Plate 1
Date | 2025-03-27
Time | 23:10
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A9..H12
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A9: 21697; A10: 21576; A11: 20893; A12: 21755; B9: 12912; B10: 13320; B11: 13468; B12: 13236; C9: 7577; C10: 7791; C11: 7928; C12: 7377; D9: 4208; D10: 4334; D11: 4442; D12: 4013; E9: 2057; E10: 2145; E11: 2192; E12: 1946; F9: 1046; F10: 1081; F11: 1109; F12: 976; G9: 508; G10: 531; G11: 552; G12: 477; H9: 278; H10: 271; H11: 293; H12: 247
| 0:00 | 25 | A9: 21952; A10: 21705; A11: 20911; A12: 21809; B9: 13040; B10: 13466; B11: 13633; B12: 13214; C9: 7753; C10: 7918; C11: 8149; C12: 7375; D9: 4330; D10: 4473; D11: 4563; D12: 4012; E9: 2151; E10: 2216; E11: 2293; E12: 1958; F9: 1089; F10: 1122; F11: 1152; F12: 978; G9: 528; G10: 550; G11: 584; G12: 480; H9: 293; H10: 282; H11: 305; H12: 244
| 0:00 | 25 | A9: 21929; A10: 21695; A11: 20964; A12: 21762; B9: 13214; B10: 13535; B11: 13750; B12: 13224; C9: 7925; C10: 8050; C11: 8364; C12: 7403; D9: 4459; D10: 4604; D11: 4696; D12: 4035; E9: 2232; E10: 2297; E11: 2365; E12: 1954; F9: 1134; F10: 1161; F11: 1181; F12: 988; G9: 552; G10: 572; G11: 603; G12: 477; H9: 305; H10: 296; H11: 318; H12: 247
| 0:00 | 25 | A9: 22157; A10: 21869; A11: 21239; A12: 21770; B9: 13310; B10: 13730; B11: 13985; B12: 13298; C9: 8119; C10: 8238; C11: 8583; C12: 7373; D9: 4634; D10: 4741; D11: 4808; D12: 4034; E9: 2307; E10: 2372; E11: 2449; E12: 1966; F9: 1176; F10: 1197; F11: 1214; F12: 982; G9: 571; G10: 598; G11: 625; G12: 477; H9: 319; H10: 308; H11: 331; H12: 244
| 0:01 | 25 | A9: 22245; A10: 21970; A11: 21285; A12: 21920; B9: 13414; B10: 13864; B11: 14064; B12: 13268; C9: 8290; C10: 8402; C11: 8762; C12: 7403; D9: 4775; D10: 4860; D11: 4926; D12: 4052; E9: 2390; E10: 2464; E11: 2507; E12: 1974; F9: 1216; F10: 1233; F11: 1255; F12: 981; G9: 596; G10: 614; G11: 646; G12: 481; H9: 335; H10: 315; H11: 340; H12: 245
| 0:01 | 25 | A9: 22416; A10: 22005; A11: 21347; A12: 21825; B9: 13645; B10: 14049; B11: 14296; B12: 13304; C9: 8477; C10: 8553; C11: 8927; C12: 7389; D9: 4886; D10: 4983; D11: 5050; D12: 4039; E9: 2469; E10: 2528; E11: 2590; E12: 1968; F9: 1266; F10: 1276; F11: 1295; F12: 984; G9: 624; G10: 634; G11: 668; G12: 481; H9: 347; H10: 329; H11: 351; H12: 245
| 0:01 | 25 | A9: 22452; A10: 22217; A11: 21441; A12: 21857; B9: 13794; B10: 14103; B11: 14433; B12: 13308; C9: 8677; C10: 8735; C11: 9148; C12: 7428; D9: 5027; D10: 5085; D11: 5170; D12: 4064; E9: 2563; E10: 2593; E11: 2647; E12: 1979; F9: 1302; F10: 1316; F11: 1316; F12: 987; G9: 643; G10: 654; G11: 684; G12: 480; H9: 361; H10: 339; H11: 362; H12: 242
| 0:01 | 25 | A9: 22434; A10: 22369; A11: 21635; A12: 21816; B9: 13951; B10: 14228; B11: 14608; B12: 13267; C9: 8798; C10: 8863; C11: 9299; C12: 7386; D9: 5164; D10: 5229; D11: 5283; D12: 4070; E9: 2629; E10: 2682; E11: 2723; E12: 1984; F9: 1345; F10: 1347; F11: 1353; F12: 980; G9: 662; G10: 672; G11: 705; G12: 481; H9: 372; H10: 350; H11: 370; H12: 244
| 0:01 | 25 | A9: 22685; A10: 22335; A11: 21644; A12: 21976; B9: 14030; B10: 14349; B11: 14745; B12: 13310; C9: 8959; C10: 9015; C11: 9512; C12: 7419; D9: 5275; D10: 5332; D11: 5392; D12: 4061; E9: 2712; E10: 2755; E11: 2799; E12: 1990; F9: 1376; F10: 1384; F11: 1394; F12: 989; G9: 686; G10: 690; G11: 722; G12: 478; H9: 383; H10: 359; H11: 383; H12: 245
| 0:01 | 25 | A9: 22813; A10: 22428; A11: 21925; A12: 21797; B9: 14195; B10: 14441; B11: 14887; B12: 13322; C9: 9168; C10: 9055; C11: 9653; C12: 7415; D9: 5373; D10: 5438; D11: 5487; D12: 4076; E9: 2781; E10: 2818; E11: 2865; E12: 1990; F9: 1409; F10: 1423; F11: 1429; F12: 987; G9: 712; G10: 709; G11: 738; G12: 482; H9: 393; H10: 370; H11: 393; H12: 248
| 0:01 | 25 | A9: 22878; A10: 22612; A11: 21865; A12: 21884; B9: 14338; B10: 14578; B11: 15118; B12: 13332; C9: 9297; C10: 9278; C11: 9842; C12: 7441; D9: 5537; D10: 5533; D11: 5583; D12: 4082; E9: 2848; E10: 2890; E11: 2939; E12: 1986; F9: 1459; F10: 1453; F11: 1466; F12: 994; G9: 723; G10: 721; G11: 758; G12: 482; H9: 410; H10: 381; H11: 404; H12: 246
| 0:02 | 25 | A9: 22996; A10: 22772; A11: 22192; A12: 21873; B9: 14446; B10: 14734; B11: 15242; B12: 13284; C9: 9474; C10: 9371; C11: 9986; C12: 7415; D9: 5658; D10: 5681; D11: 5733; D12: 4091; E9: 2913; E10: 2964; E11: 3010; E12: 2001; F9: 1487; F10: 1487; F11: 1493; F12: 988; G9: 751; G10: 743; G11: 774; G12: 485; H9: 420; H10: 391; H11: 412; H12: 245
| 0:02 | 25 | A9: 23119; A10: 22830; A11: 22227; A12: 21867; B9: 14619; B10: 14901; B11: 15354; B12: 13311; C9: 9622; C10: 9528; C11: 10177; C12: 7434; D9: 5768; D10: 5764; D11: 5808; D12: 4052; E9: 2988; E10: 3021; E11: 3061; E12: 2007; F9: 1524; F10: 1523; F11: 1524; F12: 990; G9: 766; G10: 763; G11: 799; G12: 484; H9: 433; H10: 400; H11: 423; H12: 245
| 0:02 | 25 | A9: 23173; A10: 23009; A11: 22168; A12: 22059; B9: 14748; B10: 14932; B11: 15545; B12: 13350; C9: 9775; C10: 9592; C11: 10351; C12: 7418; D9: 5872; D10: 5863; D11: 5912; D12: 4088; E9: 3061; E10: 3069; E11: 3133; E12: 2008; F9: 1568; F10: 1558; F11: 1554; F12: 994; G9: 785; G10: 774; G11: 814; G12: 482; H9: 445; H10: 409; H11: 432; H12: 246
| 0:02 | 25 | A9: 23257; A10: 23071; A11: 22376; A12: 22013; B9: 14807; B10: 15111; B11: 15636; B12: 13395; C9: 9938; C10: 9768; C11: 10477; C12: 7440; D9: 6012; D10: 5984; D11: 6013; D12: 4087; E9: 3109; E10: 3140; E11: 3192; E12: 2009; F9: 1598; F10: 1584; F11: 1586; F12: 997; G9: 809; G10: 798; G11: 828; G12: 483; H9: 456; H10: 417; H11: 438; H12: 247
| 0:02 | 25 | A9: 23405; A10: 23158; A11: 22567; A12: 21965; B9: 15011; B10: 15106; B11: 15841; B12: 13392; C9: 10064; C10: 9886; C11: 10657; C12: 7447; D9: 6103; D10: 6102; D11: 6129; D12: 4100; E9: 3200; E10: 3199; E11: 3253; E12: 2012; F9: 1638; F10: 1622; F11: 1605; F12: 999; G9: 829; G10: 816; G11: 844; G12: 485; H9: 467; H10: 429; H11: 448; H12: 245
| 0:02 | 25 | A9: 23434; A10: 23332; A11: 22557; A12: 22065; B9: 15167; B10: 15372; B11: 15977; B12: 13399; C9: 10195; C10: 9998; C11: 10832; C12: 7461; D9: 6270; D10: 6193; D11: 6220; D12: 4104; E9: 3256; E10: 3270; E11: 3314; E12: 2011; F9: 1667; F10: 1643; F11: 1638; F12: 996; G9: 845; G10: 830; G11: 861; G12: 486; H9: 477; H10: 435; H11: 458; H12: 243
| 0:02 | 25 | A9: 23527; A10: 23522; A11: 22739; A12: 22002; B9: 15235; B10: 15428; B11: 16139; B12: 13396; C9: 10413; C10: 10141; C11: 10945; C12: 7500; D9: 6356; D10: 6326; D11: 6320; D12: 4114; E9: 3329; E10: 3322; E11: 3368; E12: 2018; F9: 1708; F10: 1677; F11: 1673; F12: 1005; G9: 866; G10: 843; G11: 876; G12: 483; H9: 486; H10: 445; H11: 470; H12: 248
| 0:02 | 25 | A9: 23662; A10: 23507; A11: 22787; A12: 22064; B9: 15361; B10: 15624; B11: 16286; B12: 13367; C9: 10562; C10: 10251; C11: 11092; C12: 7467; D9: 6450; D10: 6381; D11: 6412; D12: 4097; E9: 3391; E10: 3408; E11: 3431; E12: 2031; F9: 1742; F10: 1702; F11: 1691; F12: 1003; G9: 881; G10: 861; G11: 895; G12: 487; H9: 498; H10: 456; H11: 478; H12: 247
| 0:03 | 25 | A9: 23587; A10: 23822; A11: 22920; A12: 22011; B9: 15478; B10: 15787; B11: 16415; B12: 13423; C9: 10652; C10: 10399; C11: 11231; C12: 7453; D9: 6544; D10: 6505; D11: 6524; D12: 4100; E9: 3452; E10: 3445; E11: 3502; E12: 2026; F9: 1765; F10: 1729; F11: 1732; F12: 1007; G9: 898; G10: 875; G11: 906; G12: 489; H9: 510; H10: 459; H11: 487; H12: 245
| 0:03 | 25 | A9: 23907; A10: 23830; A11: 23045; A12: 22074; B9: 15631; B10: 15773; B11: 16640; B12: 13467; C9: 10823; C10: 10503; C11: 11348; C12: 7484; D9: 6672; D10: 6599; D11: 6607; D12: 4109; E9: 3520; E10: 3508; E11: 3537; E12: 2021; F9: 1808; F10: 1768; F11: 1751; F12: 1001; G9: 916; G10: 891; G11: 924; G12: 484; H9: 522; H10: 469; H11: 493; H12: 248
| 0:03 | 25 | A9: 23996; A10: 24018; A11: 23198; A12: 22088; B9: 15725; B10: 15905; B11: 16750; B12: 13400; C9: 10954; C10: 10603; C11: 11537; C12: 7488; D9: 6772; D10: 6682; D11: 6692; D12: 4101; E9: 3575; E10: 3544; E11: 3604; E12: 2037; F9: 1828; F10: 1799; F11: 1778; F12: 1009; G9: 937; G10: 912; G11: 939; G12: 487; H9: 531; H10: 476; H11: 503; H12: 243
| 0:03 | 25 | A9: 24149; A10: 24110; A11: 23388; A12: 22154; B9: 15786; B10: 16066; B11: 16895; B12: 13439; C9: 11075; C10: 10727; C11: 11750; C12: 7515; D9: 6883; D10: 6784; D11: 6799; D12: 4097; E9: 3635; E10: 3628; E11: 3662; E12: 2027; F9: 1863; F10: 1825; F11: 1796; F12: 1011; G9: 951; G10: 922; G11: 958; G12: 492; H9: 537; H10: 489; H11: 512; H12: 248
| 0:03 | 25 | A9: 24212; A10: 24424; A11: 23417; A12: 22040; B9: 15902; B10: 16171; B11: 17011; B12: 13490; C9: 11221; C10: 10816; C11: 11745; C12: 7508; D9: 6974; D10: 6895; D11: 6886; D12: 4123; E9: 3679; E10: 3683; E11: 3716; E12: 2039; F9: 1888; F10: 1847; F11: 1827; F12: 1003; G9: 967; G10: 943; G11: 967; G12: 489; H9: 552; H10: 495; H11: 518; H12: 250
| 0:03 | 25 | A9: 24284; A10: 24453; A11: 23552; A12: 22089; B9: 16083; B10: 16334; B11: 17227; B12: 13463; C9: 11332; C10: 10960; C11: 11920; C12: 7517; D9: 7060; D10: 6973; D11: 6988; D12: 4128; E9: 3757; E10: 3754; E11: 3776; E12: 2048; F9: 1918; F10: 1870; F11: 1842; F12: 1009; G9: 983; G10: 956; G11: 978; G12: 488; H9: 560; H10: 498; H11: 528; H12: 251
| 0:03 | 25 | A9: 24419; A10: 24564; A11: 23709; A12: 22168; B9: 16207; B10: 16373; B11: 17286; B12: 13482; C9: 11509; C10: 10984; C11: 12104; C12: 7532; D9: 7166; D10: 7028; D11: 7116; D12: 4122; E9: 3816; E10: 3791; E11: 3797; E12: 2046; F9: 1954; F10: 1916; F11: 1871; F12: 1003; G9: 1000; G10: 969; G11: 993; G12: 483; H9: 567; H10: 513; H11: 537; H12: 250
| 0:04 | 25 | A9: 24445; A10: 24607; A11: 23744; A12: 22128; B9: 16321; B10: 16535; B11: 17498; B12: 13490; C9: 11592; C10: 11152; C11: 12263; C12: 7518; D9: 7267; D10: 7152; D11: 7162; D12: 4132; E9: 3865; E10: 3816; E11: 3882; E12: 2059; F9: 1984; F10: 1924; F11: 1902; F12: 1008; G9: 1016; G10: 981; G11: 1001; G12: 488; H9: 576; H10: 516; H11: 541; H12: 250
| 0:04 | 25 | A9: 24629; A10: 24831; A11: 23986; A12: 22213; B9: 16439; B10: 16685; B11: 17581; B12: 13539; C9: 11778; C10: 11280; C11: 12363; C12: 7529; D9: 7389; D10: 7233; D11: 7224; D12: 4132; E9: 3907; E10: 3902; E11: 3911; E12: 2057; F9: 2022; F10: 1964; F11: 1919; F12: 1001; G9: 1030; G10: 997; G11: 1017; G12: 490; H9: 592; H10: 529; H11: 546; H12: 253
| 0:04 | 25 | A9: 24654; A10: 24930; A11: 24197; A12: 22089; B9: 16552; B10: 16729; B11: 17818; B12: 13521; C9: 11821; C10: 11319; C11: 12488; C12: 7548; D9: 7468; D10: 7301; D11: 7303; D12: 4128; E9: 3979; E10: 3942; E11: 3984; E12: 2060; F9: 2037; F10: 1981; F11: 1942; F12: 1009; G9: 1055; G10: 1012; G11: 1032; G12: 488; H9: 599; H10: 530; H11: 556; H12: 248
| 0:04 | 25 | A9: 24862; A10: 25121; A11: 24258; A12: 22198; B9: 16724; B10: 16856; B11: 17922; B12: 13503; C9: 11994; C10: 11437; C11: 12661; C12: 7556; D9: 7557; D10: 7453; D11: 7411; D12: 4116; E9: 4049; E10: 4000; E11: 4028; E12: 2054; F9: 2067; F10: 2013; F11: 1971; F12: 1012; G9: 1065; G10: 1020; G11: 1040; G12: 490; H9: 608; H10: 539; H11: 563; H12: 250
| 0:04 | 25 | A9: 24969; A10: 25149; A11: 24391; A12: 22168; B9: 16749; B10: 16964; B11: 18089; B12: 13562; C9: 12152; C10: 11555; C11: 12789; C12: 7548; D9: 7680; D10: 7544; D11: 7503; D12: 4109; E9: 4103; E10: 4043; E11: 4074; E12: 2074; F9: 2094; F10: 2026; F11: 1989; F12: 1012; G9: 1094; G10: 1038; G11: 1051; G12: 491; H9: 616; H10: 544; H11: 568; H12: 248
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1119000 | 1239000 | 1175250 | 380250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.92 | 0.951 | 0.952 | 0.679 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:03 | 0:03 | 0:04 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:01 | 0:01 | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1246500 | 1210500 | 1257750 | 225000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.99 | 0.973 | 0.983 | 0.937 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:02 | 0:01 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:01 | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1396500 | 1263750 | 1576500 | 138750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.999 | 0.999 | 0.924 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:00 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:02 | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1078500 | 990000 | 909750 | 87000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.996 | 0.999 | 0.999 | 0.801 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:01 | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 618000 | 595500 | 589500 | 53250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.998 | 0.992 | 0.902 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | 0:01 | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 327000 | 291750 | 282000 | 21750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.999 | 0.999 | 0.987 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 177000 | 160500 | 171750 | 11250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.996 | 0.996 | 0.991 | 0.781 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:01 | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 105000 | 85500 | 90000 | 12750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.998 | 0.99 | 0.996 | 0.701 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:03 | Lagtime [365,445]