## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 240830_A8_OFFICIAL_kinetics_2uM___phenylacetate_subst_25C_5min_40x_zn.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_LEFT_HALF_starting_a1.prt
Plate Number | Plate 1
Date | 2024-08-30
Time | 21:07
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A1..H4
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A1: 13013; A2: 13075; A3: 12632; A4: 12353; B1: 6863; B2: 7185; B3: 7124; B4: 6649; C1: 3557; C2: 3659; C3: 3641; C4: 3336; D1: 1915; D2: 1938; D3: 1901; D4: 1798; E1: 1014; E2: 1032; E3: 1047; E4: 940; F1: 540; F2: 551; F3: 548; F4: 512; G1: 297; G2: 302; G3: 297; G4: 285; H1: 144; H2: 128; H3: 148; H4: 151
| 0:00 | 25 | A1: 13082; A2: 13193; A3: 12805; A4: 12264; B1: 6972; B2: 7283; B3: 7185; B4: 6671; C1: 3625; C2: 3709; C3: 3710; C4: 3332; D1: 1946; D2: 1961; D3: 1935; D4: 1806; E1: 1024; E2: 1053; E3: 1059; E4: 940; F1: 548; F2: 564; F3: 552; F4: 514; G1: 299; G2: 307; G3: 303; G4: 280; H1: 147; H2: 129; H3: 148; H4: 149
| 0:00 | 25 | A1: 13204; A2: 13340; A3: 12909; A4: 12320; B1: 7075; B2: 7401; B3: 7311; B4: 6659; C1: 3684; C2: 3774; C3: 3782; C4: 3336; D1: 1970; D2: 2008; D3: 1977; D4: 1787; E1: 1044; E2: 1073; E3: 1081; E4: 944; F1: 558; F2: 567; F3: 562; F4: 510; G1: 302; G2: 310; G3: 305; G4: 284; H1: 149; H2: 132; H3: 151; H4: 150
| 0:00 | 25 | A1: 13308; A2: 13425; A3: 13019; A4: 12343; B1: 7188; B2: 7478; B3: 7398; B4: 6665; C1: 3736; C2: 3812; C3: 3839; C4: 3323; D1: 2006; D2: 2048; D3: 2001; D4: 1801; E1: 1065; E2: 1090; E3: 1094; E4: 948; F1: 565; F2: 574; F3: 571; F4: 511; G1: 310; G2: 315; G3: 309; G4: 281; H1: 152; H2: 133; H3: 152; H4: 149
| 0:01 | 25 | A1: 13427; A2: 13559; A3: 13219; A4: 12364; B1: 7298; B2: 7601; B3: 7537; B4: 6647; C1: 3816; C2: 3889; C3: 3899; C4: 3329; D1: 2045; D2: 2075; D3: 2030; D4: 1800; E1: 1074; E2: 1108; E3: 1110; E4: 948; F1: 573; F2: 589; F3: 580; F4: 513; G1: 313; G2: 319; G3: 316; G4: 283; H1: 152; H2: 136; H3: 156; H4: 150
| 0:01 | 25 | A1: 13602; A2: 13738; A3: 13292; A4: 12397; B1: 7381; B2: 7673; B3: 7603; B4: 6678; C1: 3873; C2: 3975; C3: 3960; C4: 3348; D1: 2083; D2: 2115; D3: 2071; D4: 1803; E1: 1092; E2: 1128; E3: 1131; E4: 946; F1: 581; F2: 598; F3: 590; F4: 514; G1: 316; G2: 324; G3: 320; G4: 282; H1: 157; H2: 138; H3: 159; H4: 150
| 0:01 | 25 | A1: 13695; A2: 13788; A3: 13439; A4: 12353; B1: 7450; B2: 7833; B3: 7686; B4: 6660; C1: 3957; C2: 4037; C3: 4038; C4: 3349; D1: 2112; D2: 2158; D3: 2116; D4: 1808; E1: 1112; E2: 1149; E3: 1143; E4: 949; F1: 596; F2: 605; F3: 596; F4: 514; G1: 321; G2: 329; G3: 321; G4: 284; H1: 157; H2: 139; H3: 161; H4: 150
| 0:01 | 25 | A1: 13873; A2: 13952; A3: 13599; A4: 12364; B1: 7565; B2: 7928; B3: 7838; B4: 6709; C1: 4021; C2: 4098; C3: 4088; C4: 3359; D1: 2149; D2: 2192; D3: 2145; D4: 1806; E1: 1128; E2: 1166; E3: 1166; E4: 951; F1: 605; F2: 613; F3: 607; F4: 518; G1: 325; G2: 333; G3: 326; G4: 282; H1: 159; H2: 142; H3: 164; H4: 149
| 0:01 | 25 | A1: 13984; A2: 14086; A3: 13712; A4: 12432; B1: 7691; B2: 8024; B3: 7922; B4: 6712; C1: 4099; C2: 4159; C3: 4157; C4: 3375; D1: 2178; D2: 2217; D3: 2181; D4: 1802; E1: 1146; E2: 1182; E3: 1181; E4: 956; F1: 612; F2: 629; F3: 616; F4: 511; G1: 327; G2: 336; G3: 332; G4: 283; H1: 163; H2: 144; H3: 163; H4: 149
| 0:01 | 25 | A1: 14156; A2: 14230; A3: 13867; A4: 12346; B1: 7793; B2: 8095; B3: 8038; B4: 6733; C1: 4156; C2: 4228; C3: 4216; C4: 3358; D1: 2224; D2: 2268; D3: 2232; D4: 1818; E1: 1172; E2: 1199; E3: 1206; E4: 957; F1: 619; F2: 636; F3: 624; F4: 518; G1: 337; G2: 341; G3: 336; G4: 284; H1: 165; H2: 145; H3: 167; H4: 150
| 0:01 | 25 | A1: 14342; A2: 14369; A3: 13985; A4: 12436; B1: 7919; B2: 8231; B3: 8129; B4: 6717; C1: 4213; C2: 4316; C3: 4286; C4: 3367; D1: 2263; D2: 2288; D3: 2248; D4: 1808; E1: 1192; E2: 1218; E3: 1218; E4: 966; F1: 630; F2: 644; F3: 632; F4: 517; G1: 339; G2: 346; G3: 340; G4: 284; H1: 166; H2: 147; H3: 168; H4: 150
| 0:02 | 25 | A1: 14391; A2: 14535; A3: 14181; A4: 12439; B1: 8019; B2: 8345; B3: 8230; B4: 6741; C1: 4307; C2: 4364; C3: 4358; C4: 3350; D1: 2307; D2: 2334; D3: 2281; D4: 1815; E1: 1205; E2: 1240; E3: 1238; E4: 963; F1: 636; F2: 651; F3: 644; F4: 514; G1: 346; G2: 353; G3: 348; G4: 284; H1: 169; H2: 150; H3: 172; H4: 150
| 0:02 | 25 | A1: 14576; A2: 14660; A3: 14261; A4: 12497; B1: 8136; B2: 8414; B3: 8357; B4: 6758; C1: 4350; C2: 4435; C3: 4418; C4: 3379; D1: 2334; D2: 2373; D3: 2310; D4: 1832; E1: 1217; E2: 1259; E3: 1265; E4: 970; F1: 651; F2: 661; F3: 653; F4: 518; G1: 348; G2: 356; G3: 349; G4: 284; H1: 171; H2: 153; H3: 174; H4: 149
| 0:02 | 25 | A1: 14718; A2: 14828; A3: 14394; A4: 12513; B1: 8238; B2: 8576; B3: 8450; B4: 6767; C1: 4413; C2: 4496; C3: 4473; C4: 3378; D1: 2375; D2: 2404; D3: 2345; D4: 1814; E1: 1238; E2: 1266; E3: 1281; E4: 965; F1: 655; F2: 672; F3: 661; F4: 518; G1: 353; G2: 358; G3: 352; G4: 285; H1: 174; H2: 155; H3: 177; H4: 148
| 0:02 | 25 | A1: 14953; A2: 14911; A3: 14577; A4: 12508; B1: 8349; B2: 8649; B3: 8573; B4: 6771; C1: 4485; C2: 4557; C3: 4545; C4: 3384; D1: 2408; D2: 2439; D3: 2385; D4: 1821; E1: 1259; E2: 1290; E3: 1306; E4: 973; F1: 671; F2: 680; F3: 668; F4: 518; G1: 358; G2: 365; G3: 359; G4: 285; H1: 175; H2: 157; H3: 178; H4: 151
| 0:02 | 25 | A1: 15005; A2: 15101; A3: 14721; A4: 12536; B1: 8481; B2: 8804; B3: 8706; B4: 6792; C1: 4550; C2: 4637; C3: 4616; C4: 3391; D1: 2453; D2: 2484; D3: 2419; D4: 1826; E1: 1279; E2: 1310; E3: 1325; E4: 976; F1: 678; F2: 691; F3: 681; F4: 519; G1: 363; G2: 369; G3: 365; G4: 287; H1: 179; H2: 159; H3: 182; H4: 149
| 0:02 | 25 | A1: 15247; A2: 15213; A3: 14825; A4: 12561; B1: 8562; B2: 8887; B3: 8811; B4: 6819; C1: 4638; C2: 4694; C3: 4694; C4: 3402; D1: 2486; D2: 2523; D3: 2455; D4: 1836; E1: 1302; E2: 1331; E3: 1342; E4: 976; F1: 688; F2: 702; F3: 688; F4: 522; G1: 364; G2: 375; G3: 371; G4: 286; H1: 181; H2: 162; H3: 184; H4: 149
| 0:02 | 25 | A1: 15334; A2: 15355; A3: 14946; A4: 12564; B1: 8681; B2: 9005; B3: 8872; B4: 6834; C1: 4715; C2: 4767; C3: 4740; C4: 3417; D1: 2536; D2: 2549; D3: 2506; D4: 1832; E1: 1319; E2: 1346; E3: 1361; E4: 982; F1: 695; F2: 709; F3: 703; F4: 519; G1: 373; G2: 376; G3: 373; G4: 287; H1: 184; H2: 164; H3: 185; H4: 148
| 0:02 | 25 | A1: 15505; A2: 15541; A3: 15173; A4: 12568; B1: 8775; B2: 9154; B3: 8995; B4: 6834; C1: 4752; C2: 4853; C3: 4810; C4: 3397; D1: 2571; D2: 2587; D3: 2528; D4: 1839; E1: 1341; E2: 1371; E3: 1378; E4: 985; F1: 702; F2: 720; F3: 709; F4: 523; G1: 378; G2: 387; G3: 375; G4: 287; H1: 185; H2: 166; H3: 188; H4: 150
| 0:03 | 25 | A1: 15723; A2: 15612; A3: 15218; A4: 12670; B1: 8890; B2: 9216; B3: 9163; B4: 6864; C1: 4825; C2: 4884; C3: 4869; C4: 3417; D1: 2612; D2: 2637; D3: 2567; D4: 1830; E1: 1355; E2: 1377; E3: 1397; E4: 980; F1: 715; F2: 730; F3: 718; F4: 523; G1: 380; G2: 386; G3: 384; G4: 285; H1: 189; H2: 166; H3: 189; H4: 150
| 0:03 | 25 | A1: 15799; A2: 15818; A3: 15354; A4: 12645; B1: 9015; B2: 9350; B3: 9217; B4: 6818; C1: 4906; C2: 4961; C3: 4934; C4: 3428; D1: 2642; D2: 2655; D3: 2601; D4: 1837; E1: 1375; E2: 1403; E3: 1417; E4: 987; F1: 723; F2: 735; F3: 726; F4: 525; G1: 383; G2: 391; G3: 385; G4: 291; H1: 191; H2: 168; H3: 194; H4: 152
| 0:03 | 25 | A1: 16030; A2: 15976; A3: 15553; A4: 12680; B1: 9120; B2: 9473; B3: 9385; B4: 6879; C1: 4972; C2: 5036; C3: 5011; C4: 3432; D1: 2688; D2: 2703; D3: 2637; D4: 1848; E1: 1392; E2: 1419; E3: 1447; E4: 986; F1: 731; F2: 749; F3: 736; F4: 523; G1: 390; G2: 397; G3: 395; G4: 289; H1: 193; H2: 172; H3: 194; H4: 151
| 0:03 | 25 | A1: 16111; A2: 16143; A3: 15661; A4: 12666; B1: 9234; B2: 9519; B3: 9440; B4: 6889; C1: 5047; C2: 5092; C3: 5080; C4: 3445; D1: 2715; D2: 2733; D3: 2667; D4: 1856; E1: 1414; E2: 1446; E3: 1455; E4: 990; F1: 740; F2: 766; F3: 748; F4: 525; G1: 393; G2: 401; G3: 399; G4: 286; H1: 195; H2: 174; H3: 196; H4: 150
| 0:03 | 25 | A1: 16245; A2: 16329; A3: 15863; A4: 12669; B1: 9349; B2: 9685; B3: 9599; B4: 6902; C1: 5119; C2: 5192; C3: 5133; C4: 3446; D1: 2760; D2: 2784; D3: 2707; D4: 1856; E1: 1432; E2: 1463; E3: 1480; E4: 990; F1: 755; F2: 771; F3: 754; F4: 526; G1: 399; G2: 405; G3: 402; G4: 290; H1: 197; H2: 177; H3: 200; H4: 151
| 0:03 | 25 | A1: 16440; A2: 16417; A3: 15947; A4: 12696; B1: 9445; B2: 9779; B3: 9694; B4: 6918; C1: 5167; C2: 5240; C3: 5225; C4: 3462; D1: 2798; D2: 2812; D3: 2729; D4: 1858; E1: 1452; E2: 1481; E3: 1491; E4: 995; F1: 763; F2: 776; F3: 760; F4: 529; G1: 405; G2: 414; G3: 406; G4: 290; H1: 200; H2: 179; H3: 201; H4: 151
| 0:03 | 25 | A1: 16603; A2: 16596; A3: 16063; A4: 12756; B1: 9574; B2: 9850; B3: 9773; B4: 6936; C1: 5251; C2: 5307; C3: 5255; C4: 3460; D1: 2821; D2: 2850; D3: 2770; D4: 1868; E1: 1466; E2: 1494; E3: 1509; E4: 995; F1: 772; F2: 789; F3: 772; F4: 527; G1: 406; G2: 415; G3: 410; G4: 286; H1: 204; H2: 180; H3: 202; H4: 152
| 0:04 | 25 | A1: 16751; A2: 16699; A3: 16209; A4: 12752; B1: 9686; B2: 10025; B3: 9914; B4: 6926; C1: 5330; C2: 5375; C3: 5356; C4: 3480; D1: 2873; D2: 2881; D3: 2812; D4: 1865; E1: 1487; E2: 1519; E3: 1538; E4: 1000; F1: 782; F2: 800; F3: 783; F4: 528; G1: 411; G2: 418; G3: 418; G4: 288; H1: 206; H2: 185; H3: 207; H4: 152
| 0:04 | 25 | A1: 16889; A2: 16914; A3: 16413; A4: 12759; B1: 9795; B2: 10071; B3: 10022; B4: 6935; C1: 5374; C2: 5446; C3: 5416; C4: 3475; D1: 2916; D2: 2929; D3: 2833; D4: 1872; E1: 1517; E2: 1536; E3: 1554; E4: 1008; F1: 789; F2: 806; F3: 792; F4: 529; G1: 418; G2: 427; G3: 421; G4: 288; H1: 205; H2: 186; H3: 207; H4: 151
| 0:04 | 25 | A1: 17086; A2: 17048; A3: 16492; A4: 12791; B1: 9892; B2: 10218; B3: 10110; B4: 6972; C1: 5443; C2: 5531; C3: 5477; C4: 3483; D1: 2955; D2: 2957; D3: 2864; D4: 1877; E1: 1520; E2: 1552; E3: 1579; E4: 1001; F1: 803; F2: 818; F3: 802; F4: 529; G1: 423; G2: 431; G3: 427; G4: 291; H1: 207; H2: 186; H3: 210; H4: 154
| 0:04 | 25 | A1: 17171; A2: 17116; A3: 16690; A4: 12812; B1: 9969; B2: 10337; B3: 10224; B4: 6975; C1: 5527; C2: 5569; C3: 5544; C4: 3492; D1: 2988; D2: 2990; D3: 2908; D4: 1878; E1: 1545; E2: 1573; E3: 1582; E4: 1011; F1: 807; F2: 825; F3: 811; F4: 533; G1: 428; G2: 436; G3: 433; G4: 291; H1: 211; H2: 189; H3: 212; H4: 154
| 0:04 | 25 | A1: 17369; A2: 17340; A3: 16842; A4: 12887; B1: 10087; B2: 10432; B3: 10328; B4: 6987; C1: 5573; C2: 5650; C3: 5607; C4: 3496; D1: 3025; D2: 3037; D3: 2942; D4: 1875; E1: 1560; E2: 1601; E3: 1611; E4: 1007; F1: 816; F2: 833; F3: 821; F4: 530; G1: 432; G2: 438; G3: 431; G4: 292; H1: 214; H2: 191; H3: 215; H4: 151
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1270500 | 1319250 | 1197750 | 296250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.982 | 0.998 | 0.993 | 0.905 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:03 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:01 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | 874500 | 908250 | 936000 | 167250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 0.991 | 0.983 | 0.851 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:01 | 0:02 | 0:03 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | 567750 | 560250 | 528000 | 83250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.998 | 0.994 | 0.994 | 0.949 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:03 | 0:03 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | 312000 | 296250 | 294000 | 53250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.993 | 0.992 | 0.994 | 0.935 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:04 | 0:03 | 0:02 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | 158250 | 161250 | 165750 | 30750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 0.994 | 0.994 | 0.908 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:03 | 0:04 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | 78750 | 84750 | 78000 | 11250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.989 | 0.965 | 0.984 | 0.865 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:03 | 0:03 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:01 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | 42000 | 41250 | 44250 | 9750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.996 | 0.978 | 0.958 | 0.899 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:04 | 0:04 | 0:03 | 0:04 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:01 | 0:01 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | 21750 | 21000 | 21750 | 6000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.987 | 0.99 | 0.987 | 0.727 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:03 | 0:03 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:01 | 0:01 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]