## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 241008_A1_D67A_FINAL_kinetics_100nM___phenylacetate_subst_25C_5min_40x_zn_144uMsubstLadder.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_RIGHT_HALF_starting_a9.prt
Plate Number | Plate 1
Date | 2024-10-08
Time | 19:35
Reader Type: | Synergy Neo2
Reader Serial Number: | 23062123
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A9..H12
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A9: 6514; A10: 6400; A11: 6324; A12: 6536; B9: 5135; B10: 4938; B11: 5033; B12: 4883; C9: 2831; C10: 2820; C11: 2754; C12: 2598; D9: 1580; D10: 1569; D11: 1522; D12: 1349; E9: 854; E10: 833; E11: 813; E12: 688; F9: 459; F10: 458; F11: 445; F12: 376; G9: 257; G10: 243; G11: 236; G12: 204; H9: 131; H10: 120; H11: 120; H12: 208
| 0:00 | 25 | A9: 6619; A10: 6566; A11: 6458; A12: 6598; B9: 5276; B10: 5054; B11: 5131; B12: 4878; C9: 2968; C10: 2937; C11: 2862; C12: 2604; D9: 1672; D10: 1677; D11: 1610; D12: 1351; E9: 920; E10: 897; E11: 880; E12: 691; F9: 499; F10: 499; F11: 488; F12: 379; G9: 276; G10: 266; G11: 256; G12: 203; H9: 142; H10: 131; H11: 130; H12: 194
| 0:00 | 25 | A9: 6773; A10: 6712; A11: 6590; A12: 6690; B9: 5427; B10: 5179; B11: 5258; B12: 4905; C9: 3073; C10: 3063; C11: 2981; C12: 2618; D9: 1765; D10: 1777; D11: 1699; D12: 1360; E9: 983; E10: 955; E11: 944; E12: 695; F9: 533; F10: 541; F11: 525; F12: 379; G9: 299; G10: 286; G11: 275; G12: 204; H9: 152; H10: 142; H11: 141; H12: 202
| 0:00 | 25 | A9: 6922; A10: 6857; A11: 6730; A12: 6745; B9: 5594; B10: 5309; B11: 5405; B12: 4922; C9: 3217; C10: 3171; C11: 3086; C12: 2635; D9: 1869; D10: 1878; D11: 1790; D12: 1368; E9: 1048; E10: 1017; E11: 1000; E12: 696; F9: 573; F10: 571; F11: 566; F12: 383; G9: 320; G10: 308; G11: 295; G12: 205; H9: 163; H10: 153; H11: 150; H12: 202
| 0:01 | 25 | A9: 7035; A10: 6993; A11: 6873; A12: 6795; B9: 5740; B10: 5423; B11: 5496; B12: 4943; C9: 3308; C10: 3306; C11: 3213; C12: 2644; D9: 1972; D10: 1986; D11: 1881; D12: 1377; E9: 1106; E10: 1081; E11: 1063; E12: 701; F9: 609; F10: 617; F11: 605; F12: 384; G9: 342; G10: 329; G11: 313; G12: 205; H9: 174; H10: 162; H11: 161; H12: 204
| 0:01 | 25 | A9: 7173; A10: 7157; A11: 6995; A12: 6827; B9: 5887; B10: 5546; B11: 5616; B12: 4970; C9: 3443; C10: 3417; C11: 3312; C12: 2655; D9: 2066; D10: 2080; D11: 1972; D12: 1383; E9: 1169; E10: 1144; E11: 1121; E12: 706; F9: 645; F10: 646; F11: 643; F12: 385; G9: 363; G10: 349; G11: 333; G12: 206; H9: 185; H10: 173; H11: 169; H12: 201
| 0:01 | 25 | A9: 7280; A10: 7287; A11: 7146; A12: 6880; B9: 6049; B10: 5680; B11: 5738; B12: 4967; C9: 3566; C10: 3538; C11: 3425; C12: 2669; D9: 2174; D10: 2191; D11: 2052; D12: 1384; E9: 1227; E10: 1204; E11: 1179; E12: 705; F9: 683; F10: 681; F11: 683; F12: 385; G9: 383; G10: 369; G11: 348; G12: 207; H9: 195; H10: 182; H11: 180; H12: 195
| 0:01 | 25 | A9: 7429; A10: 7461; A11: 7279; A12: 6916; B9: 6187; B10: 5810; B11: 5856; B12: 5001; C9: 3685; C10: 3647; C11: 3539; C12: 2677; D9: 2268; D10: 2294; D11: 2152; D12: 1397; E9: 1287; E10: 1269; E11: 1241; E12: 704; F9: 716; F10: 718; F11: 718; F12: 389; G9: 406; G10: 388; G11: 365; G12: 208; H9: 206; H10: 192; H11: 189; H12: 204
| 0:01 | 25 | A9: 7546; A10: 7624; A11: 7401; A12: 6946; B9: 6339; B10: 5944; B11: 5981; B12: 5024; C9: 3803; C10: 3772; C11: 3656; C12: 2686; D9: 2358; D10: 2394; D11: 2231; D12: 1403; E9: 1354; E10: 1335; E11: 1289; E12: 711; F9: 757; F10: 758; F11: 758; F12: 387; G9: 422; G10: 410; G11: 383; G12: 209; H9: 216; H10: 203; H11: 199; H12: 191
| 0:01 | 25 | A9: 7678; A10: 7772; A11: 7574; A12: 6980; B9: 6504; B10: 6047; B11: 6104; B12: 5037; C9: 3934; C10: 3894; C11: 3761; C12: 2704; D9: 2460; D10: 2488; D11: 2329; D12: 1412; E9: 1409; E10: 1394; E11: 1344; E12: 716; F9: 790; F10: 794; F11: 795; F12: 392; G9: 444; G10: 428; G11: 398; G12: 211; H9: 226; H10: 210; H11: 209; H12: 193
| 0:01 | 25 | A9: 7847; A10: 7965; A11: 7723; A12: 7017; B9: 6629; B10: 6187; B11: 6245; B12: 5054; C9: 4065; C10: 4006; C11: 3882; C12: 2711; D9: 2561; D10: 2583; D11: 2418; D12: 1423; E9: 1472; E10: 1457; E11: 1406; E12: 718; F9: 829; F10: 828; F11: 830; F12: 391; G9: 465; G10: 446; G11: 417; G12: 210; H9: 236; H10: 220; H11: 220; H12: 196
| 0:02 | 25 | A9: 7997; A10: 8117; A11: 7887; A12: 7060; B9: 6799; B10: 6302; B11: 6368; B12: 5090; C9: 4184; C10: 4126; C11: 4009; C12: 2718; D9: 2664; D10: 2680; D11: 2506; D12: 1434; E9: 1531; E10: 1518; E11: 1452; E12: 721; F9: 862; F10: 867; F11: 868; F12: 393; G9: 485; G10: 464; G11: 433; G12: 212; H9: 245; H10: 231; H11: 229; H12: 196
| 0:02 | 25 | A9: 8135; A10: 8324; A11: 8011; A12: 7088; B9: 6935; B10: 6460; B11: 6481; B12: 5091; C9: 4314; C10: 4243; C11: 4125; C12: 2735; D9: 2760; D10: 2785; D11: 2602; D12: 1439; E9: 1593; E10: 1570; E11: 1520; E12: 721; F9: 899; F10: 906; F11: 909; F12: 395; G9: 504; G10: 486; G11: 450; G12: 214; H9: 255; H10: 240; H11: 236; H12: 200
| 0:02 | 25 | A9: 8285; A10: 8501; A11: 8148; A12: 7138; B9: 7081; B10: 6591; B11: 6653; B12: 5111; C9: 4435; C10: 4368; C11: 4231; C12: 2748; D9: 2856; D10: 2890; D11: 2699; D12: 1448; E9: 1643; E10: 1636; E11: 1570; E12: 725; F9: 931; F10: 939; F11: 942; F12: 399; G9: 523; G10: 506; G11: 467; G12: 213; H9: 266; H10: 248; H11: 247; H12: 197
| 0:02 | 25 | A9: 8416; A10: 8690; A11: 8313; A12: 7181; B9: 7228; B10: 6724; B11: 6763; B12: 5137; C9: 4560; C10: 4492; C11: 4364; C12: 2764; D9: 2941; D10: 2983; D11: 2783; D12: 1457; E9: 1700; E10: 1696; E11: 1627; E12: 727; F9: 962; F10: 975; F11: 981; F12: 398; G9: 539; G10: 524; G11: 482; G12: 214; H9: 275; H10: 257; H11: 255; H12: 180
| 0:02 | 25 | A9: 8597; A10: 8875; A11: 8514; A12: 7221; B9: 7393; B10: 6891; B11: 6900; B12: 5155; C9: 4697; C10: 4622; C11: 4477; C12: 2776; D9: 3039; D10: 3081; D11: 2862; D12: 1479; E9: 1766; E10: 1763; E11: 1681; E12: 729; F9: 1000; F10: 1010; F11: 1012; F12: 399; G9: 562; G10: 546; G11: 494; G12: 214; H9: 285; H10: 269; H11: 265; H12: 166
| 0:02 | 25 | A9: 8743; A10: 9089; A11: 8669; A12: 7242; B9: 7530; B10: 6995; B11: 7028; B12: 5184; C9: 4817; C10: 4747; C11: 4603; C12: 2781; D9: 3137; D10: 3193; D11: 2954; D12: 1474; E9: 1820; E10: 1817; E11: 1739; E12: 729; F9: 1028; F10: 1044; F11: 1053; F12: 401; G9: 579; G10: 559; G11: 513; G12: 213; H9: 294; H10: 278; H11: 277; H12: 176
| 0:02 | 25 | A9: 8902; A10: 9243; A11: 8822; A12: 7288; B9: 7659; B10: 7144; B11: 7179; B12: 5206; C9: 4964; C10: 4864; C11: 4718; C12: 2787; D9: 3238; D10: 3270; D11: 3037; D12: 1482; E9: 1881; E10: 1866; E11: 1789; E12: 735; F9: 1066; F10: 1075; F11: 1088; F12: 403; G9: 594; G10: 581; G11: 527; G12: 215; H9: 305; H10: 286; H11: 285; H12: 184
| 0:02 | 25 | A9: 9113; A10: 9435; A11: 9005; A12: 7321; B9: 7825; B10: 7277; B11: 7325; B12: 5228; C9: 5084; C10: 4969; C11: 4845; C12: 2818; D9: 3324; D10: 3360; D11: 3130; D12: 1490; E9: 1933; E10: 1920; E11: 1846; E12: 737; F9: 1098; F10: 1109; F11: 1124; F12: 404; G9: 613; G10: 596; G11: 544; G12: 218; H9: 312; H10: 292; H11: 293; H12: 185
| 0:03 | 25 | A9: 9259; A10: 9652; A11: 9173; A12: 7360; B9: 7972; B10: 7420; B11: 7464; B12: 5243; C9: 5213; C10: 5095; C11: 4964; C12: 2825; D9: 3414; D10: 3459; D11: 3219; D12: 1498; E9: 1986; E10: 1985; E11: 1903; E12: 742; F9: 1129; F10: 1141; F11: 1162; F12: 407; G9: 632; G10: 614; G11: 560; G12: 219; H9: 323; H10: 302; H11: 303; H12: 179
| 0:03 | 25 | A9: 9446; A10: 9874; A11: 9328; A12: 7389; B9: 8091; B10: 7568; B11: 7604; B12: 5260; C9: 5336; C10: 5217; C11: 5080; C12: 2828; D9: 3512; D10: 3560; D11: 3305; D12: 1507; E9: 2041; E10: 2042; E11: 1956; E12: 745; F9: 1163; F10: 1184; F11: 1193; F12: 405; G9: 652; G10: 635; G11: 574; G12: 217; H9: 332; H10: 312; H11: 310; H12: 180
| 0:03 | 25 | A9: 9623; A10: 10088; A11: 9533; A12: 7415; B9: 8240; B10: 7710; B11: 7759; B12: 5288; C9: 5460; C10: 5339; C11: 5192; C12: 2832; D9: 3613; D10: 3671; D11: 3394; D12: 1513; E9: 2101; E10: 2091; E11: 2007; E12: 747; F9: 1191; F10: 1208; F11: 1229; F12: 406; G9: 668; G10: 653; G11: 593; G12: 219; H9: 339; H10: 320; H11: 322; H12: 189
| 0:03 | 25 | A9: 9799; A10: 10252; A11: 9732; A12: 7454; B9: 8392; B10: 7853; B11: 7898; B12: 5317; C9: 5597; C10: 5461; C11: 5296; C12: 2863; D9: 3695; D10: 3741; D11: 3457; D12: 1528; E9: 2160; E10: 2151; E11: 2062; E12: 751; F9: 1226; F10: 1246; F11: 1262; F12: 409; G9: 687; G10: 669; G11: 605; G12: 221; H9: 349; H10: 329; H11: 329; H12: 196
| 0:03 | 25 | A9: 9999; A10: 10501; A11: 9911; A12: 7481; B9: 8532; B10: 8020; B11: 8025; B12: 5317; C9: 5720; C10: 5589; C11: 5431; C12: 2867; D9: 3782; D10: 3834; D11: 3557; D12: 1528; E9: 2216; E10: 2211; E11: 2115; E12: 752; F9: 1255; F10: 1282; F11: 1297; F12: 412; G9: 703; G10: 691; G11: 622; G12: 220; H9: 357; H10: 338; H11: 338; H12: 186
| 0:03 | 25 | A9: 10156; A10: 10695; A11: 10124; A12: 7533; B9: 8687; B10: 8175; B11: 8207; B12: 5333; C9: 5859; C10: 5704; C11: 5552; C12: 2883; D9: 3858; D10: 3940; D11: 3631; D12: 1541; E9: 2271; E10: 2266; E11: 2174; E12: 754; F9: 1290; F10: 1314; F11: 1329; F12: 415; G9: 716; G10: 708; G11: 636; G12: 223; H9: 365; H10: 348; H11: 348; H12: 191
| 0:03 | 25 | A9: 10371; A10: 10934; A11: 10227; A12: 7564; B9: 8826; B10: 8308; B11: 8342; B12: 5378; C9: 5974; C10: 5818; C11: 5658; C12: 2897; D9: 3967; D10: 4009; D11: 3724; D12: 1544; E9: 2321; E10: 2319; E11: 2223; E12: 760; F9: 1317; F10: 1342; F11: 1369; F12: 415; G9: 736; G10: 722; G11: 651; G12: 223; H9: 374; H10: 356; H11: 357; H12: 187
| 0:04 | 25 | A9: 10524; A10: 11122; A11: 10501; A12: 7602; B9: 8966; B10: 8482; B11: 8491; B12: 5384; C9: 6112; C10: 5948; C11: 5779; C12: 2921; D9: 4040; D10: 4109; D11: 3806; D12: 1553; E9: 2380; E10: 2375; E11: 2272; E12: 767; F9: 1348; F10: 1377; F11: 1404; F12: 418; G9: 752; G10: 741; G11: 668; G12: 223; H9: 384; H10: 365; H11: 369; H12: 186
| 0:04 | 25 | A9: 10729; A10: 11338; A11: 10703; A12: 7636; B9: 9114; B10: 8608; B11: 8650; B12: 5417; C9: 6221; C10: 6048; C11: 5908; C12: 2926; D9: 4143; D10: 4195; D11: 3896; D12: 1558; E9: 2432; E10: 2431; E11: 2329; E12: 771; F9: 1381; F10: 1410; F11: 1433; F12: 420; G9: 770; G10: 756; G11: 681; G12: 226; H9: 393; H10: 375; H11: 376; H12: 184
| 0:04 | 25 | A9: 10919; A10: 11562; A11: 10887; A12: 7663; B9: 9253; B10: 8754; B11: 8801; B12: 5448; C9: 6387; C10: 6167; C11: 6027; C12: 2932; D9: 4234; D10: 4294; D11: 3976; D12: 1562; E9: 2479; E10: 2480; E11: 2390; E12: 767; F9: 1411; F10: 1441; F11: 1468; F12: 425; G9: 788; G10: 774; G11: 698; G12: 223; H9: 402; H10: 380; H11: 385; H12: 187
| 0:04 | 25 | A9: 11152; A10: 11815; A11: 11066; A12: 7702; B9: 9426; B10: 8936; B11: 8956; B12: 5461; C9: 6480; C10: 6299; C11: 6150; C12: 2946; D9: 4329; D10: 4380; D11: 4059; D12: 1573; E9: 2543; E10: 2537; E11: 2439; E12: 773; F9: 1441; F10: 1470; F11: 1503; F12: 422; G9: 803; G10: 793; G11: 707; G12: 226; H9: 410; H10: 389; H11: 395; H12: 185
| 0:04 | 25 | A9: 11372; A10: 12021; A11: 11264; A12: 7755; B9: 9557; B10: 9088; B11: 9095; B12: 5478; C9: 6614; C10: 6429; C11: 6250; C12: 2965; D9: 4397; D10: 4474; D11: 4141; D12: 1581; E9: 2596; E10: 2590; E11: 2488; E12: 780; F9: 1474; F10: 1500; F11: 1528; F12: 425; G9: 825; G10: 809; G11: 724; G12: 227; H9: 416; H10: 399; H11: 401; H12: 178
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1589250 | 1706250 | 1548000 | 498750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.999 | 0.992 | 0.988 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:04 | 0:04 | 0:04 | 0:00 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:01 | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1152750 | 1159500 | 1153500 | 201750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.998 | 1 | 0.965 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:03 | 0:04 | 0:04 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:01 | 0:01 | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 986250 | 946500 | 924000 | 117000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 1 | 1 | 0.975 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | 0:02 | 0:04 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 761250 | 777750 | 693000 | 81000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1 | 1 | 0.999 | 0.925 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:02 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 474000 | 474750 | 465000 | 38250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1 | 1 | 0.999 | 0.975 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | 0:02 | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 280500 | 292500 | 298500 | 19500 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.997 | 1 | 0.977 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 162750 | 160500 | 144750 | 11250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1 | 1 | 1 | 0.84 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:01 | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 81000 | 79500 | 76500 | -60000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 1 | 0.999 | 0.999 | 0.765 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | 0:00 | 0:01 | Lagtime [365,445]