## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 241008_A1_FINAL_kinetics_100nM___phenylacetate_subst_25C_5min_40x_zn_144uMsubstLadder.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_LEFT_HALF_starting_a1.prt
Plate Number | Plate 1
Date | 2024-10-08
Time | 19:28
Reader Type: | Synergy Neo2
Reader Serial Number: | 23062123
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A1..H4
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A1: 5351; A2: 5076; A3: 4687; A4: 4239; B1: 4197; B2: 3952; B3: 3628; B4: 3070; C1: 2374; C2: 2225; C3: 2048; C4: 1621; D1: 1320; D2: 1203; D3: 1108; D4: 800; E1: 713; E2: 649; E3: 605; E4: 417; F1: 396; F2: 351; F3: 322; F4: 211; G1: 206; G2: 189; G3: 172; G4: 117; H1: 108; H2: 93; H3: 88; H4: 57
| 0:00 | 25 | A1: 5674; A2: 5418; A3: 4983; A4: 4279; B1: 4547; B2: 4275; B3: 3914; B4: 3083; C1: 2613; C2: 2465; C3: 2275; C4: 1628; D1: 1495; D2: 1383; D3: 1265; D4: 803; E1: 812; E2: 748; E3: 692; E4: 418; F1: 460; F2: 405; F3: 371; F4: 212; G1: 235; G2: 216; G3: 202; G4: 118; H1: 123; H2: 107; H3: 104; H4: 58
| 0:00 | 25 | A1: 6062; A2: 5750; A3: 5291; A4: 4304; B1: 4917; B2: 4588; B3: 4188; B4: 3100; C1: 2857; C2: 2689; C3: 2512; C4: 1635; D1: 1672; D2: 1550; D3: 1424; D4: 806; E1: 910; E2: 843; E3: 789; E4: 419; F1: 522; F2: 457; F3: 426; F4: 212; G1: 266; G2: 244; G3: 229; G4: 119; H1: 140; H2: 122; H3: 118; H4: 58
| 0:00 | 25 | A1: 6452; A2: 6084; A3: 5607; A4: 4331; B1: 5276; B2: 4886; B3: 4455; B4: 3117; C1: 3110; C2: 2906; C3: 2729; C4: 1647; D1: 1843; D2: 1701; D3: 1571; D4: 816; E1: 1002; E2: 938; E3: 879; E4: 423; F1: 576; F2: 510; F3: 477; F4: 215; G1: 295; G2: 274; G3: 259; G4: 120; H1: 155; H2: 137; H3: 131; H4: 58
| 0:01 | 25 | A1: 6776; A2: 6411; A3: 5947; A4: 4379; B1: 5651; B2: 5199; B3: 4718; B4: 3143; C1: 3352; C2: 3133; C3: 2953; C4: 1661; D1: 1992; D2: 1859; D3: 1723; D4: 822; E1: 1102; E2: 1027; E3: 965; E4: 427; F1: 632; F2: 562; F3: 525; F4: 217; G1: 321; G2: 300; G3: 285; G4: 120; H1: 169; H2: 151; H3: 147; H4: 59
| 0:01 | 25 | A1: 7146; A2: 6751; A3: 6268; A4: 4428; B1: 5988; B2: 5504; B3: 5002; B4: 3157; C1: 3584; C2: 3367; C3: 3180; C4: 1673; D1: 2141; D2: 2009; D3: 1881; D4: 821; E1: 1195; E2: 1118; E3: 1055; E4: 430; F1: 685; F2: 616; F3: 572; F4: 216; G1: 350; G2: 325; G3: 309; G4: 121; H1: 185; H2: 167; H3: 162; H4: 59
| 0:01 | 25 | A1: 7509; A2: 7124; A3: 6558; A4: 4452; B1: 6387; B2: 5819; B3: 5292; B4: 3191; C1: 3809; C2: 3603; C3: 3407; C4: 1683; D1: 2299; D2: 2170; D3: 2035; D4: 831; E1: 1286; E2: 1209; E3: 1142; E4: 432; F1: 742; F2: 665; F3: 625; F4: 217; G1: 378; G2: 353; G3: 336; G4: 122; H1: 199; H2: 179; H3: 176; H4: 59
| 0:01 | 25 | A1: 7884; A2: 7450; A3: 6926; A4: 4479; B1: 6762; B2: 6114; B3: 5569; B4: 3208; C1: 4046; C2: 3822; C3: 3626; C4: 1688; D1: 2469; D2: 2330; D3: 2170; D4: 837; E1: 1379; E2: 1300; E3: 1228; E4: 434; F1: 804; F2: 713; F3: 677; F4: 220; G1: 404; G2: 379; G3: 364; G4: 123; H1: 213; H2: 194; H3: 190; H4: 60
| 0:01 | 25 | A1: 8276; A2: 7855; A3: 7244; A4: 4505; B1: 7136; B2: 6430; B3: 5862; B4: 3227; C1: 4279; C2: 4050; C3: 3838; C4: 1703; D1: 2623; D2: 2488; D3: 2314; D4: 845; E1: 1476; E2: 1391; E3: 1305; E4: 438; F1: 859; F2: 765; F3: 724; F4: 221; G1: 433; G2: 406; G3: 390; G4: 124; H1: 230; H2: 209; H3: 202; H4: 60
| 0:01 | 25 | A1: 8657; A2: 8215; A3: 7599; A4: 4549; B1: 7515; B2: 6775; B3: 6136; B4: 3254; C1: 4505; C2: 4280; C3: 4055; C4: 1719; D1: 2793; D2: 2645; D3: 2464; D4: 849; E1: 1562; E2: 1475; E3: 1399; E4: 442; F1: 910; F2: 813; F3: 769; F4: 224; G1: 462; G2: 429; G3: 416; G4: 123; H1: 243; H2: 221; H3: 219; H4: 60
| 0:01 | 25 | A1: 9061; A2: 8576; A3: 7950; A4: 4594; B1: 7871; B2: 7080; B3: 6426; B4: 3272; C1: 4754; C2: 4493; C3: 4256; C4: 1728; D1: 2946; D2: 2792; D3: 2607; D4: 856; E1: 1659; E2: 1565; E3: 1482; E4: 444; F1: 969; F2: 863; F3: 818; F4: 225; G1: 488; G2: 459; G3: 439; G4: 126; H1: 257; H2: 237; H3: 231; H4: 61
| 0:02 | 25 | A1: 9433; A2: 8947; A3: 8311; A4: 4628; B1: 8232; B2: 7383; B3: 6712; B4: 3285; C1: 5005; C2: 4729; C3: 4467; C4: 1742; D1: 3107; D2: 2948; D3: 2753; D4: 865; E1: 1753; E2: 1652; E3: 1562; E4: 446; F1: 1017; F2: 913; F3: 866; F4: 226; G1: 514; G2: 485; G3: 469; G4: 125; H1: 273; H2: 251; H3: 244; H4: 61
| 0:02 | 25 | A1: 9833; A2: 9314; A3: 8642; A4: 4655; B1: 8620; B2: 7724; B3: 6977; B4: 3303; C1: 5221; C2: 4936; C3: 4680; C4: 1754; D1: 3271; D2: 3111; D3: 2909; D4: 870; E1: 1848; E2: 1737; E3: 1652; E4: 448; F1: 1074; F2: 961; F3: 911; F4: 228; G1: 540; G2: 511; G3: 491; G4: 128; H1: 287; H2: 264; H3: 256; H4: 61
| 0:02 | 25 | A1: 10273; A2: 9696; A3: 9006; A4: 4705; B1: 8961; B2: 8060; B3: 7268; B4: 3330; C1: 5457; C2: 5177; C3: 4908; C4: 1760; D1: 3442; D2: 3257; D3: 3037; D4: 869; E1: 1929; E2: 1825; E3: 1736; E4: 452; F1: 1127; F2: 1011; F3: 956; F4: 227; G1: 566; G2: 535; G3: 514; G4: 127; H1: 301; H2: 277; H3: 272; H4: 62
| 0:02 | 25 | A1: 10650; A2: 10083; A3: 9336; A4: 4739; B1: 9355; B2: 8386; B3: 7574; B4: 3364; C1: 5694; C2: 5391; C3: 5124; C4: 1772; D1: 3601; D2: 3404; D3: 3190; D4: 879; E1: 2029; E2: 1903; E3: 1809; E4: 456; F1: 1181; F2: 1059; F3: 1004; F4: 230; G1: 595; G2: 565; G3: 538; G4: 128; H1: 315; H2: 290; H3: 285; H4: 62
| 0:02 | 25 | A1: 11084; A2: 10468; A3: 9706; A4: 4772; B1: 9698; B2: 8708; B3: 7868; B4: 3379; C1: 5926; C2: 5610; C3: 5328; C4: 1781; D1: 3753; D2: 3542; D3: 3329; D4: 888; E1: 2111; E2: 1992; E3: 1899; E4: 457; F1: 1233; F2: 1108; F3: 1049; F4: 232; G1: 623; G2: 588; G3: 565; G4: 129; H1: 329; H2: 303; H3: 298; H4: 63
| 0:02 | 25 | A1: 11496; A2: 10873; A3: 10087; A4: 4814; B1: 10081; B2: 9039; B3: 8165; B4: 3394; C1: 6171; C2: 5825; C3: 5538; C4: 1801; D1: 3922; D2: 3695; D3: 3474; D4: 891; E1: 2200; E2: 2075; E3: 1978; E4: 458; F1: 1284; F2: 1155; F3: 1099; F4: 233; G1: 651; G2: 613; G3: 589; G4: 130; H1: 342; H2: 315; H3: 311; H4: 63
| 0:02 | 25 | A1: 11884; A2: 11272; A3: 10428; A4: 4861; B1: 10439; B2: 9338; B3: 8462; B4: 3417; C1: 6395; C2: 6059; C3: 5762; C4: 1809; D1: 4064; D2: 3850; D3: 3606; D4: 897; E1: 2289; E2: 2149; E3: 2055; E4: 464; F1: 1336; F2: 1202; F3: 1140; F4: 236; G1: 674; G2: 636; G3: 613; G4: 131; H1: 356; H2: 329; H3: 323; H4: 63
| 0:02 | 25 | A1: 12366; A2: 11662; A3: 10813; A4: 4894; B1: 10823; B2: 9677; B3: 8749; B4: 3440; C1: 6638; C2: 6273; C3: 5981; C4: 1822; D1: 4233; D2: 3985; D3: 3761; D4: 904; E1: 2385; E2: 2231; E3: 2141; E4: 467; F1: 1389; F2: 1247; F3: 1192; F4: 237; G1: 700; G2: 660; G3: 637; G4: 131; H1: 370; H2: 342; H3: 337; H4: 64
| 0:03 | 25 | A1: 12792; A2: 12077; A3: 11187; A4: 4928; B1: 11221; B2: 10034; B3: 9051; B4: 3463; C1: 6890; C2: 6494; C3: 6214; C4: 1834; D1: 4397; D2: 4136; D3: 3895; D4: 909; E1: 2479; E2: 2322; E3: 2225; E4: 467; F1: 1442; F2: 1295; F3: 1231; F4: 239; G1: 726; G2: 684; G3: 663; G4: 133; H1: 382; H2: 355; H3: 349; H4: 65
| 0:03 | 25 | A1: 13191; A2: 12490; A3: 11559; A4: 4955; B1: 11561; B2: 10355; B3: 9329; B4: 3492; C1: 7115; C2: 6719; C3: 6415; C4: 1843; D1: 4548; D2: 4283; D3: 4033; D4: 914; E1: 2553; E2: 2403; E3: 2296; E4: 473; F1: 1494; F2: 1336; F3: 1278; F4: 239; G1: 755; G2: 711; G3: 683; G4: 132; H1: 397; H2: 369; H3: 362; H4: 66
| 0:03 | 25 | A1: 13649; A2: 12885; A3: 11941; A4: 5001; B1: 11942; B2: 10668; B3: 9642; B4: 3510; C1: 7327; C2: 6944; C3: 6634; C4: 1857; D1: 4699; D2: 4424; D3: 4160; D4: 919; E1: 2648; E2: 2488; E3: 2385; E4: 473; F1: 1541; F2: 1385; F3: 1320; F4: 239; G1: 778; G2: 736; G3: 710; G4: 134; H1: 410; H2: 383; H3: 373; H4: 66
| 0:03 | 25 | A1: 14086; A2: 13332; A3: 12348; A4: 5045; B1: 12293; B2: 11000; B3: 9916; B4: 3524; C1: 7572; C2: 7153; C3: 6839; C4: 1868; D1: 4867; D2: 4576; D3: 4316; D4: 926; E1: 2731; E2: 2559; E3: 2459; E4: 480; F1: 1596; F2: 1433; F3: 1367; F4: 241; G1: 804; G2: 756; G3: 726; G4: 133; H1: 426; H2: 395; H3: 387; H4: 65
| 0:03 | 25 | A1: 14501; A2: 13728; A3: 12696; A4: 5080; B1: 12692; B2: 11352; B3: 10266; B4: 3557; C1: 7823; C2: 7398; C3: 7059; C4: 1883; D1: 5021; D2: 4710; D3: 4449; D4: 934; E1: 2815; E2: 2642; E3: 2538; E4: 482; F1: 1643; F2: 1474; F3: 1404; F4: 245; G1: 826; G2: 781; G3: 750; G4: 135; H1: 438; H2: 409; H3: 398; H4: 66
| 0:03 | 25 | A1: 14949; A2: 14157; A3: 13094; A4: 5111; B1: 13035; B2: 11687; B3: 10550; B4: 3585; C1: 8048; C2: 7590; C3: 7269; C4: 1895; D1: 5169; D2: 4856; D3: 4585; D4: 942; E1: 2913; E2: 2716; E3: 2613; E4: 484; F1: 1691; F2: 1517; F3: 1451; F4: 246; G1: 852; G2: 809; G3: 777; G4: 135; H1: 450; H2: 418; H3: 412; H4: 67
| 0:03 | 25 | A1: 15368; A2: 14565; A3: 13467; A4: 5151; B1: 13442; B2: 12003; B3: 10849; B4: 3605; C1: 8277; C2: 7827; C3: 7470; C4: 1910; D1: 5325; D2: 5000; D3: 4725; D4: 949; E1: 2991; E2: 2791; E3: 2693; E4: 488; F1: 1738; F2: 1567; F3: 1493; F4: 246; G1: 878; G2: 830; G3: 798; G4: 136; H1: 462; H2: 432; H3: 424; H4: 67
| 0:04 | 25 | A1: 15832; A2: 15006; A3: 13891; A4: 5204; B1: 13814; B2: 12365; B3: 11156; B4: 3612; C1: 8517; C2: 8037; C3: 7693; C4: 1918; D1: 5472; D2: 5134; D3: 4860; D4: 952; E1: 3077; E2: 2868; E3: 2772; E4: 488; F1: 1785; F2: 1608; F3: 1536; F4: 247; G1: 902; G2: 856; G3: 825; G4: 138; H1: 473; H2: 446; H3: 436; H4: 66
| 0:04 | 25 | A1: 16271; A2: 15402; A3: 14275; A4: 5235; B1: 14133; B2: 12643; B3: 11446; B4: 3640; C1: 8733; C2: 8241; C3: 7915; C4: 1933; D1: 5629; D2: 5258; D3: 5003; D4: 958; E1: 3163; E2: 2944; E3: 2841; E4: 492; F1: 1835; F2: 1648; F3: 1573; F4: 250; G1: 926; G2: 882; G3: 843; G4: 136; H1: 488; H2: 459; H3: 448; H4: 68
| 0:04 | 25 | A1: 16706; A2: 15832; A3: 14657; A4: 5276; B1: 14538; B2: 12997; B3: 11756; B4: 3666; C1: 8986; C2: 8470; C3: 8127; C4: 1940; D1: 5793; D2: 5411; D3: 5136; D4: 966; E1: 3244; E2: 3016; E3: 2915; E4: 492; F1: 1882; F2: 1700; F3: 1618; F4: 251; G1: 944; G2: 903; G3: 865; G4: 139; H1: 501; H2: 470; H3: 460; H4: 68
| 0:04 | 25 | A1: 17194; A2: 16238; A3: 15052; A4: 5306; B1: 14875; B2: 13331; B3: 12029; B4: 3680; C1: 9208; C2: 8670; C3: 8324; C4: 1950; D1: 5929; D2: 5552; D3: 5264; D4: 970; E1: 3329; E2: 3092; E3: 3000; E4: 498; F1: 1927; F2: 1744; F3: 1660; F4: 253; G1: 972; G2: 922; G3: 887; G4: 140; H1: 515; H2: 481; H3: 471; H4: 68
| 0:04 | 25 | A1: 17609; A2: 16683; A3: 15439; A4: 5344; B1: 15274; B2: 13685; B3: 12360; B4: 3718; C1: 9434; C2: 8920; C3: 8538; C4: 1965; D1: 6076; D2: 5683; D3: 5404; D4: 978; E1: 3406; E2: 3178; E3: 3059; E4: 497; F1: 1974; F2: 1779; F3: 1702; F4: 255; G1: 997; G2: 947; G3: 911; G4: 141; H1: 525; H2: 492; H3: 486; H4: 68
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3394500 | 3147750 | 2966250 | 310500 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 1 | 0.995 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:04 | 0:03 | 0:03 | 0:04 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | 2852250 | 2535750 | 2299500 | 189000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 0.999 | 0.984 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:01 | 0:03 | 0:03 | 0:04 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | 1839750 | 1726500 | 1698000 | 99750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 1 | 0.993 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:01 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:00 | ????? | 0:00 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | 1269000 | 1222500 | 1152000 | 57000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 0.999 | 1 | 0.999 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | 726000 | 709500 | 680250 | 27750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 1 | 1 | 1 | 0.938 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | 441000 | 395250 | 384000 | 15750 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 1 | 1 | 0.976 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | 217500 | 210000 | 212250 | 8250 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 1 | 0.999 | 0.917 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | 115500 | 111750 | 110250 | 6000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.999 | 1 | 0.999 | 0.941 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]