## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 250318_F11_1xZn_kinetics_100nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_MIDDLE_starting_a5.prt
Plate Number | Plate 1
Date | 2025-03-18
Time | 21:47
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A5..H8
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A5: 14719; A6: 14742; A7: 15462; A8: 14248; B5: 9675; B6: 8924; B7: 10800; B8: 8879; C5: 5670; C6: 6087; C7: 6402; C8: 4820; D5: 3020; D6: 3317; D7: 3484; D8: 2480; E5: 1576; E6: 1732; E7: 1908; E8: 1271; F5: 827; F6: 1025; F7: 1017; F8: 730; G5: 507; G6: 504; G7: 561; G8: 408; H5: 222; H6: 248; H7: 283; H8: 187
| 0:00 | 25 | A5: 15014; A6: 15300; A7: 15925; A8: 14236; B5: 10125; B6: 8962; B7: 11400; B8: 8938; C5: 6070; C6: 6556; C7: 6889; C8: 4801; D5: 3277; D6: 3592; D7: 3741; D8: 2484; E5: 1726; E6: 1881; E7: 2074; E8: 1274; F5: 912; F6: 1109; F7: 1108; F8: 730; G5: 562; G6: 555; G7: 608; G8: 412; H5: 243; H6: 274; H7: 310; H8: 184
| 0:00 | 25 | A5: 15326; A6: 15823; A7: 16326; A8: 14269; B5: 10692; B6: 9001; B7: 11905; B8: 8913; C5: 6496; C6: 6928; C7: 7302; C8: 4830; D5: 3575; D6: 3876; D7: 4044; D8: 2492; E5: 1891; E6: 2040; E7: 2227; E8: 1286; F5: 1000; F6: 1205; F7: 1181; F8: 733; G5: 610; G6: 603; G7: 651; G8: 408; H5: 269; H6: 302; H7: 333; H8: 184
| 0:00 | 25 | A5: 15684; A6: 16073; A7: 16729; A8: 14278; B5: 11212; B6: 9022; B7: 12492; B8: 8946; C5: 6864; C6: 7427; C7: 7713; C8: 4848; D5: 3855; D6: 4153; D7: 4283; D8: 2492; E5: 2057; E6: 2202; E7: 2383; E8: 1277; F5: 1089; F6: 1294; F7: 1273; F8: 740; G5: 666; G6: 648; G7: 698; G8: 408; H5: 289; H6: 323; H7: 354; H8: 187
| 0:01 | 25 | A5: 16061; A6: 16477; A7: 17060; A8: 14325; B5: 11706; B6: 9129; B7: 13040; B8: 8934; C5: 7333; C6: 7814; C7: 8137; C8: 4826; D5: 4116; D6: 4445; D7: 4572; D8: 2489; E5: 2225; E6: 2347; E7: 2529; E8: 1283; F5: 1170; F6: 1391; F7: 1363; F8: 737; G5: 725; G6: 696; G7: 745; G8: 410; H5: 312; H6: 349; H7: 378; H8: 186
| 0:01 | 25 | A5: 16394; A6: 17094; A7: 17450; A8: 14298; B5: 12231; B6: 9151; B7: 13557; B8: 8968; C5: 7742; C6: 8260; C7: 8526; C8: 4853; D5: 4391; D6: 4715; D7: 4822; D8: 2497; E5: 2372; E6: 2509; E7: 2679; E8: 1281; F5: 1265; F6: 1470; F7: 1430; F8: 732; G5: 771; G6: 748; G7: 781; G8: 407; H5: 333; H6: 365; H7: 402; H8: 186
| 0:01 | 25 | A5: 16774; A6: 17788; A7: 18007; A8: 14356; B5: 12747; B6: 9146; B7: 14135; B8: 8996; C5: 8129; C6: 8691; C7: 8944; C8: 4852; D5: 4664; D6: 4973; D7: 5092; D8: 2511; E5: 2519; E6: 2658; E7: 2800; E8: 1290; F5: 1336; F6: 1541; F7: 1519; F8: 730; G5: 829; G6: 798; G7: 830; G8: 412; H5: 358; H6: 389; H7: 421; H8: 186
| 0:01 | 25 | A5: 17092; A6: 17709; A7: 18393; A8: 14326; B5: 13225; B6: 9260; B7: 14590; B8: 8976; C5: 8555; C6: 9124; C7: 9359; C8: 4850; D5: 4921; D6: 5273; D7: 5347; D8: 2520; E5: 2686; E6: 2785; E7: 2940; E8: 1281; F5: 1430; F6: 1632; F7: 1591; F8: 736; G5: 873; G6: 831; G7: 869; G8: 413; H5: 382; H6: 413; H7: 441; H8: 186
| 0:01 | 25 | A5: 17426; A6: 18360; A7: 18770; A8: 14295; B5: 13754; B6: 9298; B7: 15179; B8: 9013; C5: 8972; C6: 9514; C7: 9811; C8: 4852; D5: 5187; D6: 5496; D7: 5601; D8: 2507; E5: 2831; E6: 2957; E7: 3089; E8: 1294; F5: 1514; F6: 1706; F7: 1676; F8: 734; G5: 929; G6: 874; G7: 920; G8: 413; H5: 398; H6: 437; H7: 467; H8: 186
| 0:01 | 25 | A5: 17752; A6: 18876; A7: 19231; A8: 14422; B5: 14271; B6: 9347; B7: 15645; B8: 9016; C5: 9389; C6: 9952; C7: 10144; C8: 4874; D5: 5436; D6: 5716; D7: 5834; D8: 2514; E5: 2996; E6: 3086; E7: 3213; E8: 1281; F5: 1594; F6: 1780; F7: 1740; F8: 731; G5: 969; G6: 918; G7: 957; G8: 413; H5: 423; H6: 453; H7: 486; H8: 184
| 0:01 | 25 | A5: 18127; A6: 18999; A7: 19767; A8: 14421; B5: 14729; B6: 9342; B7: 16251; B8: 9039; C5: 9764; C6: 10328; C7: 10570; C8: 4888; D5: 5677; D6: 6017; D7: 6115; D8: 2527; E5: 3130; E6: 3200; E7: 3350; E8: 1282; F5: 1663; F6: 1859; F7: 1816; F8: 737; G5: 1015; G6: 961; G7: 998; G8: 411; H5: 442; H6: 472; H7: 506; H8: 185
| 0:02 | 25 | A5: 18363; A6: 19254; A7: 20068; A8: 14512; B5: 15295; B6: 9378; B7: 16802; B8: 9064; C5: 10164; C6: 10780; C7: 11014; C8: 4892; D5: 5908; D6: 6267; D7: 6348; D8: 2522; E5: 3280; E6: 3355; E7: 3502; E8: 1297; F5: 1751; F6: 1916; F7: 1886; F8: 732; G5: 1061; G6: 1008; G7: 1042; G8: 417; H5: 467; H6: 497; H7: 527; H8: 188
| 0:02 | 25 | A5: 18789; A6: 19592; A7: 20572; A8: 14519; B5: 15777; B6: 9450; B7: 17285; B8: 9064; C5: 10542; C6: 11143; C7: 11403; C8: 4898; D5: 6169; D6: 6512; D7: 6613; D8: 2538; E5: 3416; E6: 3532; E7: 3625; E8: 1293; F5: 1824; F6: 1997; F7: 1965; F8: 739; G5: 1107; G6: 1054; G7: 1080; G8: 415; H5: 485; H6: 519; H7: 546; H8: 187
| 0:02 | 25 | A5: 19097; A6: 19955; A7: 21002; A8: 14551; B5: 16269; B6: 9471; B7: 17883; B8: 9049; C5: 10956; C6: 11535; C7: 11823; C8: 4897; D5: 6409; D6: 6785; D7: 6848; D8: 2548; E5: 3564; E6: 3645; E7: 3755; E8: 1302; F5: 1895; F6: 2066; F7: 2038; F8: 738; G5: 1154; G6: 1088; G7: 1109; G8: 415; H5: 503; H6: 535; H7: 566; H8: 186
| 0:02 | 25 | A5: 19507; A6: 20282; A7: 21403; A8: 14642; B5: 16679; B6: 9501; B7: 18436; B8: 9090; C5: 11280; C6: 11990; C7: 12157; C8: 4943; D5: 6652; D6: 7045; D7: 7050; D8: 2560; E5: 3697; E6: 3778; E7: 3874; E8: 1295; F5: 1968; F6: 2130; F7: 2111; F8: 739; G5: 1203; G6: 1127; G7: 1156; G8: 417; H5: 526; H6: 557; H7: 587; H8: 188
| 0:02 | 25 | A5: 19805; A6: 20690; A7: 21832; A8: 14704; B5: 17182; B6: 9544; B7: 18956; B8: 9159; C5: 11726; C6: 12341; C7: 12576; C8: 4915; D5: 6891; D6: 7277; D7: 7310; D8: 2572; E5: 3838; E6: 3923; E7: 4007; E8: 1307; F5: 2047; F6: 2219; F7: 2180; F8: 743; G5: 1238; G6: 1161; G7: 1184; G8: 418; H5: 543; H6: 577; H7: 603; H8: 189
| 0:02 | 25 | A5: 20088; A6: 20967; A7: 22211; A8: 14768; B5: 17656; B6: 9574; B7: 19406; B8: 9115; C5: 12086; C6: 12732; C7: 12954; C8: 4943; D5: 7153; D6: 7543; D7: 7546; D8: 2558; E5: 3973; E6: 4026; E7: 4152; E8: 1308; F5: 2121; F6: 2266; F7: 2267; F8: 737; G5: 1285; G6: 1200; G7: 1223; G8: 415; H5: 567; H6: 595; H7: 621; H8: 187
| 0:02 | 25 | A5: 20572; A6: 21426; A7: 22664; A8: 14759; B5: 18198; B6: 9592; B7: 19906; B8: 9086; C5: 12457; C6: 13129; C7: 13359; C8: 4957; D5: 7366; D6: 7763; D7: 7714; D8: 2585; E5: 4079; E6: 4166; E7: 4279; E8: 1321; F5: 2191; F6: 2354; F7: 2304; F8: 744; G5: 1321; G6: 1240; G7: 1268; G8: 420; H5: 590; H6: 616; H7: 639; H8: 190
| 0:02 | 25 | A5: 20772; A6: 21515; A7: 23013; A8: 14794; B5: 18642; B6: 9564; B7: 20495; B8: 9133; C5: 12839; C6: 13488; C7: 13679; C8: 4942; D5: 7598; D6: 8026; D7: 7958; D8: 2570; E5: 4235; E6: 4300; E7: 4390; E8: 1314; F5: 2260; F6: 2429; F7: 2388; F8: 739; G5: 1362; G6: 1272; G7: 1292; G8: 420; H5: 603; H6: 630; H7: 661; H8: 189
| 0:03 | 25 | A5: 21098; A6: 22026; A7: 23313; A8: 14762; B5: 19106; B6: 9586; B7: 20918; B8: 9194; C5: 13168; C6: 13842; C7: 13981; C8: 4942; D5: 7871; D6: 8243; D7: 8184; D8: 2584; E5: 4360; E6: 4425; E7: 4497; E8: 1323; F5: 2330; F6: 2454; F7: 2445; F8: 742; G5: 1395; G6: 1308; G7: 1341; G8: 418; H5: 622; H6: 653; H7: 678; H8: 190
| 0:03 | 25 | A5: 21510; A6: 22228; A7: 23795; A8: 14858; B5: 19558; B6: 9637; B7: 21410; B8: 9140; C5: 13562; C6: 14287; C7: 14338; C8: 4945; D5: 8071; D6: 8422; D7: 8404; D8: 2587; E5: 4494; E6: 4569; E7: 4594; E8: 1325; F5: 2394; F6: 2525; F7: 2521; F8: 744; G5: 1432; G6: 1339; G7: 1363; G8: 418; H5: 642; H6: 666; H7: 691; H8: 189
| 0:03 | 25 | A5: 21947; A6: 22843; A7: 24169; A8: 14940; B5: 20066; B6: 9591; B7: 21808; B8: 9136; C5: 13890; C6: 14607; C7: 14786; C8: 4961; D5: 8329; D6: 8672; D7: 8589; D8: 2583; E5: 4603; E6: 4653; E7: 4740; E8: 1321; F5: 2458; F6: 2588; F7: 2575; F8: 740; G5: 1481; G6: 1369; G7: 1400; G8: 424; H5: 663; H6: 684; H7: 713; H8: 191
| 0:03 | 25 | A5: 22215; A6: 22769; A7: 24401; A8: 14933; B5: 20447; B6: 9692; B7: 22331; B8: 9213; C5: 14205; C6: 14953; C7: 15085; C8: 4951; D5: 8559; D6: 8872; D7: 8801; D8: 2595; E5: 4721; E6: 4817; E7: 4858; E8: 1327; F5: 2535; F6: 2659; F7: 2641; F8: 745; G5: 1510; G6: 1403; G7: 1427; G8: 420; H5: 674; H6: 703; H7: 734; H8: 190
| 0:03 | 25 | A5: 22645; A6: 23300; A7: 24983; A8: 14877; B5: 20999; B6: 9688; B7: 22853; B8: 9192; C5: 14558; C6: 15290; C7: 15304; C8: 4966; D5: 8738; D6: 9138; D7: 9023; D8: 2606; E5: 4847; E6: 4892; E7: 4977; E8: 1337; F5: 2576; F6: 2717; F7: 2706; F8: 741; G5: 1546; G6: 1446; G7: 1462; G8: 421; H5: 694; H6: 720; H7: 742; H8: 189
| 0:03 | 25 | A5: 22848; A6: 23463; A7: 25357; A8: 14952; B5: 21403; B6: 9757; B7: 23338; B8: 9242; C5: 14878; C6: 15636; C7: 15748; C8: 4989; D5: 8964; D6: 9389; D7: 9231; D8: 2601; E5: 4942; E6: 5022; E7: 5074; E8: 1328; F5: 2645; F6: 2764; F7: 2754; F8: 741; G5: 1591; G6: 1473; G7: 1497; G8: 423; H5: 710; H6: 735; H7: 758; H8: 190
| 0:03 | 25 | A5: 23149; A6: 24008; A7: 25577; A8: 15003; B5: 21776; B6: 9715; B7: 23853; B8: 9185; C5: 15331; C6: 15966; C7: 16085; C8: 4993; D5: 9210; D6: 9544; D7: 9414; D8: 2605; E5: 5079; E6: 5145; E7: 5209; E8: 1323; F5: 2725; F6: 2834; F7: 2815; F8: 743; G5: 1628; G6: 1501; G7: 1524; G8: 425; H5: 725; H6: 750; H7: 777; H8: 193
| 0:04 | 25 | A5: 23550; A6: 24190; A7: 25965; A8: 14949; B5: 22356; B6: 9705; B7: 24202; B8: 9238; C5: 15550; C6: 16385; C7: 16426; C8: 5019; D5: 9392; D6: 9719; D7: 9653; D8: 2614; E5: 5184; E6: 5237; E7: 5329; E8: 1338; F5: 2777; F6: 2906; F7: 2881; F8: 739; G5: 1660; G6: 1533; G7: 1546; G8: 423; H5: 737; H6: 768; H7: 790; H8: 191
| 0:04 | 25 | A5: 23885; A6: 24422; A7: 26354; A8: 14947; B5: 22714; B6: 9754; B7: 24647; B8: 9289; C5: 15879; C6: 16694; C7: 16728; C8: 5025; D5: 9612; D6: 9932; D7: 9809; D8: 2608; E5: 5320; E6: 5346; E7: 5417; E8: 1342; F5: 2825; F6: 2949; F7: 2954; F8: 744; G5: 1693; G6: 1564; G7: 1587; G8: 423; H5: 756; H6: 784; H7: 806; H8: 189
| 0:04 | 25 | A5: 24251; A6: 24592; A7: 26568; A8: 14912; B5: 23139; B6: 9737; B7: 25028; B8: 9264; C5: 16227; C6: 16920; C7: 17116; C8: 5018; D5: 9840; D6: 10162; D7: 9980; D8: 2608; E5: 5393; E6: 5467; E7: 5536; E8: 1344; F5: 2884; F6: 3006; F7: 2995; F8: 745; G5: 1734; G6: 1603; G7: 1617; G8: 420; H5: 778; H6: 795; H7: 826; H8: 190
| 0:04 | 25 | A5: 24485; A6: 25343; A7: 27001; A8: 14995; B5: 23642; B6: 9756; B7: 25554; B8: 9289; C5: 16533; C6: 17317; C7: 17344; C8: 5028; D5: 10025; D6: 10353; D7: 10201; D8: 2623; E5: 5511; E6: 5588; E7: 5616; E8: 1341; F5: 2952; F6: 3087; F7: 3048; F8: 742; G5: 1767; G6: 1623; G7: 1640; G8: 421; H5: 787; H6: 811; H7: 837; H8: 193
| 0:04 | 25 | A5: 24853; A6: 25552; A7: 27251; A8: 14970; B5: 24019; B6: 9773; B7: 25973; B8: 9300; C5: 16884; C6: 17611; C7: 17664; C8: 5059; D5: 10202; D6: 10564; D7: 10413; D8: 2631; E5: 5626; E6: 5680; E7: 5734; E8: 1349; F5: 3000; F6: 3126; F7: 3103; F8: 748; G5: 1798; G6: 1660; G7: 1667; G8: 423; H5: 805; H6: 827; H7: 850; H8: 191
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | 2849250 | 3713250 | 3330750 | 488250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.995 | 0.965 | 0.994 | 0.986 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:01 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | 3919500 | 408000 | 4179000 | 195000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.926 | 0.999 | 0.795 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | 3135750 | 3269250 | 3220500 | 122250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.999 | 0.999 | 0.969 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | 2077500 | 2112750 | 2038500 | 91500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 1 | 0.999 | 0.995 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | 1221750 | 1172250 | 1163250 | 39750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 1 | 1 | 1 | 0.821 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | 657000 | 687750 | 642750 | 18000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 1 | 0.999 | 0.999 | 0.738 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | 407250 | 367500 | 343500 | 9750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.999 | 1 | 0.621 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | 174000 | 188250 | 175500 | 5250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.998 | 0.998 | 0.49 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]