## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 250327_F12_1xZn_kinetics_500nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_RIGHT_HALF_starting_a9.prt
Plate Number | Plate 1
Date | 2025-03-27
Time | 23:23
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A9..H12
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A9: 23531; A10: 23484; A11: 23082; A12: 23917; B9: 14245; B10: 14532; B11: 14497; B12: 14646; C9: 8102; C10: 8188; C11: 8270; C12: 8143; D9: 4429; D10: 4587; D11: 4673; D12: 4447; E9: 2201; E10: 2261; E11: 2277; E12: 2206; F9: 1149; F10: 1170; F11: 1203; F12: 1125; G9: 544; G10: 569; G11: 584; G12: 535; H9: 299; H10: 298; H11: 316; H12: 284
| 0:00 | 25 | A9: 23593; A10: 23620; A11: 23135; A12: 23905; B9: 14241; B10: 14558; B11: 14639; B12: 14646; C9: 8146; C10: 8314; C11: 8395; C12: 8168; D9: 4458; D10: 4679; D11: 4768; D12: 4431; E9: 2253; E10: 2298; E11: 2336; E12: 2205; F9: 1170; F10: 1196; F11: 1225; F12: 1133; G9: 562; G10: 585; G11: 601; G12: 533; H9: 305; H10: 302; H11: 327; H12: 288
| 0:00 | 25 | A9: 23704; A10: 23638; A11: 23214; A12: 23909; B9: 14354; B10: 14669; B11: 14777; B12: 14648; C9: 8259; C10: 8367; C11: 8484; C12: 8170; D9: 4552; D10: 4703; D11: 4838; D12: 4453; E9: 2295; E10: 2385; E11: 2381; E12: 2217; F9: 1205; F10: 1218; F11: 1260; F12: 1128; G9: 580; G10: 599; G11: 616; G12: 535; H9: 312; H10: 315; H11: 331; H12: 286
| 0:00 | 25 | A9: 23725; A10: 23702; A11: 23188; A12: 23732; B9: 14337; B10: 14722; B11: 14830; B12: 14638; C9: 8383; C10: 8444; C11: 8582; C12: 8156; D9: 4635; D10: 4765; D11: 4892; D12: 4475; E9: 2338; E10: 2408; E11: 2428; E12: 2234; F9: 1234; F10: 1247; F11: 1280; F12: 1129; G9: 599; G10: 614; G11: 632; G12: 533; H9: 324; H10: 318; H11: 340; H12: 282
| 0:01 | 25 | A9: 23891; A10: 23703; A11: 23261; A12: 23886; B9: 14564; B10: 14794; B11: 14897; B12: 14682; C9: 8469; C10: 8574; C11: 8648; C12: 8186; D9: 4697; D10: 4843; D11: 4994; D12: 4506; E9: 2373; E10: 2474; E11: 2470; E12: 2242; F9: 1256; F10: 1268; F11: 1309; F12: 1131; G9: 619; G10: 629; G11: 646; G12: 536; H9: 330; H10: 329; H11: 350; H12: 285
| 0:01 | 25 | A9: 23922; A10: 23717; A11: 23375; A12: 23771; B9: 14681; B10: 14930; B11: 15004; B12: 14655; C9: 8540; C10: 8659; C11: 8770; C12: 8190; D9: 4783; D10: 4908; D11: 5079; D12: 4488; E9: 2415; E10: 2501; E11: 2528; E12: 2249; F9: 1286; F10: 1295; F11: 1323; F12: 1132; G9: 628; G10: 638; G11: 660; G12: 540; H9: 340; H10: 337; H11: 355; H12: 288
| 0:01 | 25 | A9: 24066; A10: 23861; A11: 23619; A12: 23785; B9: 14733; B10: 15048; B11: 15105; B12: 14647; C9: 8638; C10: 8778; C11: 8866; C12: 8164; D9: 4830; D10: 4980; D11: 5161; D12: 4503; E9: 2462; E10: 2548; E11: 2556; E12: 2251; F9: 1313; F10: 1324; F11: 1340; F12: 1128; G9: 649; G10: 657; G11: 670; G12: 537; H9: 349; H10: 341; H11: 364; H12: 285
| 0:01 | 25 | A9: 24136; A10: 23870; A11: 23568; A12: 23825; B9: 14850; B10: 15095; B11: 15138; B12: 14678; C9: 8728; C10: 8835; C11: 8931; C12: 8200; D9: 4906; D10: 5034; D11: 5221; D12: 4476; E9: 2501; E10: 2596; E11: 2596; E12: 2236; F9: 1333; F10: 1346; F11: 1361; F12: 1137; G9: 666; G10: 669; G11: 680; G12: 540; H9: 357; H10: 350; H11: 370; H12: 288
| 0:01 | 25 | A9: 24150; A10: 24021; A11: 23690; A12: 23854; B9: 14921; B10: 15236; B11: 15267; B12: 14652; C9: 8813; C10: 8881; C11: 8994; C12: 8167; D9: 4952; D10: 5053; D11: 5289; D12: 4497; E9: 2548; E10: 2608; E11: 2633; E12: 2250; F9: 1355; F10: 1364; F11: 1384; F12: 1139; G9: 676; G10: 681; G11: 696; G12: 539; H9: 363; H10: 354; H11: 375; H12: 286
| 0:01 | 25 | A9: 24225; A10: 24096; A11: 23821; A12: 23926; B9: 15008; B10: 15253; B11: 15405; B12: 14693; C9: 8911; C10: 8935; C11: 9093; C12: 8195; D9: 5016; D10: 5131; D11: 5366; D12: 4488; E9: 2586; E10: 2652; E11: 2685; E12: 2255; F9: 1386; F10: 1395; F11: 1421; F12: 1136; G9: 694; G10: 692; G11: 703; G12: 540; H9: 373; H10: 360; H11: 380; H12: 287
| 0:01 | 25 | A9: 24313; A10: 24129; A11: 23849; A12: 23877; B9: 15091; B10: 15327; B11: 15412; B12: 14700; C9: 8997; C10: 9031; C11: 9220; C12: 8222; D9: 5110; D10: 5156; D11: 5417; D12: 4497; E9: 2627; E10: 2693; E11: 2718; E12: 2271; F9: 1408; F10: 1419; F11: 1428; F12: 1142; G9: 706; G10: 706; G11: 721; G12: 535; H9: 384; H10: 370; H11: 387; H12: 285
| 0:02 | 25 | A9: 24406; A10: 24266; A11: 23942; A12: 23962; B9: 15273; B10: 15453; B11: 15533; B12: 14701; C9: 9035; C10: 9128; C11: 9268; C12: 8186; D9: 5141; D10: 5245; D11: 5513; D12: 4515; E9: 2667; E10: 2729; E11: 2763; E12: 2263; F9: 1427; F10: 1434; F11: 1448; F12: 1146; G9: 729; G10: 720; G11: 729; G12: 539; H9: 387; H10: 376; H11: 396; H12: 285
| 0:02 | 25 | A9: 24448; A10: 24284; A11: 24058; A12: 23775; B9: 15250; B10: 15468; B11: 15631; B12: 14721; C9: 9174; C10: 9153; C11: 9313; C12: 8195; D9: 5211; D10: 5289; D11: 5567; D12: 4512; E9: 2697; E10: 2767; E11: 2799; E12: 2276; F9: 1460; F10: 1462; F11: 1467; F12: 1140; G9: 736; G10: 729; G11: 741; G12: 539; H9: 396; H10: 381; H11: 402; H12: 285
| 0:02 | 25 | A9: 24585; A10: 24379; A11: 24026; A12: 23860; B9: 15374; B10: 15488; B11: 15693; B12: 14744; C9: 9226; C10: 9267; C11: 9424; C12: 8214; D9: 5287; D10: 5341; D11: 5612; D12: 4531; E9: 2744; E10: 2825; E11: 2822; E12: 2257; F9: 1476; F10: 1489; F11: 1488; F12: 1135; G9: 750; G10: 745; G11: 751; G12: 541; H9: 407; H10: 384; H11: 405; H12: 289
| 0:02 | 25 | A9: 24603; A10: 24482; A11: 24060; A12: 23880; B9: 15498; B10: 15605; B11: 15762; B12: 14705; C9: 9366; C10: 9306; C11: 9493; C12: 8230; D9: 5341; D10: 5394; D11: 5694; D12: 4527; E9: 2778; E10: 2849; E11: 2863; E12: 2249; F9: 1497; F10: 1497; F11: 1506; F12: 1145; G9: 764; G10: 756; G11: 762; G12: 543; H9: 415; H10: 397; H11: 409; H12: 286
| 0:02 | 25 | A9: 24669; A10: 24664; A11: 24097; A12: 23881; B9: 15589; B10: 15709; B11: 15818; B12: 14734; C9: 9396; C10: 9462; C11: 9581; C12: 8217; D9: 5411; D10: 5467; D11: 5732; D12: 4533; E9: 2824; E10: 2867; E11: 2916; E12: 2276; F9: 1519; F10: 1517; F11: 1528; F12: 1148; G9: 776; G10: 766; G11: 773; G12: 541; H9: 420; H10: 396; H11: 417; H12: 290
| 0:02 | 25 | A9: 24825; A10: 24620; A11: 24160; A12: 24028; B9: 15627; B10: 15826; B11: 15966; B12: 14758; C9: 9508; C10: 9511; C11: 9629; C12: 8238; D9: 5452; D10: 5506; D11: 5826; D12: 4523; E9: 2841; E10: 2923; E11: 2940; E12: 2258; F9: 1550; F10: 1536; F11: 1535; F12: 1142; G9: 792; G10: 779; G11: 782; G12: 545; H9: 424; H10: 402; H11: 423; H12: 288
| 0:02 | 25 | A9: 24907; A10: 24627; A11: 24324; A12: 24092; B9: 15757; B10: 15836; B11: 15983; B12: 14835; C9: 9583; C10: 9571; C11: 9729; C12: 8289; D9: 5514; D10: 5556; D11: 5877; D12: 4541; E9: 2897; E10: 2963; E11: 2960; E12: 2272; F9: 1563; F10: 1558; F11: 1559; F12: 1147; G9: 800; G10: 792; G11: 798; G12: 545; H9: 431; H10: 411; H11: 427; H12: 289
| 0:02 | 25 | A9: 24954; A10: 24684; A11: 24311; A12: 24084; B9: 15737; B10: 15947; B11: 16056; B12: 14784; C9: 9647; C10: 9642; C11: 9807; C12: 8242; D9: 5578; D10: 5615; D11: 5932; D12: 4548; E9: 2913; E10: 2970; E11: 3012; E12: 2286; F9: 1580; F10: 1585; F11: 1567; F12: 1150; G9: 817; G10: 798; G11: 802; G12: 542; H9: 443; H10: 415; H11: 433; H12: 285
| 0:03 | 25 | A9: 25085; A10: 24807; A11: 24277; A12: 24059; B9: 15866; B10: 16089; B11: 16163; B12: 14760; C9: 9717; C10: 9737; C11: 9904; C12: 8207; D9: 5642; D10: 5679; D11: 5996; D12: 4507; E9: 2958; E10: 3013; E11: 3040; E12: 2284; F9: 1607; F10: 1603; F11: 1597; F12: 1143; G9: 833; G10: 809; G11: 808; G12: 548; H9: 451; H10: 422; H11: 439; H12: 288
| 0:03 | 25 | A9: 25126; A10: 24964; A11: 24338; A12: 24149; B9: 15952; B10: 16155; B11: 16273; B12: 14823; C9: 9859; C10: 9838; C11: 9940; C12: 8293; D9: 5694; D10: 5703; D11: 6071; D12: 4538; E9: 2982; E10: 3070; E11: 3091; E12: 2286; F9: 1625; F10: 1610; F11: 1617; F12: 1156; G9: 838; G10: 817; G11: 826; G12: 543; H9: 453; H10: 423; H11: 446; H12: 289
| 0:03 | 25 | A9: 25136; A10: 24949; A11: 24217; A12: 24075; B9: 15998; B10: 16211; B11: 16357; B12: 14826; C9: 9873; C10: 9887; C11: 10009; C12: 8245; D9: 5765; D10: 5761; D11: 6091; D12: 4561; E9: 3022; E10: 3092; E11: 3113; E12: 2275; F9: 1642; F10: 1628; F11: 1633; F12: 1146; G9: 854; G10: 832; G11: 831; G12: 545; H9: 466; H10: 428; H11: 450; H12: 288
| 0:03 | 25 | A9: 25225; A10: 25056; A11: 24307; A12: 23977; B9: 16123; B10: 16337; B11: 16428; B12: 14779; C9: 10011; C10: 9937; C11: 10085; C12: 8264; D9: 5814; D10: 5784; D11: 6174; D12: 4562; E9: 3064; E10: 3110; E11: 3149; E12: 2277; F9: 1666; F10: 1646; F11: 1642; F12: 1152; G9: 868; G10: 845; G11: 844; G12: 545; H9: 468; H10: 440; H11: 456; H12: 291
| 0:03 | 25 | A9: 25352; A10: 25111; A11: 24245; A12: 24083; B9: 16213; B10: 16380; B11: 16439; B12: 14821; C9: 10047; C10: 10009; C11: 10183; C12: 8236; D9: 5888; D10: 5845; D11: 6238; D12: 4562; E9: 3088; E10: 3140; E11: 3170; E12: 2288; F9: 1688; F10: 1664; F11: 1664; F12: 1145; G9: 883; G10: 856; G11: 843; G12: 549; H9: 475; H10: 441; H11: 460; H12: 288
| 0:03 | 25 | A9: 25444; A10: 25244; A11: 24414; A12: 24047; B9: 16285; B10: 16445; B11: 16562; B12: 14781; C9: 10148; C10: 10111; C11: 10261; C12: 8239; D9: 5930; D10: 5887; D11: 6270; D12: 4550; E9: 3125; E10: 3179; E11: 3201; E12: 2292; F9: 1705; F10: 1690; F11: 1671; F12: 1156; G9: 889; G10: 860; G11: 855; G12: 544; H9: 481; H10: 450; H11: 466; H12: 289
| 0:03 | 25 | A9: 25496; A10: 25340; A11: 24394; A12: 24100; B9: 16384; B10: 16564; B11: 16678; B12: 14805; C9: 10260; C10: 10198; C11: 10300; C12: 8289; D9: 5996; D10: 5961; D11: 6333; D12: 4577; E9: 3163; E10: 3234; E11: 3244; E12: 2304; F9: 1731; F10: 1707; F11: 1686; F12: 1155; G9: 904; G10: 871; G11: 866; G12: 545; H9: 487; H10: 454; H11: 470; H12: 290
| 0:04 | 25 | A9: 25632; A10: 25419; A11: 24543; A12: 24034; B9: 16398; B10: 16680; B11: 16813; B12: 14867; C9: 10272; C10: 10253; C11: 10440; C12: 8254; D9: 6052; D10: 5979; D11: 6404; D12: 4574; E9: 3189; E10: 3252; E11: 3275; E12: 2295; F9: 1753; F10: 1731; F11: 1708; F12: 1147; G9: 912; G10: 882; G11: 875; G12: 545; H9: 495; H10: 460; H11: 474; H12: 289
| 0:04 | 25 | A9: 25663; A10: 25412; A11: 24586; A12: 24074; B9: 16486; B10: 16794; B11: 16858; B12: 14794; C9: 10378; C10: 10295; C11: 10477; C12: 8273; D9: 6123; D10: 6047; D11: 6479; D12: 4571; E9: 3231; E10: 3279; E11: 3319; E12: 2287; F9: 1766; F10: 1740; F11: 1733; F12: 1155; G9: 926; G10: 888; G11: 883; G12: 546; H9: 500; H10: 464; H11: 479; H12: 291
| 0:04 | 25 | A9: 25782; A10: 25516; A11: 24618; A12: 24010; B9: 16628; B10: 16837; B11: 16949; B12: 14863; C9: 10471; C10: 10422; C11: 10562; C12: 8310; D9: 6171; D10: 6089; D11: 6538; D12: 4564; E9: 3262; E10: 3305; E11: 3346; E12: 2307; F9: 1784; F10: 1755; F11: 1737; F12: 1153; G9: 939; G10: 904; G11: 896; G12: 547; H9: 511; H10: 470; H11: 487; H12: 291
| 0:04 | 25 | A9: 25804; A10: 25679; A11: 24753; A12: 24066; B9: 16691; B10: 16890; B11: 17007; B12: 14889; C9: 10567; C10: 10520; C11: 10624; C12: 8298; D9: 6229; D10: 6141; D11: 6582; D12: 4589; E9: 3296; E10: 3360; E11: 3375; E12: 2319; F9: 1810; F10: 1769; F11: 1765; F12: 1157; G9: 944; G10: 911; G11: 900; G12: 550; H9: 514; H10: 473; H11: 492; H12: 293
| 0:04 | 25 | A9: 25924; A10: 25662; A11: 24873; A12: 24163; B9: 16741; B10: 16973; B11: 17074; B12: 14850; C9: 10566; C10: 10561; C11: 10718; C12: 8291; D9: 6242; D10: 6173; D11: 6623; D12: 4579; E9: 3326; E10: 3354; E11: 3415; E12: 2299; F9: 1831; F10: 1784; F11: 1774; F12: 1151; G9: 961; G10: 917; G11: 908; G12: 547; H9: 520; H10: 479; H11: 492; H12: 292
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 747750 | 745500 | 838500 | 464250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.966 | 0.922 | 0.886 | 0.859 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:02 | 0:01 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:02 | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 896250 | 797250 | 816750 | 194250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.941 | 0.991 | 0.981 | 0.681 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:03 | 0:03 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:02 | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 748500 | 777750 | 714000 | 118500 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.988 | 0.995 | 0.993 | 0.678 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:01 | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 596250 | 522750 | 624750 | 125250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.996 | 0.999 | 0.993 | 0.808 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:00 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 327000 | 402000 | 358500 | 84750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 0.976 | 0.996 | 0.972 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:00 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:00 | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 212250 | 195000 | 200250 | 20250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.995 | 0.997 | 0.994 | 0.668 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:01 | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 140250 | 111750 | 116250 | 13500 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.999 | 1 | 0.999 | 0.92 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:01 | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 67500 | 63000 | 60750 | 9000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.993 | 0.976 | 0.984 | 0.766 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | ????? | 0:02 | Lagtime [365,445]