## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 250327_F8_1xZn_kinetics_100nM___phenylacetate_subst_25C_5min_10x_zn_144uMsubstLadder.xpt
Protocol File Path: | 240830_kinetics_4mu_PA_MIDDLE_starting_a5.prt
Plate Number | Plate 1
Date | 2025-03-27
Time | 20:33
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A5..H8
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A5: 18160; A6: 17822; A7: 17423; A8: 18046; B5: 11150; B6: 11310; B7: 11343; B8: 11029; C5: 6285; C6: 6351; C7: 6401; C8: 5938; D5: 3288; D6: 3449; D7: 3472; D8: 3180; E5: 1739; E6: 1781; E7: 1727; E8: 1629; F5: 933; F6: 958; F7: 977; F8: 912; G5: 473; G6: 484; G7: 488; G8: 442; H5: 249; H6: 246; H7: 262; H8: 231
| 0:00 | 25 | A5: 18124; A6: 17936; A7: 17511; A8: 18166; B5: 11297; B6: 11463; B7: 11552; B8: 11029; C5: 6399; C6: 6489; C7: 6516; C8: 5935; D5: 3374; D6: 3544; D7: 3566; D8: 3188; E5: 1776; E6: 1829; E7: 1772; E8: 1631; F5: 952; F6: 991; F7: 1006; F8: 905; G5: 487; G6: 499; G7: 499; G8: 442; H5: 255; H6: 254; H7: 267; H8: 231
| 0:00 | 25 | A5: 18257; A6: 18108; A7: 17657; A8: 18123; B5: 11418; B6: 11698; B7: 11724; B8: 11056; C5: 6513; C6: 6629; C7: 6634; C8: 5964; D5: 3435; D6: 3622; D7: 3644; D8: 3207; E5: 1812; E6: 1891; E7: 1811; E8: 1640; F5: 991; F6: 1026; F7: 1032; F8: 903; G5: 497; G6: 516; G7: 514; G8: 445; H5: 264; H6: 263; H7: 275; H8: 234
| 0:00 | 25 | A5: 18448; A6: 18294; A7: 17838; A8: 18171; B5: 11541; B6: 11814; B7: 11855; B8: 11003; C5: 6681; C6: 6788; C7: 6746; C8: 6018; D5: 3524; D6: 3702; D7: 3748; D8: 3194; E5: 1868; E6: 1930; E7: 1857; E8: 1624; F5: 1010; F6: 1048; F7: 1054; F8: 907; G5: 507; G6: 525; G7: 528; G8: 444; H5: 273; H6: 269; H7: 282; H8: 232
| 0:01 | 25 | A5: 18594; A6: 18551; A7: 17984; A8: 18192; B5: 11773; B6: 12020; B7: 11983; B8: 11020; C5: 6816; C6: 6903; C7: 6898; C8: 5974; D5: 3601; D6: 3805; D7: 3839; D8: 3205; E5: 1912; E6: 1986; E7: 1904; E8: 1633; F5: 1033; F6: 1090; F7: 1082; F8: 906; G5: 522; G6: 542; G7: 545; G8: 446; H5: 278; H6: 276; H7: 288; H8: 233
| 0:01 | 25 | A5: 18690; A6: 18594; A7: 18105; A8: 18277; B5: 11951; B6: 12192; B7: 12165; B8: 11038; C5: 6958; C6: 7054; C7: 7008; C8: 5990; D5: 3679; D6: 3893; D7: 3927; D8: 3192; E5: 1950; E6: 2023; E7: 1949; E8: 1644; F5: 1057; F6: 1117; F7: 1105; F8: 905; G5: 537; G6: 553; G7: 556; G8: 449; H5: 284; H6: 285; H7: 295; H8: 233
| 0:01 | 25 | A5: 18875; A6: 18737; A7: 18289; A8: 18307; B5: 12110; B6: 12411; B7: 12346; B8: 11122; C5: 7075; C6: 7181; C7: 7122; C8: 6070; D5: 3754; D6: 3974; D7: 4005; D8: 3210; E5: 1994; E6: 2077; E7: 1997; E8: 1635; F5: 1083; F6: 1149; F7: 1130; F8: 906; G5: 547; G6: 567; G7: 571; G8: 446; H5: 293; H6: 293; H7: 304; H8: 231
| 0:01 | 25 | A5: 19056; A6: 18898; A7: 18512; A8: 18352; B5: 12287; B6: 12503; B7: 12506; B8: 11096; C5: 7213; C6: 7329; C7: 7243; C8: 6045; D5: 3844; D6: 4075; D7: 4087; D8: 3213; E5: 2046; E6: 2116; E7: 2045; E8: 1642; F5: 1107; F6: 1175; F7: 1151; F8: 903; G5: 562; G6: 580; G7: 580; G8: 447; H5: 301; H6: 295; H7: 309; H8: 232
| 0:01 | 25 | A5: 19210; A6: 19031; A7: 18628; A8: 18342; B5: 12480; B6: 12769; B7: 12680; B8: 11158; C5: 7329; C6: 7440; C7: 7400; C8: 6068; D5: 3920; D6: 4161; D7: 4167; D8: 3216; E5: 2080; E6: 2175; E7: 2095; E8: 1645; F5: 1135; F6: 1205; F7: 1174; F8: 910; G5: 574; G6: 593; G7: 597; G8: 445; H5: 302; H6: 301; H7: 316; H8: 235
| 0:01 | 25 | A5: 19304; A6: 19221; A7: 18730; A8: 18364; B5: 12647; B6: 12990; B7: 12816; B8: 11170; C5: 7443; C6: 7604; C7: 7504; C8: 6062; D5: 3992; D6: 4238; D7: 4274; D8: 3228; E5: 2132; E6: 2240; E7: 2142; E8: 1652; F5: 1164; F6: 1237; F7: 1203; F8: 905; G5: 588; G6: 606; G7: 606; G8: 447; H5: 313; H6: 314; H7: 322; H8: 236
| 0:01 | 25 | A5: 19373; A6: 19356; A7: 18913; A8: 18279; B5: 12787; B6: 13137; B7: 12941; B8: 11132; C5: 7585; C6: 7701; C7: 7617; C8: 6094; D5: 4068; D6: 4321; D7: 4349; D8: 3225; E5: 2174; E6: 2288; E7: 2180; E8: 1647; F5: 1190; F6: 1271; F7: 1222; F8: 910; G5: 600; G6: 616; G7: 622; G8: 450; H5: 321; H6: 320; H7: 330; H8: 233
| 0:02 | 25 | A5: 19559; A6: 19588; A7: 19112; A8: 18402; B5: 12989; B6: 13364; B7: 13144; B8: 11192; C5: 7720; C6: 7877; C7: 7755; C8: 6114; D5: 4169; D6: 4409; D7: 4433; D8: 3240; E5: 2208; E6: 2330; E7: 2222; E8: 1640; F5: 1201; F6: 1294; F7: 1249; F8: 911; G5: 615; G6: 632; G7: 632; G8: 447; H5: 326; H6: 327; H7: 332; H8: 234
| 0:02 | 25 | A5: 19739; A6: 19730; A7: 19177; A8: 18401; B5: 13172; B6: 13595; B7: 13253; B8: 11192; C5: 7843; C6: 7972; C7: 7904; C8: 6113; D5: 4254; D6: 4499; D7: 4532; D8: 3240; E5: 2277; E6: 2389; E7: 2266; E8: 1649; F5: 1230; F6: 1324; F7: 1273; F8: 913; G5: 631; G6: 640; G7: 645; G8: 451; H5: 333; H6: 337; H7: 341; H8: 234
| 0:02 | 25 | A5: 19960; A6: 19911; A7: 19364; A8: 18424; B5: 13343; B6: 13713; B7: 13487; B8: 11230; C5: 7950; C6: 8106; C7: 8009; C8: 6106; D5: 4315; D6: 4588; D7: 4624; D8: 3234; E5: 2311; E6: 2437; E7: 2305; E8: 1646; F5: 1250; F6: 1352; F7: 1300; F8: 912; G5: 642; G6: 659; G7: 661; G8: 448; H5: 341; H6: 341; H7: 345; H8: 234
| 0:02 | 25 | A5: 20104; A6: 19971; A7: 19526; A8: 18431; B5: 13475; B6: 13900; B7: 13628; B8: 11217; C5: 8039; C6: 8250; C7: 8114; C8: 6122; D5: 4403; D6: 4655; D7: 4702; D8: 3246; E5: 2349; E6: 2472; E7: 2360; E8: 1643; F5: 1285; F6: 1380; F7: 1316; F8: 919; G5: 651; G6: 673; G7: 670; G8: 450; H5: 348; H6: 350; H7: 352; H8: 235
| 0:02 | 25 | A5: 20204; A6: 20165; A7: 19681; A8: 18442; B5: 13697; B6: 14122; B7: 13794; B8: 11216; C5: 8212; C6: 8361; C7: 8270; C8: 6147; D5: 4509; D6: 4759; D7: 4782; D8: 3242; E5: 2394; E6: 2523; E7: 2398; E8: 1644; F5: 1302; F6: 1409; F7: 1349; F8: 911; G5: 665; G6: 682; G7: 680; G8: 450; H5: 353; H6: 355; H7: 361; H8: 232
| 0:02 | 25 | A5: 20460; A6: 20301; A7: 19770; A8: 18445; B5: 13812; B6: 14298; B7: 13955; B8: 11213; C5: 8319; C6: 8543; C7: 8389; C8: 6155; D5: 4585; D6: 4813; D7: 4854; D8: 3263; E5: 2435; E6: 2564; E7: 2432; E8: 1655; F5: 1323; F6: 1436; F7: 1363; F8: 916; G5: 674; G6: 695; G7: 694; G8: 453; H5: 357; H6: 362; H7: 364; H8: 232
| 0:02 | 25 | A5: 20499; A6: 20463; A7: 20015; A8: 18483; B5: 13981; B6: 14467; B7: 14084; B8: 11272; C5: 8436; C6: 8662; C7: 8450; C8: 6172; D5: 4659; D6: 4910; D7: 4975; D8: 3259; E5: 2479; E6: 2626; E7: 2470; E8: 1656; F5: 1345; F6: 1464; F7: 1389; F8: 917; G5: 688; G6: 711; G7: 711; G8: 450; H5: 363; H6: 372; H7: 374; H8: 234
| 0:02 | 25 | A5: 20677; A6: 20595; A7: 20205; A8: 18479; B5: 14168; B6: 14617; B7: 14315; B8: 11280; C5: 8540; C6: 8769; C7: 8649; C8: 6173; D5: 4733; D6: 4999; D7: 5041; D8: 3254; E5: 2523; E6: 2688; E7: 2522; E8: 1653; F5: 1380; F6: 1491; F7: 1413; F8: 915; G5: 699; G6: 718; G7: 717; G8: 447; H5: 374; H6: 375; H7: 377; H8: 231
| 0:03 | 25 | A5: 20855; A6: 20764; A7: 20316; A8: 18545; B5: 14316; B6: 14813; B7: 14453; B8: 11323; C5: 8743; C6: 8924; C7: 8736; C8: 6223; D5: 4834; D6: 5099; D7: 5121; D8: 3261; E5: 2569; E6: 2730; E7: 2583; E8: 1656; F5: 1393; F6: 1526; F7: 1437; F8: 914; G5: 714; G6: 738; G7: 738; G8: 450; H5: 382; H6: 385; H7: 388; H8: 233
| 0:03 | 25 | A5: 21009; A6: 20908; A7: 20510; A8: 18565; B5: 14487; B6: 14931; B7: 14609; B8: 11359; C5: 8800; C6: 9051; C7: 8882; C8: 6186; D5: 4915; D6: 5124; D7: 5225; D8: 3260; E5: 2617; E6: 2772; E7: 2613; E8: 1664; F5: 1417; F6: 1552; F7: 1455; F8: 915; G5: 724; G6: 740; G7: 742; G8: 454; H5: 384; H6: 392; H7: 392; H8: 237
| 0:03 | 25 | A5: 21122; A6: 21129; A7: 20612; A8: 18530; B5: 14708; B6: 15165; B7: 14732; B8: 11364; C5: 8953; C6: 9203; C7: 8966; C8: 6203; D5: 4990; D6: 5237; D7: 5321; D8: 3260; E5: 2670; E6: 2817; E7: 2647; E8: 1648; F5: 1442; F6: 1575; F7: 1483; F8: 916; G5: 742; G6: 757; G7: 757; G8: 454; H5: 393; H6: 400; H7: 396; H8: 237
| 0:03 | 25 | A5: 21391; A6: 21307; A7: 20797; A8: 18535; B5: 14710; B6: 15306; B7: 14895; B8: 11423; C5: 9079; C6: 9358; C7: 9086; C8: 6255; D5: 5083; D6: 5312; D7: 5404; D8: 3263; E5: 2709; E6: 2861; E7: 2697; E8: 1654; F5: 1462; F6: 1602; F7: 1503; F8: 921; G5: 745; G6: 769; G7: 774; G8: 453; H5: 399; H6: 406; H7: 405; H8: 234
| 0:03 | 25 | A5: 21523; A6: 21424; A7: 20911; A8: 18502; B5: 15009; B6: 15527; B7: 15055; B8: 11542; C5: 9227; C6: 9511; C7: 9253; C8: 6227; D5: 5134; D6: 5411; D7: 5484; D8: 3284; E5: 2753; E6: 2909; E7: 2737; E8: 1658; F5: 1479; F6: 1627; F7: 1536; F8: 921; G5: 761; G6: 781; G7: 778; G8: 455; H5: 403; H6: 412; H7: 409; H8: 234
| 0:03 | 25 | A5: 21639; A6: 21629; A7: 21215; A8: 18660; B5: 15140; B6: 15666; B7: 15261; B8: 11545; C5: 9326; C6: 9621; C7: 9349; C8: 6275; D5: 5220; D6: 5477; D7: 5545; D8: 3273; E5: 2792; E6: 2955; E7: 2777; E8: 1664; F5: 1512; F6: 1659; F7: 1548; F8: 923; G5: 771; G6: 794; G7: 795; G8: 454; H5: 409; H6: 420; H7: 414; H8: 236
| 0:03 | 25 | A5: 21756; A6: 21683; A7: 21254; A8: 18607; B5: 15221; B6: 15788; B7: 15412; B8: 11526; C5: 9424; C6: 9687; C7: 9484; C8: 6250; D5: 5297; D6: 5553; D7: 5636; D8: 3279; E5: 2825; E6: 3000; E7: 2820; E8: 1665; F5: 1534; F6: 1688; F7: 1579; F8: 924; G5: 793; G6: 810; G7: 804; G8: 453; H5: 418; H6: 431; H7: 423; H8: 236
| 0:04 | 25 | A5: 21869; A6: 21966; A7: 21470; A8: 18609; B5: 15471; B6: 16051; B7: 15623; B8: 11552; C5: 9585; C6: 9871; C7: 9614; C8: 6251; D5: 5385; D6: 5652; D7: 5735; D8: 3281; E5: 2873; E6: 3068; E7: 2861; E8: 1662; F5: 1554; F6: 1713; F7: 1597; F8: 922; G5: 803; G6: 815; G7: 819; G8: 453; H5: 425; H6: 435; H7: 426; H8: 238
| 0:04 | 25 | A5: 22090; A6: 22158; A7: 21595; A8: 18638; B5: 15671; B6: 16184; B7: 15739; B8: 11558; C5: 9677; C6: 9963; C7: 9687; C8: 6278; D5: 5455; D6: 5704; D7: 5825; D8: 3287; E5: 2931; E6: 3107; E7: 2902; E8: 1666; F5: 1577; F6: 1742; F7: 1620; F8: 915; G5: 813; G6: 832; G7: 829; G8: 455; H5: 429; H6: 437; H7: 433; H8: 236
| 0:04 | 25 | A5: 22212; A6: 22237; A7: 21764; A8: 18648; B5: 15758; B6: 16269; B7: 15936; B8: 11604; C5: 9808; C6: 10058; C7: 9810; C8: 6291; D5: 5525; D6: 5836; D7: 5927; D8: 3290; E5: 2969; E6: 3162; E7: 2938; E8: 1679; F5: 1600; F6: 1762; F7: 1646; F8: 926; G5: 822; G6: 844; G7: 838; G8: 455; H5: 439; H6: 445; H7: 443; H8: 239
| 0:04 | 25 | A5: 22416; A6: 22404; A7: 21876; A8: 18659; B5: 15873; B6: 16489; B7: 16137; B8: 11598; C5: 9928; C6: 10291; C7: 9951; C8: 6310; D5: 5610; D6: 5880; D7: 6013; D8: 3287; E5: 3007; E6: 3215; E7: 2997; E8: 1676; F5: 1617; F6: 1795; F7: 1664; F8: 925; G5: 827; G6: 861; G7: 851; G8: 456; H5: 442; H6: 458; H7: 446; H8: 236
| 0:04 | 25 | A5: 22600; A6: 22577; A7: 22113; A8: 18676; B5: 16099; B6: 16603; B7: 16253; B8: 11663; C5: 10042; C6: 10404; C7: 10100; C8: 6301; D5: 5705; D6: 5958; D7: 6057; D8: 3284; E5: 3052; E6: 3232; E7: 3034; E8: 1676; F5: 1641; F6: 1815; F7: 1690; F8: 928; G5: 844; G6: 868; G7: 864; G8: 455; H5: 454; H6: 457; H7: 452; H8: 237
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | 1397250 | 1362000 | 1335750 | 357750 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.997 | 0.98 | 0.985 | 0.968 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:02 | 0:00 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | 1371750 | 1567500 | 1359750 | 412500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.995 | 0.992 | 0.997 | 0.894 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:03 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | 1065750 | 1110750 | 974250 | 182250 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.998 | 0.999 | 0.995 | 0.738 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:03 | 0:03 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | 652500 | 686250 | 714750 | 58500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.995 | 0.998 | 1 | 0.899 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:02 | 0:01 | 0:04 | 0:01 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | 357000 | 409500 | 363000 | 33000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.994 | 1 | 0.964 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:01 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | 203250 | 240750 | 193500 | 16500 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.999 | 0.994 | 0.998 | 0.471 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | 0:00 | 0:00 | 0:04 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | ????? | ????? | 0:03 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | 111000 | 106500 | 108750 | 12000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.987 | 0.993 | 0.997 | 0.688 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:03 | 0:00 | 0:00 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:01 | ????? | 0:00 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | 57000 | 63750 | 53250 | 9000 | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0.991 | 0.983 | 0.995 | 0.529 | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:02 | ????? | ????? | ????? | ????? | Lagtime [365,445]