## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 240920_D11_OFFICIAL_kinetics_3uM___butyrate_subst_25C_4min_20uM_zn.xpt
Protocol File Path: | 240920_kinetics_4mu_PA_RIGHT_HALF_starting_a9.prt
Plate Number | Plate 1
Date | 2024-09-20
Time | 18:31
Reader Type: | Synergy Neo2
Reader Serial Number: | 23062123
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:08, 31 Reads
Read | Fluorescence Endpoint
A9..H12
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A9: 1996; A10: 1979; A11: 1912; A12: 1998; B9: 1006; B10: 999; B11: 1000; B12: 1015; C9: 505; C10: 503; C11: 498; C12: 498; D9: 261; D10: 258; D11: 259; D12: 260; E9: 133; E10: 134; E11: 135; E12: 135; F9: 70; F10: 72; F11: 73; F12: 74; G9: 39; G10: 39; G11: 39; G12: 40; H9: 21; H10: 34; H11: 21; H12: 21
| 0:00 | 25 | A9: 2019; A10: 2010; A11: 1946; A12: 2005; B9: 1014; B10: 1012; B11: 1011; B12: 1018; C9: 510; C10: 512; C11: 510; C12: 504; D9: 263; D10: 264; D11: 262; D12: 262; E9: 135; E10: 138; E11: 139; E12: 134; F9: 71; F10: 73; F11: 74; F12: 74; G9: 38; G10: 38; G11: 39; G12: 40; H9: 21; H10: 30; H11: 22; H12: 20
| 0:00 | 25 | A9: 2038; A10: 2027; A11: 1982; A12: 2017; B9: 1028; B10: 1024; B11: 1029; B12: 1023; C9: 518; C10: 517; C11: 513; C12: 502; D9: 267; D10: 266; D11: 267; D12: 264; E9: 137; E10: 139; E11: 141; E12: 135; F9: 72; F10: 74; F11: 75; F12: 74; G9: 39; G10: 38; G11: 40; G12: 39; H9: 22; H10: 30; H11: 22; H12: 21
| 0:00 | 25.1 | A9: 2072; A10: 2050; A11: 2017; A12: 2025; B9: 1039; B10: 1040; B11: 1038; B12: 1023; C9: 524; C10: 524; C11: 523; C12: 500; D9: 270; D10: 274; D11: 270; D12: 262; E9: 140; E10: 141; E11: 142; E12: 136; F9: 73; F10: 75; F11: 76; F12: 74; G9: 40; G10: 40; G11: 40; G12: 40; H9: 22; H10: 30; H11: 22; H12: 21
| 0:01 | 25 | A9: 2094; A10: 2084; A11: 2064; A12: 2026; B9: 1056; B10: 1056; B11: 1057; B12: 1028; C9: 529; C10: 530; C11: 532; C12: 506; D9: 273; D10: 277; D11: 272; D12: 264; E9: 141; E10: 142; E11: 142; E12: 136; F9: 73; F10: 75; F11: 76; F12: 76; G9: 41; G10: 40; G11: 41; G12: 41; H9: 22; H10: 30; H11: 22; H12: 22
| 0:01 | 25 | A9: 2120; A10: 2113; A11: 2087; A12: 2037; B9: 1068; B10: 1066; B11: 1069; B12: 1036; C9: 540; C10: 539; C11: 537; C12: 504; D9: 277; D10: 280; D11: 276; D12: 264; E9: 142; E10: 145; E11: 145; E12: 137; F9: 74; F10: 77; F11: 77; F12: 75; G9: 41; G10: 40; G11: 41; G12: 40; H9: 22; H10: 30; H11: 22; H12: 21
| 0:01 | 25 | A9: 2155; A10: 2132; A11: 2125; A12: 2034; B9: 1082; B10: 1086; B11: 1082; B12: 1036; C9: 542; C10: 544; C11: 547; C12: 507; D9: 281; D10: 282; D11: 281; D12: 267; E9: 144; E10: 147; E11: 148; E12: 137; F9: 76; F10: 78; F11: 78; F12: 77; G9: 41; G10: 41; G11: 41; G12: 40; H9: 23; H10: 30; H11: 22; H12: 22
| 0:01 | 25 | A9: 2182; A10: 2160; A11: 2162; A12: 2046; B9: 1095; B10: 1094; B11: 1104; B12: 1040; C9: 552; C10: 553; C11: 554; C12: 512; D9: 284; D10: 287; D11: 287; D12: 268; E9: 146; E10: 149; E11: 150; E12: 138; F9: 77; F10: 78; F11: 79; F12: 76; G9: 42; G10: 41; G11: 42; G12: 41; H9: 22; H10: 31; H11: 23; H12: 21
| 0:01 | 25 | A9: 2211; A10: 2188; A11: 2197; A12: 2056; B9: 1109; B10: 1114; B11: 1119; B12: 1043; C9: 557; C10: 561; C11: 560; C12: 514; D9: 288; D10: 290; D11: 289; D12: 269; E9: 147; E10: 150; E11: 153; E12: 139; F9: 76; F10: 78; F11: 81; F12: 76; G9: 42; G10: 42; G11: 44; G12: 41; H9: 22; H10: 30; H11: 23; H12: 21
| 0:01 | 25 | A9: 2236; A10: 2220; A11: 2226; A12: 2064; B9: 1125; B10: 1129; B11: 1130; B12: 1052; C9: 566; C10: 565; C11: 571; C12: 516; D9: 291; D10: 297; D11: 295; D12: 273; E9: 150; E10: 152; E11: 153; E12: 139; F9: 78; F10: 80; F11: 82; F12: 77; G9: 43; G10: 43; G11: 44; G12: 41; H9: 23; H10: 31; H11: 24; H12: 21
| 0:01 | 25 | A9: 2264; A10: 2246; A11: 2262; A12: 2074; B9: 1141; B10: 1143; B11: 1149; B12: 1058; C9: 569; C10: 572; C11: 579; C12: 520; D9: 297; D10: 301; D11: 301; D12: 272; E9: 152; E10: 153; E11: 156; E12: 141; F9: 79; F10: 82; F11: 83; F12: 77; G9: 43; G10: 43; G11: 45; G12: 41; H9: 23; H10: 31; H11: 24; H12: 21
| 0:02 | 25 | A9: 2294; A10: 2277; A11: 2296; A12: 2086; B9: 1152; B10: 1153; B11: 1163; B12: 1060; C9: 579; C10: 579; C11: 584; C12: 516; D9: 299; D10: 304; D11: 305; D12: 274; E9: 155; E10: 157; E11: 157; E12: 140; F9: 80; F10: 83; F11: 84; F12: 76; G9: 44; G10: 44; G11: 45; G12: 41; H9: 24; H10: 32; H11: 24; H12: 22
| 0:02 | 25 | A9: 2324; A10: 2299; A11: 2323; A12: 2082; B9: 1161; B10: 1171; B11: 1179; B12: 1065; C9: 587; C10: 590; C11: 592; C12: 520; D9: 302; D10: 306; D11: 308; D12: 274; E9: 156; E10: 158; E11: 159; E12: 141; F9: 81; F10: 83; F11: 85; F12: 77; G9: 43; G10: 44; G11: 45; G12: 42; H9: 23; H10: 32; H11: 24; H12: 22
| 0:02 | 25 | A9: 2354; A10: 2327; A11: 2360; A12: 2101; B9: 1177; B10: 1184; B11: 1193; B12: 1064; C9: 595; C10: 598; C11: 598; C12: 521; D9: 308; D10: 312; D11: 310; D12: 273; E9: 159; E10: 160; E11: 162; E12: 141; F9: 81; F10: 84; F11: 84; F12: 78; G9: 44; G10: 45; G11: 45; G12: 42; H9: 24; H10: 32; H11: 25; H12: 22
| 0:02 | 25 | A9: 2377; A10: 2359; A11: 2396; A12: 2107; B9: 1189; B10: 1197; B11: 1211; B12: 1069; C9: 606; C10: 608; C11: 609; C12: 523; D9: 311; D10: 313; D11: 314; D12: 275; E9: 160; E10: 163; E11: 165; E12: 143; F9: 82; F10: 85; F11: 85; F12: 77; G9: 45; G10: 45; G11: 46; G12: 41; H9: 24; H10: 33; H11: 25; H12: 22
| 0:02 | 25 | A9: 2407; A10: 2393; A11: 2418; A12: 2113; B9: 1210; B10: 1211; B11: 1219; B12: 1072; C9: 605; C10: 615; C11: 616; C12: 526; D9: 312; D10: 321; D11: 320; D12: 278; E9: 160; E10: 163; E11: 167; E12: 142; F9: 83; F10: 87; F11: 87; F12: 78; G9: 46; G10: 46; G11: 47; G12: 41; H9: 24; H10: 31; H11: 26; H12: 22
| 0:02 | 25 | A9: 2437; A10: 2422; A11: 2445; A12: 2121; B9: 1224; B10: 1219; B11: 1244; B12: 1083; C9: 616; C10: 617; C11: 627; C12: 529; D9: 317; D10: 324; D11: 321; D12: 278; E9: 164; E10: 166; E11: 168; E12: 143; F9: 84; F10: 88; F11: 89; F12: 78; G9: 45; G10: 46; G11: 46; G12: 42; H9: 24; H10: 34; H11: 26; H12: 22
| 0:02 | 25 | A9: 2461; A10: 2450; A11: 2464; A12: 2126; B9: 1234; B10: 1244; B11: 1260; B12: 1080; C9: 624; C10: 626; C11: 632; C12: 530; D9: 322; D10: 329; D11: 325; D12: 280; E9: 166; E10: 168; E11: 170; E12: 142; F9: 85; F10: 88; F11: 90; F12: 79; G9: 46; G10: 48; G11: 47; G12: 42; H9: 25; H10: 33; H11: 26; H12: 22
| 0:02 | 25 | A9: 2496; A10: 2480; A11: 2506; A12: 2124; B9: 1250; B10: 1255; B11: 1270; B12: 1088; C9: 626; C10: 634; C11: 637; C12: 530; D9: 326; D10: 332; D11: 331; D12: 279; E9: 167; E10: 170; E11: 171; E12: 143; F9: 87; F10: 89; F11: 92; F12: 78; G9: 47; G10: 47; G11: 47; G12: 42; H9: 25; H10: 33; H11: 26; H12: 23
| 0:03 | 25 | A9: 2525; A10: 2508; A11: 2547; A12: 2134; B9: 1267; B10: 1272; B11: 1289; B12: 1088; C9: 637; C10: 640; C11: 649; C12: 537; D9: 330; D10: 335; D11: 334; D12: 282; E9: 167; E10: 172; E11: 173; E12: 143; F9: 87; F10: 91; F11: 92; F12: 79; G9: 47; G10: 49; G11: 48; G12: 43; H9: 25; H10: 34; H11: 26; H12: 22
| 0:03 | 25 | A9: 2544; A10: 2533; A11: 2563; A12: 2142; B9: 1278; B10: 1283; B11: 1300; B12: 1091; C9: 646; C10: 646; C11: 649; C12: 532; D9: 333; D10: 340; D11: 339; D12: 282; E9: 172; E10: 173; E11: 177; E12: 143; F9: 87; F10: 92; F11: 93; F12: 78; G9: 48; G10: 48; G11: 49; G12: 43; H9: 26; H10: 34; H11: 26; H12: 22
| 0:03 | 25 | A9: 2582; A10: 2574; A11: 2605; A12: 2139; B9: 1295; B10: 1300; B11: 1311; B12: 1092; C9: 648; C10: 654; C11: 661; C12: 535; D9: 335; D10: 344; D11: 344; D12: 281; E9: 173; E10: 175; E11: 177; E12: 144; F9: 89; F10: 92; F11: 93; F12: 79; G9: 49; G10: 50; G11: 49; G12: 42; H9: 26; H10: 35; H11: 27; H12: 22
| 0:03 | 25 | A9: 2606; A10: 2601; A11: 2628; A12: 2154; B9: 1304; B10: 1310; B11: 1330; B12: 1096; C9: 656; C10: 663; C11: 672; C12: 541; D9: 341; D10: 347; D11: 346; D12: 284; E9: 176; E10: 175; E11: 181; E12: 145; F9: 90; F10: 93; F11: 95; F12: 80; G9: 49; G10: 50; G11: 50; G12: 43; H9: 28; H10: 35; H11: 27; H12: 22
| 0:03 | 25 | A9: 2637; A10: 2629; A11: 2654; A12: 2159; B9: 1317; B10: 1327; B11: 1347; B12: 1097; C9: 669; C10: 667; C11: 676; C12: 537; D9: 342; D10: 352; D11: 351; D12: 285; E9: 176; E10: 180; E11: 182; E12: 145; F9: 90; F10: 95; F11: 96; F12: 79; G9: 49; G10: 50; G11: 51; G12: 43; H9: 26; H10: 35; H11: 28; H12: 23
| 0:03 | 25 | A9: 2664; A10: 2657; A11: 2679; A12: 2157; B9: 1337; B10: 1341; B11: 1354; B12: 1099; C9: 672; C10: 677; C11: 685; C12: 540; D9: 347; D10: 356; D11: 356; D12: 283; E9: 179; E10: 183; E11: 183; E12: 145; F9: 92; F10: 95; F11: 96; F12: 80; G9: 50; G10: 50; G11: 51; G12: 43; H9: 27; H10: 34; H11: 28; H12: 23
| 0:03 | 25 | A9: 2677; A10: 2687; A11: 2713; A12: 2165; B9: 1347; B10: 1359; B11: 1379; B12: 1104; C9: 682; C10: 685; C11: 691; C12: 543; D9: 349; D10: 361; D11: 359; D12: 286; E9: 181; E10: 184; E11: 186; E12: 148; F9: 91; F10: 97; F11: 98; F12: 79; G9: 50; G10: 51; G11: 51; G12: 43; H9: 27; H10: 35; H11: 28; H12: 23
| 0:04 | 25 | A9: 2710; A10: 2721; A11: 2748; A12: 2179; B9: 1365; B10: 1378; B11: 1392; B12: 1114; C9: 688; C10: 691; C11: 702; C12: 542; D9: 354; D10: 365; D11: 361; D12: 286; E9: 183; E10: 183; E11: 188; E12: 146; F9: 93; F10: 98; F11: 98; F12: 80; G9: 51; G10: 51; G11: 51; G12: 43; H9: 26; H10: 35; H11: 29; H12: 22
| 0:04 | 25 | A9: 2745; A10: 2739; A11: 2784; A12: 2184; B9: 1380; B10: 1387; B11: 1397; B12: 1111; C9: 694; C10: 698; C11: 709; C12: 548; D9: 359; D10: 367; D11: 371; D12: 286; E9: 183; E10: 186; E11: 188; E12: 149; F9: 95; F10: 98; F11: 99; F12: 82; G9: 50; G10: 53; G11: 51; G12: 43; H9: 28; H10: 36; H11: 28; H12: 23
| 0:04 | 25 | A9: 2767; A10: 2777; A11: 2803; A12: 2187; B9: 1395; B10: 1403; B11: 1426; B12: 1114; C9: 700; C10: 705; C11: 716; C12: 546; D9: 363; D10: 372; D11: 369; D12: 289; E9: 185; E10: 188; E11: 192; E12: 147; F9: 95; F10: 99; F11: 100; F12: 82; G9: 51; G10: 52; G11: 52; G12: 43; H9: 28; H10: 36; H11: 29; H12: 23
| 0:04 | 25 | A9: 2794; A10: 2805; A11: 2848; A12: 2201; B9: 1405; B10: 1415; B11: 1441; B12: 1116; C9: 708; C10: 713; C11: 723; C12: 550; D9: 365; D10: 376; D11: 374; D12: 291; E9: 189; E10: 189; E11: 191; E12: 148; F9: 96; F10: 101; F11: 103; F12: 81; G9: 52; G10: 54; G11: 53; G12: 44; H9: 28; H10: 36; H11: 29; H12: 23
| 0:04 | 25 | A9: 2828; A10: 2838; A11: 2866; A12: 2200; B9: 1424; B10: 1434; B11: 1453; B12: 1114; C9: 717; C10: 720; C11: 731; C12: 549; D9: 371; D10: 381; D11: 377; D12: 287; E9: 190; E10: 191; E11: 195; E12: 149; F9: 97; F10: 102; F11: 101; F12: 82; G9: 53; G10: 54; G11: 53; G12: 44; H9: 28; H10: 37; H11: 29; H12: 23
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 222000 | 234000 | 281250 | 73500 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.998 | 0.999 | 0.996 | 0.995 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:02 | 0:00 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 119250 | 126000 | 125250 | 42000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.994 | 0.997 | 0.982 | 0.966 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | 0:03 | 0:02 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:00 | 0:00 | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 67500 | 68250 | 66000 | 23250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.997 | 0.996 | 0.991 | 0.969 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | 0:02 | 0:02 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:00 | 0:00 | Lagtime [365,445]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 33750 | 36000 | 36000 | 15000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.997 | 0.973 | 0.98 | 0.935 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | 0:00 | 0:01 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | ????? | 0:00 | 0:00 | Lagtime [365,445]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 18000 | 19500 | 20250 | 6750 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.929 | 0.923 | 0.996 | 0.92 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:03 | 0:03 | 0:01 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:00 | 0:01 | Lagtime [365,445]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 9000 | 10500 | 12750 | 5250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.973 | 0.942 | 0.99 | 0.721 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | 0:01 | 0:02 | 0:01 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:00 | 0:01 | 0:00 | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 6000 | 5250 | 7500 | 3000 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.941 | 0.721 | 0.926 | 0.8 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:03 | 0:01 | 0:02 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:00 | 0:01 | 0:01 | 0:02 | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 5250 | -6000 | 3750 | 2250 | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0.817 | 0.5 | 0.893 | 0.75 | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:03 | 0:00 | 0:01 | 0:03 | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | ????? | 0:01 | 0:02 | Lagtime [365,445]