## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 240920_kinetics_4mu_STANDARD_CURVE_8pts.xpt
Protocol File Path: | 240920_kinetics_4mu_STANDARD_CURVE_8pts.prt
Plate Number | Plate 1
Date | 2024-09-20
Time | 17:36
Reader Type: | Synergy Neo2
Reader Serial Number: | 23062123
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:05 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:06, 41 Reads
Read | Fluorescence Endpoint
A1..H3
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | A1: 63058; A2: 62324; A3: 60654; B1: 42266; B2: 42115; B3: 41508; C1: 24116; C2: 23875; C3: 23656; D1: 13223; D2: 13181; D3: 12887; E1: 6679; E2: 6775; E3: 6613; F1: 3526; F2: 3495; F3: 3407; G1: 1791; G2: 1781; G3: 1751; H1: 930; H2: 906; H3: 900
| 0:00 | 25 | A1: 63405; A2: 62444; A3: 60727; B1: 42306; B2: 42107; B3: 41600; C1: 24134; C2: 23912; C3: 23659; D1: 13193; D2: 13199; D3: 12947; E1: 6717; E2: 6795; E3: 6616; F1: 3529; F2: 3492; F3: 3421; G1: 1793; G2: 1781; G3: 1755; H1: 926; H2: 905; H3: 901
| 0:00 | 25 | A1: 63247; A2: 62366; A3: 60921; B1: 42211; B2: 42180; B3: 41641; C1: 24156; C2: 23979; C3: 23647; D1: 13197; D2: 13215; D3: 12929; E1: 6694; E2: 6794; E3: 6618; F1: 3522; F2: 3503; F3: 3415; G1: 1789; G2: 1782; G3: 1748; H1: 927; H2: 909; H3: 898
| 0:00 | 25 | A1: 63428; A2: 62552; A3: 60906; B1: 42333; B2: 42244; B3: 41617; C1: 24145; C2: 23959; C3: 23652; D1: 13230; D2: 13243; D3: 12893; E1: 6724; E2: 6789; E3: 6655; F1: 3531; F2: 3501; F3: 3426; G1: 1786; G2: 1788; G3: 1756; H1: 926; H2: 908; H3: 902
| 0:00 | 25 | A1: 63570; A2: 62356; A3: 60907; B1: 42323; B2: 42214; B3: 41609; C1: 24180; C2: 23947; C3: 23652; D1: 13238; D2: 13248; D3: 12922; E1: 6683; E2: 6781; E3: 6622; F1: 3542; F2: 3500; F3: 3412; G1: 1790; G2: 1788; G3: 1749; H1: 927; H2: 909; H3: 900
| 0:01 | 25 | A1: 63516; A2: 62646; A3: 61005; B1: 42373; B2: 42250; B3: 41626; C1: 24175; C2: 23970; C3: 23706; D1: 13195; D2: 13232; D3: 12930; E1: 6693; E2: 6800; E3: 6636; F1: 3541; F2: 3507; F3: 3422; G1: 1795; G2: 1787; G3: 1757; H1: 927; H2: 908; H3: 902
| 0:01 | 25 | A1: 63566; A2: 62617; A3: 60968; B1: 42384; B2: 42329; B3: 41611; C1: 24177; C2: 24008; C3: 23672; D1: 13252; D2: 13239; D3: 12922; E1: 6695; E2: 6807; E3: 6657; F1: 3549; F2: 3512; F3: 3428; G1: 1795; G2: 1790; G3: 1759; H1: 928; H2: 911; H3: 900
| 0:01 | 25 | A1: 63586; A2: 62506; A3: 60855; B1: 42531; B2: 42339; B3: 41693; C1: 24228; C2: 24023; C3: 23659; D1: 13232; D2: 13270; D3: 12923; E1: 6706; E2: 6804; E3: 6658; F1: 3538; F2: 3497; F3: 3432; G1: 1791; G2: 1791; G3: 1757; H1: 928; H2: 908; H3: 899
| 0:01 | 25 | A1: 63730; A2: 62510; A3: 60879; B1: 42370; B2: 42299; B3: 41587; C1: 24183; C2: 24010; C3: 23734; D1: 13231; D2: 13236; D3: 12938; E1: 6721; E2: 6805; E3: 6651; F1: 3536; F2: 3502; F3: 3430; G1: 1793; G2: 1788; G3: 1757; H1: 930; H2: 911; H3: 898
| 0:01 | 25 | A1: 63637; A2: 62596; A3: 61143; B1: 42446; B2: 42371; B3: 41612; C1: 24192; C2: 24000; C3: 23707; D1: 13248; D2: 13281; D3: 12932; E1: 6704; E2: 6809; E3: 6670; F1: 3549; F2: 3508; F3: 3435; G1: 1792; G2: 1786; G3: 1759; H1: 929; H2: 915; H3: 903
| 0:01 | 25 | A1: 63594; A2: 62734; A3: 61147; B1: 42357; B2: 42431; B3: 41619; C1: 24272; C2: 23952; C3: 23690; D1: 13266; D2: 13265; D3: 12948; E1: 6716; E2: 6816; E3: 6661; F1: 3537; F2: 3504; F3: 3445; G1: 1802; G2: 1790; G3: 1760; H1: 928; H2: 906; H3: 903
| 0:01 | 25 | A1: 63655; A2: 62689; A3: 61024; B1: 42387; B2: 42273; B3: 41658; C1: 24244; C2: 24028; C3: 23701; D1: 13250; D2: 13280; D3: 12951; E1: 6715; E2: 6811; E3: 6663; F1: 3545; F2: 3512; F3: 3429; G1: 1801; G2: 1791; G3: 1756; H1: 932; H2: 910; H3: 903
| 0:01 | 25 | A1: 63652; A2: 62853; A3: 60981; B1: 42384; B2: 42348; B3: 41790; C1: 24266; C2: 24026; C3: 23717; D1: 13269; D2: 13268; D3: 12968; E1: 6729; E2: 6811; E3: 6665; F1: 3546; F2: 3517; F3: 3429; G1: 1799; G2: 1790; G3: 1760; H1: 926; H2: 909; H3: 902
| 0:01 | 25 | A1: 63782; A2: 62804; A3: 61102; B1: 42529; B2: 42343; B3: 41782; C1: 24252; C2: 24114; C3: 23679; D1: 13285; D2: 13255; D3: 12963; E1: 6727; E2: 6813; E3: 6664; F1: 3545; F2: 3516; F3: 3433; G1: 1800; G2: 1790; G3: 1756; H1: 936; H2: 911; H3: 903
| 0:02 | 25 | A1: 63741; A2: 62835; A3: 61206; B1: 42548; B2: 42406; B3: 41731; C1: 24270; C2: 24066; C3: 23706; D1: 13273; D2: 13263; D3: 12988; E1: 6729; E2: 6815; E3: 6692; F1: 3549; F2: 3518; F3: 3443; G1: 1797; G2: 1791; G3: 1761; H1: 933; H2: 911; H3: 902
| 0:02 | 25 | A1: 63763; A2: 62814; A3: 61213; B1: 42481; B2: 42479; B3: 41781; C1: 24264; C2: 24046; C3: 23716; D1: 13326; D2: 13280; D3: 12958; E1: 6703; E2: 6816; E3: 6690; F1: 3556; F2: 3523; F3: 3436; G1: 1798; G2: 1785; G3: 1759; H1: 936; H2: 910; H3: 906
| 0:02 | 25 | A1: 63804; A2: 62922; A3: 61075; B1: 42617; B2: 42386; B3: 41680; C1: 24278; C2: 24025; C3: 23735; D1: 13270; D2: 13312; D3: 12977; E1: 6739; E2: 6812; E3: 6658; F1: 3558; F2: 3513; F3: 3436; G1: 1806; G2: 1790; G3: 1764; H1: 929; H2: 911; H3: 900
| 0:02 | 25 | A1: 63851; A2: 62709; A3: 60908; B1: 42502; B2: 42441; B3: 41760; C1: 24296; C2: 24060; C3: 23660; D1: 13308; D2: 13307; D3: 12960; E1: 6723; E2: 6825; E3: 6665; F1: 3544; F2: 3524; F3: 3432; G1: 1800; G2: 1791; G3: 1766; H1: 935; H2: 912; H3: 902
| 0:02 | 25 | A1: 63809; A2: 62896; A3: 61092; B1: 42479; B2: 42422; B3: 41800; C1: 24338; C2: 24123; C3: 23747; D1: 13272; D2: 13271; D3: 12969; E1: 6737; E2: 6822; E3: 6690; F1: 3552; F2: 3524; F3: 3433; G1: 1799; G2: 1794; G3: 1759; H1: 933; H2: 910; H3: 905
| 0:02 | 25 | A1: 63999; A2: 62891; A3: 61228; B1: 42634; B2: 42545; B3: 41746; C1: 24276; C2: 24050; C3: 23723; D1: 13309; D2: 13303; D3: 13024; E1: 6729; E2: 6824; E3: 6674; F1: 3565; F2: 3517; F3: 3443; G1: 1809; G2: 1794; G3: 1763; H1: 933; H2: 914; H3: 905
| 0:02 | 25 | A1: 63831; A2: 62949; A3: 61157; B1: 42604; B2: 42506; B3: 41751; C1: 24397; C2: 24056; C3: 23747; D1: 13285; D2: 13295; D3: 12941; E1: 6747; E2: 6841; E3: 6689; F1: 3556; F2: 3514; F3: 3446; G1: 1803; G2: 1794; G3: 1759; H1: 933; H2: 911; H3: 904
| 0:02 | 25 | A1: 63868; A2: 62994; A3: 61265; B1: 42524; B2: 42395; B3: 41758; C1: 24324; C2: 24102; C3: 23739; D1: 13333; D2: 13300; D3: 13000; E1: 6735; E2: 6836; E3: 6684; F1: 3548; F2: 3525; F3: 3446; G1: 1806; G2: 1790; G3: 1763; H1: 933; H2: 911; H3: 899
| 0:02 | 25 | A1: 64005; A2: 62993; A3: 61290; B1: 42632; B2: 42519; B3: 41804; C1: 24236; C2: 24070; C3: 23784; D1: 13296; D2: 13277; D3: 12995; E1: 6726; E2: 6825; E3: 6687; F1: 3551; F2: 3532; F3: 3422; G1: 1806; G2: 1799; G3: 1758; H1: 931; H2: 913; H3: 907
| 0:02 | 25 | A1: 64180; A2: 62979; A3: 61156; B1: 42660; B2: 42581; B3: 41829; C1: 24393; C2: 24133; C3: 23795; D1: 13306; D2: 13345; D3: 13034; E1: 6737; E2: 6832; E3: 6667; F1: 3551; F2: 3520; F3: 3425; G1: 1810; G2: 1790; G3: 1770; H1: 937; H2: 912; H3: 907
| 0:02 | 25 | A1: 64126; A2: 63064; A3: 61289; B1: 42713; B2: 42538; B3: 41893; C1: 24324; C2: 24157; C3: 23715; D1: 13322; D2: 13323; D3: 13032; E1: 6729; E2: 6826; E3: 6697; F1: 3561; F2: 3524; F3: 3446; G1: 1809; G2: 1795; G3: 1765; H1: 938; H2: 916; H3: 907
| 0:03 | 25 | A1: 64069; A2: 63192; A3: 61498; B1: 42766; B2: 42666; B3: 41812; C1: 24364; C2: 24100; C3: 23732; D1: 13291; D2: 13275; D3: 12997; E1: 6776; E2: 6840; E3: 6706; F1: 3558; F2: 3530; F3: 3436; G1: 1803; G2: 1800; G3: 1764; H1: 936; H2: 914; H3: 905
| 0:03 | 25 | A1: 64169; A2: 63123; A3: 61447; B1: 42737; B2: 42654; B3: 41865; C1: 24384; C2: 24176; C3: 23755; D1: 13357; D2: 13324; D3: 12997; E1: 6767; E2: 6839; E3: 6682; F1: 3567; F2: 3525; F3: 3446; G1: 1808; G2: 1800; G3: 1761; H1: 935; H2: 915; H3: 903
| 0:03 | 25 | A1: 64024; A2: 63160; A3: 61479; B1: 42801; B2: 42535; B3: 41912; C1: 24362; C2: 24148; C3: 23832; D1: 13303; D2: 13349; D3: 13007; E1: 6766; E2: 6849; E3: 6692; F1: 3568; F2: 3530; F3: 3437; G1: 1807; G2: 1797; G3: 1763; H1: 933; H2: 919; H3: 906
| 0:03 | 25 | A1: 64210; A2: 63115; A3: 61347; B1: 42717; B2: 42662; B3: 41904; C1: 24410; C2: 24194; C3: 23808; D1: 13379; D2: 13315; D3: 13049; E1: 6767; E2: 6837; E3: 6679; F1: 3571; F2: 3534; F3: 3444; G1: 1807; G2: 1801; G3: 1767; H1: 940; H2: 917; H3: 904
| 0:03 | 25 | A1: 64151; A2: 63141; A3: 61498; B1: 42745; B2: 42674; B3: 41979; C1: 24473; C2: 24172; C3: 23781; D1: 13350; D2: 13318; D3: 13020; E1: 6742; E2: 6852; E3: 6708; F1: 3557; F2: 3521; F3: 3449; G1: 1809; G2: 1797; G3: 1763; H1: 939; H2: 914; H3: 905
| 0:03 | 25 | A1: 64147; A2: 63222; A3: 61528; B1: 42812; B2: 42698; B3: 41944; C1: 24434; C2: 24224; C3: 23782; D1: 13340; D2: 13326; D3: 13007; E1: 6757; E2: 6867; E3: 6690; F1: 3575; F2: 3534; F3: 3433; G1: 1811; G2: 1799; G3: 1763; H1: 939; H2: 917; H3: 908
| 0:03 | 25 | A1: 64225; A2: 63028; A3: 61478; B1: 42765; B2: 42694; B3: 42075; C1: 24429; C2: 24182; C3: 23826; D1: 13358; D2: 13362; D3: 13005; E1: 6766; E2: 6864; E3: 6701; F1: 3558; F2: 3539; F3: 3450; G1: 1807; G2: 1800; G3: 1767; H1: 934; H2: 913; H3: 908
| 0:03 | 25 | A1: 64184; A2: 63266; A3: 61592; B1: 42674; B2: 42759; B3: 41914; C1: 24436; C2: 24137; C3: 23814; D1: 13325; D2: 13387; D3: 13017; E1: 6752; E2: 6863; E3: 6704; F1: 3562; F2: 3533; F3: 3449; G1: 1811; G2: 1796; G3: 1771; H1: 935; H2: 914; H3: 905
| 0:03 | 25 | A1: 64197; A2: 63364; A3: 61397; B1: 42814; B2: 42683; B3: 42032; C1: 24407; C2: 24262; C3: 23839; D1: 13373; D2: 13381; D3: 13030; E1: 6756; E2: 6853; E3: 6724; F1: 3572; F2: 3545; F3: 3452; G1: 1814; G2: 1798; G3: 1758; H1: 937; H2: 914; H3: 908
| 0:04 | 25 | A1: 64198; A2: 63346; A3: 61412; B1: 42709; B2: 42693; B3: 42026; C1: 24418; C2: 24172; C3: 23842; D1: 13359; D2: 13363; D3: 13063; E1: 6771; E2: 6856; E3: 6694; F1: 3570; F2: 3534; F3: 3437; G1: 1811; G2: 1805; G3: 1773; H1: 940; H2: 916; H3: 909
| 0:04 | 25 | A1: 64193; A2: 63286; A3: 61420; B1: 42853; B2: 42803; B3: 42064; C1: 24421; C2: 24282; C3: 23869; D1: 13381; D2: 13376; D3: 13083; E1: 6779; E2: 6878; E3: 6710; F1: 3574; F2: 3546; F3: 3461; G1: 1807; G2: 1801; G3: 1770; H1: 938; H2: 917; H3: 907
| 0:04 | 25 | A1: 64127; A2: 63346; A3: 61425; B1: 42860; B2: 42798; B3: 41974; C1: 24429; C2: 24199; C3: 23810; D1: 13353; D2: 13378; D3: 13022; E1: 6762; E2: 6851; E3: 6718; F1: 3567; F2: 3537; F3: 3441; G1: 1805; G2: 1804; G3: 1759; H1: 942; H2: 920; H3: 910
| 0:04 | 25 | A1: 64153; A2: 63330; A3: 61563; B1: 42815; B2: 42770; B3: 41971; C1: 24475; C2: 24214; C3: 23832; D1: 13352; D2: 13337; D3: 13076; E1: 6754; E2: 6855; E3: 6689; F1: 3565; F2: 3544; F3: 3457; G1: 1813; G2: 1803; G3: 1764; H1: 934; H2: 915; H3: 908
| 0:04 | 25 | A1: 64282; A2: 63421; A3: 61563; B1: 42840; B2: 42744; B3: 42078; C1: 24497; C2: 24184; C3: 23836; D1: 13337; D2: 13363; D3: 13076; E1: 6773; E2: 6870; E3: 6684; F1: 3580; F2: 3534; F3: 3452; G1: 1802; G2: 1797; G3: 1771; H1: 936; H2: 916; H3: 908
| 0:04 | 25 | A1: 64338; A2: 63521; A3: 61473; B1: 42835; B2: 42762; B3: 42044; C1: 24453; C2: 24241; C3: 23830; D1: 13371; D2: 13365; D3: 13057; E1: 6767; E2: 6859; E3: 6698; F1: 3565; F2: 3544; F3: 3453; G1: 1807; G2: 1802; G3: 1776; H1: 935; H2: 921; H3: 909
| 0:04 | 25 | A1: 64184; A2: 63312; A3: 61529; B1: 42773; B2: 42841; B3: 42063; C1: 24473; C2: 24216; C3: 23839; D1: 13368; D2: 13343; D3: 13058; E1: 6753; E2: 6862; E3: 6711; F1: 3576; F2: 3544; F3: 3453; G1: 1809; G2: 1796; G3: 1772; H1: 935; H2: 914; H3: 908
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1047000 | 779000 | 804000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.716 | 0.882 | 0.747 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | 0:01 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | 565000 | 561000 | 511000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.958 | 0.806 | 0.854 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:02 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | 267000 | 314000 | 286000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.435 | 0.694 | 0.82 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:02 | 0:01 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | 156000 | 188000 | 216000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.758 | 0.887 | 0.821 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:01 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:01 | 0:02 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| E | 121000 | 64000 | 81000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.695 | 0.672 | 0.747 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:02 | 0:03 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:02 | 0:02 | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| F | 64000 | 47000 | -60000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.918 | 0.701 | 0.637 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:00 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:00 | 0:02 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| G | 29000 | 22000 | 38000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.759 | 0.883 | 0.78 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:01 | 0:02 | 0:04 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:01 | 0:01 | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | 15000 | 15000 | 14000 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | 0.335 | 0.907 | 0.402 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | 0:01 | 0:04 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | 0:01 | 0:03 | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]