## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path: | 250401_4mu_standard_curves_100uL_30uMladder_and_45uMladder_25C_5prctDMSO__pH8.xpt
Protocol File Path: | 240318_standard_curve.prt
Plate Number | Plate 1
Date | 2025-04-01
Time | 19:06
Reader Type: | Synergy Neo2
Reader Serial Number: | 21062324
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 half area black opaque
Eject plate on completion
Set Temperature | Setpoint 25°C, Gradient 0 °C
Preheat before moving to next step
Shake | Orbital: 0:03 (MM:SS)
Frequency: 282 cpm (3 mm)
Start Kinetic | Runtime 0:04:00 (HH:MM:SS), Interval 0:00:11, 22 Reads
Read | Fluorescence Endpoint
D1..F12
Filter Set 1
Excitation: 365/20, Emission: 445/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
End Kinetic
Plate Out
Set Temperature | Setpoint 25°C, Gradient 0 °C
Results
Min Temperature: | 25
Max Temperature: | 25
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [365,445]
| B | [12 empty] | Bitmap [365,445]
| C | [12 empty] | Bitmap [365,445]
| D | [12 empty] | Bitmap [365,445]
| E | [12 empty] | Bitmap [365,445]
| F | [12 empty] | Bitmap [365,445]
| G | [12 empty] | Bitmap [365,445]
| H | [12 empty] | Bitmap [365,445]
365445
| Time | T° 365,445 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | D1: 34956; D2: 19281; D3: 9857; D4: 5149; D5: 2526; D6: 1320; D7: 46049; D8: 26517; D9: 13859; D10: 7424; D11: 3697; D12: 1946; E1: 34930; E2: 19162; E3: 9859; E4: 5087; E5: 2511; E6: 1308; E7: 44789; E8: 26112; E9: 13998; E10: 7435; E11: 3698; E12: 1965; F1: 35091; F2: 18605; F3: 9880; F4: 4830; F5: 2529; F6: 1270; F7: 45813; F8: 25138; F9: 14266; F10: 7068; F11: 3782; F12: 1879
| 0:00 | 25 | D1: 34819; D2: 19263; D3: 9894; D4: 5169; D5: 2552; D6: 1332; D7: 46418; D8: 26542; D9: 13905; D10: 7444; D11: 3705; D12: 1951; E1: 34700; E2: 19095; E3: 9882; E4: 5084; E5: 2516; E6: 1311; E7: 45174; E8: 26078; E9: 14009; E10: 7431; E11: 3716; E12: 1957; F1: 34938; F2: 18612; F3: 9920; F4: 4861; F5: 2535; F6: 1270; F7: 45799; F8: 25166; F9: 14324; F10: 7094; F11: 3742; F12: 1895
| 0:00 | 25 | D1: 34948; D2: 19306; D3: 9825; D4: 5148; D5: 2539; D6: 1336; D7: 46754; D8: 26605; D9: 13996; D10: 7473; D11: 3711; D12: 1942; E1: 34807; E2: 19195; E3: 9931; E4: 5136; E5: 2512; E6: 1305; E7: 45360; E8: 26303; E9: 14071; E10: 7434; E11: 3704; E12: 1961; F1: 35260; F2: 18722; F3: 9919; F4: 4877; F5: 2547; F6: 1267; F7: 46032; F8: 25125; F9: 14338; F10: 7103; F11: 3782; F12: 1908
| 0:01 | 25 | D1: 34806; D2: 19392; D3: 9856; D4: 5184; D5: 2568; D6: 1334; D7: 46707; D8: 26436; D9: 13975; D10: 7476; D11: 3689; D12: 1961; E1: 35040; E2: 19269; E3: 9863; E4: 5132; E5: 2515; E6: 1306; E7: 45288; E8: 26173; E9: 14046; E10: 7451; E11: 3716; E12: 1974; F1: 35397; F2: 18778; F3: 9950; F4: 4887; F5: 2547; F6: 1274; F7: 45882; F8: 25125; F9: 14416; F10: 7140; F11: 3779; F12: 1911
| 0:01 | 25 | D1: 34998; D2: 19413; D3: 9908; D4: 5173; D5: 2540; D6: 1344; D7: 46564; D8: 26530; D9: 13954; D10: 7535; D11: 3730; D12: 1968; E1: 34971; E2: 19169; E3: 9906; E4: 5134; E5: 2517; E6: 1308; E7: 45298; E8: 26209; E9: 14019; E10: 7475; E11: 3714; E12: 1975; F1: 35221; F2: 18790; F3: 9937; F4: 4918; F5: 2552; F6: 1277; F7: 45991; F8: 25083; F9: 14354; F10: 7120; F11: 3779; F12: 1928
| 0:01 | 25 | D1: 35075; D2: 19450; D3: 9944; D4: 5171; D5: 2561; D6: 1341; D7: 47065; D8: 26674; D9: 14019; D10: 7561; D11: 3736; D12: 1957; E1: 34951; E2: 19280; E3: 9923; E4: 5153; E5: 2523; E6: 1319; E7: 45453; E8: 26280; E9: 14076; E10: 7458; E11: 3722; E12: 1980; F1: 35248; F2: 18838; F3: 9927; F4: 4881; F5: 2557; F6: 1278; F7: 45887; F8: 25087; F9: 14301; F10: 7160; F11: 3773; F12: 1916
| 0:01 | 25 | D1: 34984; D2: 19423; D3: 9916; D4: 5183; D5: 2558; D6: 1333; D7: 46956; D8: 26686; D9: 14038; D10: 7516; D11: 3730; D12: 1964; E1: 34977; E2: 19255; E3: 9938; E4: 5143; E5: 2524; E6: 1310; E7: 45424; E8: 26205; E9: 14023; E10: 7463; E11: 3719; E12: 1969; F1: 35320; F2: 18797; F3: 9950; F4: 4863; F5: 2560; F6: 1284; F7: 45911; F8: 25163; F9: 14324; F10: 7129; F11: 3773; F12: 1909
| 0:01 | 25 | D1: 35103; D2: 19433; D3: 9953; D4: 5171; D5: 2552; D6: 1336; D7: 46785; D8: 26557; D9: 13997; D10: 7508; D11: 3703; D12: 1966; E1: 35133; E2: 19231; E3: 9959; E4: 5152; E5: 2517; E6: 1311; E7: 45579; E8: 26165; E9: 14051; E10: 7477; E11: 3708; E12: 1979; F1: 35265; F2: 18788; F3: 9988; F4: 4891; F5: 2550; F6: 1279; F7: 45925; F8: 25357; F9: 14401; F10: 7079; F11: 3765; F12: 1923
| 0:02 | 25 | D1: 35090; D2: 19513; D3: 9861; D4: 5171; D5: 2549; D6: 1339; D7: 46863; D8: 26596; D9: 14085; D10: 7535; D11: 3728; D12: 1967; E1: 35055; E2: 19192; E3: 9930; E4: 5147; E5: 2524; E6: 1308; E7: 45720; E8: 26293; E9: 14101; E10: 7491; E11: 3733; E12: 1978; F1: 35245; F2: 18808; F3: 9995; F4: 4851; F5: 2561; F6: 1270; F7: 45959; F8: 25116; F9: 14368; F10: 7147; F11: 3794; F12: 1913
| 0:02 | 25 | D1: 35059; D2: 19394; D3: 9916; D4: 5179; D5: 2565; D6: 1323; D7: 47140; D8: 26674; D9: 14024; D10: 7502; D11: 3717; D12: 1958; E1: 35068; E2: 19272; E3: 9936; E4: 5124; E5: 2525; E6: 1312; E7: 46046; E8: 26291; E9: 14065; E10: 7480; E11: 3711; E12: 1986; F1: 35223; F2: 18791; F3: 9978; F4: 4881; F5: 2559; F6: 1276; F7: 46020; F8: 25283; F9: 14356; F10: 7128; F11: 3781; F12: 1910
| 0:02 | 25 | D1: 34972; D2: 19464; D3: 9884; D4: 5149; D5: 2555; D6: 1331; D7: 46978; D8: 26581; D9: 14042; D10: 7498; D11: 3724; D12: 1971; E1: 35030; E2: 19230; E3: 9952; E4: 5149; E5: 2522; E6: 1310; E7: 45879; E8: 26240; E9: 14071; E10: 7485; E11: 3732; E12: 1989; F1: 35353; F2: 18745; F3: 9949; F4: 4864; F5: 2566; F6: 1280; F7: 46260; F8: 25110; F9: 14391; F10: 7180; F11: 3787; F12: 1929
| 0:02 | 25 | D1: 35105; D2: 19471; D3: 9879; D4: 5154; D5: 2564; D6: 1342; D7: 47072; D8: 26668; D9: 14054; D10: 7514; D11: 3730; D12: 1962; E1: 35122; E2: 19289; E3: 9943; E4: 5138; E5: 2540; E6: 1319; E7: 46015; E8: 26269; E9: 14096; E10: 7484; E11: 3721; E12: 1973; F1: 35366; F2: 18710; F3: 9959; F4: 4876; F5: 2564; F6: 1276; F7: 46378; F8: 25049; F9: 14374; F10: 7114; F11: 3796; F12: 1913
| 0:02 | 25 | D1: 35042; D2: 19478; D3: 9921; D4: 5172; D5: 2557; D6: 1339; D7: 46909; D8: 26639; D9: 14021; D10: 7538; D11: 3765; D12: 1938; E1: 34841; E2: 19332; E3: 9903; E4: 5137; E5: 2522; E6: 1313; E7: 45871; E8: 26403; E9: 14057; E10: 7498; E11: 3734; E12: 1979; F1: 35335; F2: 18770; F3: 9938; F4: 4874; F5: 2561; F6: 1281; F7: 46561; F8: 25141; F9: 14449; F10: 7148; F11: 3785; F12: 1928
| 0:02 | 25 | D1: 35134; D2: 19374; D3: 9868; D4: 5160; D5: 2566; D6: 1338; D7: 46980; D8: 26572; D9: 14089; D10: 7509; D11: 3735; D12: 1968; E1: 34955; E2: 19283; E3: 9937; E4: 5124; E5: 2533; E6: 1315; E7: 46096; E8: 26532; E9: 14079; E10: 7496; E11: 3725; E12: 1980; F1: 35413; F2: 18715; F3: 9976; F4: 4860; F5: 2573; F6: 1290; F7: 46674; F8: 25117; F9: 14370; F10: 7179; F11: 3777; F12: 1921
| 0:03 | 25 | D1: 35168; D2: 19359; D3: 9895; D4: 5155; D5: 2569; D6: 1335; D7: 47026; D8: 26557; D9: 14062; D10: 7521; D11: 3746; D12: 1963; E1: 34962; E2: 19293; E3: 9901; E4: 5149; E5: 2532; E6: 1312; E7: 46116; E8: 26490; E9: 14066; E10: 7488; E11: 3708; E12: 1989; F1: 35238; F2: 18730; F3: 9981; F4: 4887; F5: 2567; F6: 1282; F7: 46613; F8: 25156; F9: 14331; F10: 7161; F11: 3790; F12: 1909
| 0:03 | 25 | D1: 35157; D2: 19382; D3: 9901; D4: 5165; D5: 2553; D6: 1332; D7: 47148; D8: 26553; D9: 14009; D10: 7504; D11: 3742; D12: 1964; E1: 34985; E2: 19232; E3: 9903; E4: 5135; E5: 2541; E6: 1315; E7: 46123; E8: 26597; E9: 14086; E10: 7468; E11: 3740; E12: 1988; F1: 35292; F2: 18836; F3: 9953; F4: 4885; F5: 2566; F6: 1280; F7: 46788; F8: 25323; F9: 14324; F10: 7199; F11: 3785; F12: 1907
| 0:03 | 25 | D1: 35194; D2: 19465; D3: 9919; D4: 5167; D5: 2569; D6: 1336; D7: 47172; D8: 26498; D9: 14024; D10: 7492; D11: 3747; D12: 1954; E1: 34949; E2: 19339; E3: 9961; E4: 5159; E5: 2533; E6: 1314; E7: 46176; E8: 26726; E9: 14104; E10: 7484; E11: 3727; E12: 1989; F1: 35184; F2: 18789; F3: 9961; F4: 4882; F5: 2562; F6: 1280; F7: 46606; F8: 25365; F9: 14355; F10: 7238; F11: 3779; F12: 1920
| 0:03 | 25 | D1: 35217; D2: 19459; D3: 9881; D4: 5168; D5: 2564; D6: 1339; D7: 47370; D8: 26568; D9: 13998; D10: 7500; D11: 3719; D12: 1968; E1: 34957; E2: 19331; E3: 9929; E4: 5160; E5: 2536; E6: 1320; E7: 46229; E8: 26730; E9: 14060; E10: 7500; E11: 3740; E12: 1992; F1: 35306; F2: 18726; F3: 9985; F4: 4887; F5: 2561; F6: 1287; F7: 46804; F8: 25584; F9: 14371; F10: 7232; F11: 3787; F12: 1906
| 0:03 | 25 | D1: 34978; D2: 19379; D3: 9928; D4: 5153; D5: 2564; D6: 1336; D7: 47213; D8: 26521; D9: 14072; D10: 7505; D11: 3731; D12: 1957; E1: 35034; E2: 19254; E3: 9900; E4: 5125; E5: 2523; E6: 1323; E7: 46121; E8: 26751; E9: 14093; E10: 7462; E11: 3727; E12: 1984; F1: 35363; F2: 18713; F3: 9973; F4: 4884; F5: 2564; F6: 1292; F7: 47008; F8: 25579; F9: 14335; F10: 7278; F11: 3778; F12: 1918
| 0:04 | 25 | D1: 34981; D2: 19432; D3: 9880; D4: 5153; D5: 2564; D6: 1332; D7: 47135; D8: 26483; D9: 14032; D10: 7498; D11: 3739; D12: 1952; E1: 35011; E2: 19243; E3: 9933; E4: 5161; E5: 2524; E6: 1324; E7: 46060; E8: 26688; E9: 14116; E10: 7450; E11: 3730; E12: 1986; F1: 35313; F2: 18691; F3: 9956; F4: 4918; F5: 2571; F6: 1282; F7: 46799; F8: 25666; F9: 14268; F10: 7295; F11: 3784; F12: 1922
| 0:04 | 25 | D1: 35097; D2: 19364; D3: 9838; D4: 5153; D5: 2598; D6: 1337; D7: 47184; D8: 26611; D9: 14105; D10: 7514; D11: 3752; D12: 1960; E1: 35095; E2: 19259; E3: 9927; E4: 5133; E5: 2532; E6: 1319; E7: 45959; E8: 26623; E9: 14128; E10: 7493; E11: 3716; E12: 1986; F1: 35263; F2: 18736; F3: 9972; F4: 4908; F5: 2558; F6: 1284; F7: 46593; F8: 25795; F9: 14314; F10: 7339; F11: 3776; F12: 1905
| 0:04 | 25 | D1: 35115; D2: 19320; D3: 9903; D4: 5150; D5: 2565; D6: 1323; D7: 47165; D8: 26529; D9: 14053; D10: 7486; D11: 3735; D12: 1963; E1: 35093; E2: 19273; E3: 9968; E4: 5140; E5: 2554; E6: 1321; E7: 45911; E8: 26703; E9: 14157; E10: 7448; E11: 3726; E12: 1979; F1: 35415; F2: 18742; F3: 9958; F4: 4946; F5: 2558; F6: 1283; F7: 46766; F8: 25870; F9: 14311; F10: 7346; F11: 3769; F12: 1909
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| D | 316363.636 | 262363.636 | 147272.727 | 34363.636 | 31636.364 | 27272.727 | 719454.545 | 218181.818 | 141818.182 | 161454.545 | 47454.545 | 29454.545 | Max V [365,445]
|  | 0.624 | 0.958 | 0.784 | 0.403 | 0.384 | 0.831 | 0.541 | 0.366 | 0.549 | 0.936 | 0.543 | 0.632 | R-Squared [365,445]
|  | 0:01 | 0:01 | 0:01 | 0:00 | 0:03 | 0:00 | 0:00 | 0:01 | 0:00 | 0:01 | 0:02 | 0:00 | t at Max V [365,445]
|  | 0:01 | 0:00 | 0:01 | ????? | 0:02 | ????? | ????? | 0:00 | ????? | 0:00 | 0:01 | 0:00 | Lagtime [365,445]
| E | 363272.727 | 187636.364 | 122181.818 | 77454.545 | 24545.455 | 14727.273 | 808363.636 | 416181.818 | 124909.091 | 54545.455 | 26727.273 | 32727.273 | Max V [365,445]
|  | 0.586 | 0.511 | 0.951 | 0.711 | 0.322 | 0.88 | 0.856 | 0.863 | 0.979 | 0.739 | 0.344 | 0.925 | R-Squared [365,445]
|  | 0:01 | 0:01 | 0:01 | 0:00 | 0:04 | 0:03 | 0:01 | 0:02 | 0:04 | 0:00 | 0:03 | 0:01 | t at Max V [365,445]
|  | 0:01 | 0:00 | 0:00 | 0:00 | 0:03 | 0:02 | 0:00 | 0:02 | 0:03 | 0:00 | 0:02 | 0:00 | Lagtime [365,445]
| F | 392181.818 | 292363.636 | 96545.455 | 110181.818 | 31636.364 | 20727.273 | 877636.364 | 623454.545 | 146181.818 | 157636.364 | 32181.818 | 62181.818 | Max V [365,445]
|  | 0.425 | 0.914 | 0.841 | 0.968 | 0.914 | 0.938 | 0.984 | 0.938 | 0.614 | 0.955 | 0.318 | 0.965 | R-Squared [365,445]
|  | 0:00 | 0:00 | 0:01 | 0:00 | 0:00 | 0:01 | 0:02 | 0:03 | 0:00 | 0:04 | 0:01 | 0:00 | t at Max V [365,445]
|  | 0:00 | 0:00 | 0:00 | ????? | ????? | 0:01 | 0:01 | 0:03 | ????? | 0:02 | 0:01 | ????? | Lagtime [365,445]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | R-Squared [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | t at Max V [365,445]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [365,445]